A Fundamental Frequency Sorting Algorithm for Capacitor Voltage Balance of Modular Multilevel Converter with Low Frequency Carrier-Phase-Shift Modulation

Guipeng Chen, Hao Peng, Rong Zeng, Yihua Hu, Senior Member, IEEE and Kai Ni, Student Member, IEEE

Abstract—This paper proposes a fundamental frequency sorting algorithm (FFSA) for balancing the floating capacitors in modular multilevel converters (MMCs) with low frequency carrier-phase-shift (CPS) modulation. The relationship between the driving pulses and sub-modules is re-built in every fundamental period by sorting the voltage increments and present voltages. Besides, an improved and simplified strategy is proposed to predict the charging abilities of the driving pulses, so as to avoid sorting the voltage increments. Based on the proposed method, the switching frequency of each power device and the carrier frequency are identical, which reduces the operational losses for applications regarding high power. At the same time, the sorting frequency is as low as the fundamental frequency, which alleviates a large amount of computational cost, and the necessity to measure arm currents is omitted. In this case, the arm current sensors are eliminated, and simplified communication among the central controller and the local ones is set up. Finally, a three-phase 1MVA simulation platform with 120 sub-modules and a down-scaled 6kVA experimental prototype with 48 sub-modules are constructed to validate the proposed approach.

Index Terms—Modular Multilevel Converter, Capacitor Voltage Balancing Method, Fundamental Frequency Sorting Algorithm, Carrier-Phase-Shift Modulation

Nomenclature

| N | The number of sub-module (SM) in each arm |
| --- | --- |
| i | i=u for the upper arm, i=l for the lower arm |
| j | j=A, B, C for phase A, B, C |
| k | Number of SM, k=1, 2, … N |

This paragraph of the first footnote will contain the date on which you submitted your paper for review.

This work was sponsored by the National Postdoctoral Program for Innovative Talents (BX201700144).

Guipeng Chen is with the Instrument Science and Technology Postdoc Center, School of Aerospace Engineering, Xiamen University, China.

Hao Peng is with the College of Electrical Engineering, Zhejiang University, Hangzhou, China.

Rong Zeng is with XXX

Yihua Hu and Kai Ni are with the Department of Electrical Engineering and Electronics at University of Liverpool, United Kingdom.

| vijk | Terminal voltage of the kth SM |
| --- | --- |
| vcijk, icijk | Voltage and current of capacitor in the kth SM |
| sijk | Switching function of the kth SM |
| iij | Arm current |
| icirj | Circulating current |
| vj, isj | Output voltage and current |
| vj’ | Ideal output voltage |
| Vsm, Ism | Amplitude of output voltage and current |
| θV, θI | Angle of output voltage and current |
| θ | Angle of power factor. θ=θV-θI |
| mV | Modulation index. mV=2Vsm/Vdc |
| ω, ωc | Angular frequency of the fundamental modulation wave and carrier |
| q | Carrier ratio. q=ωc/ω |
| θck | Initial phase angle of the kth carrier |
| m, n | Index variable of carrier and its baseband |
| Amn | Harmonic amplitude |
| ΔVclkCPS | Capacitor voltage increment |
| Vdc | Input DC voltage |
| Vc | Average voltage of capacitor |
| * | Normalized value |
| L | Arm inductance |
| C | Capacitance of each SM |
| ε2ω | Proportion of the 2nd harmonic component |
| θ2ω | 2nd harmonic current’s phase angle |
| Jn(ξ) | First-type Bessel function |
| Y | Number of the carrier with the minimum capacitor voltage increment |

- Introduction

In the past two decades, voltage source converters (VSCs) have been widely applied for high voltage direct current (HVDC) transmission, renewable energy power generation and high power motor drive [1-4]. Modular multilevel converter (MMC), as a prospective multilevel voltage converter, has drawn much attention due to its high modularity, high reliability, high efficiency and low distortion [5-10]. It realizes high voltage conversion by stacking a large number of sub-modules made up of half-bridges, full-bridges or other classical power units together [11-14]. Compared with the conventional VSC topologies which adopt the directly series-connected devices to accomplish high voltage conversion, the issue of voltage sharing among these devices can be avoided by employing MMC. Moreover, the voltage levels of MMC can be expanded to arbitrary numbers, which results in fewer distortions in voltage and current waveforms.

An increasing number of sub-modules leads to more sophisticated modulation and deteriorated performance of capacitor voltage balancing for MMCs. In many cases, the capacitor voltage balancing performance is related to modulation schemes. There are two commonly used modulation techniques for MMCs, namely staircase modulation and carrier phase-shift pulse width modulation (CPS-PWM). Generally, staircase modulation is very suitable for large-scale MMCs with a large number of sub-modules as perfect harmonic performance can be achieved with fundamental switching frequency. However, the harmonic performance with staircase modulation is degraded in the small or medium MMCs with reduced number of sub-modules, in which the CPS-PWM is more applicable [15-19]. Reference [19] investigated the impact of switching frequencies on the balancing performance of the capacitors under CPS-PWM. References [20, 21] proposed that the capacitor voltages can keep balanced naturally by CPS-PWM when the carrier frequency is high for a steady system. However, if the initial states of the capacitors are unbalanced or any disturbance happens, the capacitor voltages cannot keep balanced. Accordingly, an efficient approach to balance capacitor voltages is essential for MMCs.

The sorting method and corresponding improved strategies, which were primitively proposed by Rainer Marquardt, can be adapted to any modulation scheme [22-24]. In a MMC circuit, the most suitable sub-modules are selected depending on the polarity of currents in the bridge arm. To achieve this target, frequent sorting calculation is required, which is a big burden for the controllers. Meanwhile, some unnecessary switching commutations are generated, which result in increased switching frequency and losses. The hierarchical closed-loop control method utilizes different components of the arm current to stabilize the overall energy in the whole arm and the voltages on individual capacitors [25, 26]. The tasks for the central controller are alleviated thanks to the distributed control architecture, while clock synchronization between different controllers must be guaranteed. References [27-30] proposed a kind of pulse re-assignment method for staircase modulation. It allocates the driving pulses to the sub-modules according to their contributions to the net charges of the capacitors in every fundamental period. Thus, the switching frequency equals the fundamental one. But this method is discussed under staircase modulation and the distortion of the output waveform is a little large when the number of sub-modules is small. References [31, 32] presented two special voltage balancing methods for CPS-PWM where the values of sorting and carrier frequencies are the same. Reference [31] utilized a high frequency current in the bridge arms which is generated by altering the phase-shifted angle for balance of capacitor voltages. Nevertheless, the system efficiency is decreased by the circulating current with high frequency and extra ripples in the capacitor voltages are caused. Reconstructed relationships between the driving pulses and sub-modules were presented in [32] according to the ability to charge for each driving pulse per carrier period. However, the evaluation of the charging capabilities is relatively complicated.

To solve the issues mentioned above, an approach to balance capacitor voltages by fundamental frequency sorting algorithm (FFSA) is proposed with CPS modulation schemes. Reconstruction of the driving pulses in each fundamental period is accomplished considering their charging capabilities. By either sorting the increase in voltages or the symmetry of the relation between the voltage increments and pulse numbers, the information of each driving pulse’s ability to charge is obtained. With the proposed approach to balance capacitor voltages, the computational cost significantly decreases, since the sorting frequency drops dramatically (identical to the fundamental frequency). Moreover, measurement of arm currents is not required, saving the cost of current sensors. Furthermore, it is easier for different controllers to communicate with each other.

- Traditional control strategy modeling

  - MMC Topology and Its Working Principles

As displayed in Fig.1, for a three-phase MMC, N sub-modules (SMs) and an arm inductor L are connected in series in each arm. Half bridge, the most frequently-used SM topology, contains two IGBTs S1, S2 and a DC capacitor C. The terminal voltage of a SM vijk can be either zero or equal to the capacitor voltage, which is derived according to the switching states of S1 and S2 in the normal mode. Accordingly, the terminal voltage vijk and charging current icijk can be calculated as

where sijk is the switching function of kth sub-module. sijk =1 means that S1 conducts, and sijk =0 means that S2 conducts. For the upper arm, i=u, while for the lower arm, i=l. j=A, B, C, and vcijk is the corresponding capacitor voltage, and iij is the arm current.

The linear relationship between the circulating current icirj, output current isj and upper/lower arm currents iuj, ilj can be expressed as,

According to the KVL equations for both arms, the expressions of the output voltage and circulating current are,

where vj is the output voltage and Vdc is the input DC voltage. The ideal output voltage vj′ and output current isj are derived as,

Regardless of circulating current active suppression strategy and the injection of 3rd harmonic, the currents in any arm of the MMC can be expressed as [19, 33],

where the modulation index is mV=2Vsm/Vdc, θ= θV-θI is the angle of power factor, ε2ω represents the proportion of the 2nd harmonic component in the fundamental arm current, and the 2nd harmonic current’s phase angle is denoted by θ2ω. ε2ω is usually in the range of 10%~20% since the inductors placed in bridge arms are used for suppressing the 2nd-order harmonic.

(a) Topology configuration

(b) Half-bridge sub-module

Fig.1. Three-phase MMC system.

  - CPS Modulation Scheme for MMCs

CPS-PWM is usually applied for MMCs in small or medium scale, in which case the initial phase angles of N carriers θck (k=1, 2, ···, N) equals 0, 2π/N, ···, (k-1)2π/N, ···, (N-1)2π/N respectively. The driving signals Slk (k=1, 2, ···, N) of the SMs in the lower arm are generated by comparing the modulating signal with the kth carrier Wck. Fig.2 exemplifies the CPS-PWM modulation scheme with four carriers (N=4). Likewise, the driving signals Suk (k=1, 2, ···, N) of the SMs in the upper arm are simply obtained by comparing the anti-phase modulating signal with the anti-phase carriers of the lower arm. Because the operation of the lower arm and that of the upper arm are symmetrical, only the operational mode of the lower arm is explored to discuss the performance of capacitor voltage balance for MMC.

Fig.2. CPS-PWM modulation scheme with four carriers (N=4):

(1) comparison scheme, (2)~(5) drive signals of the four SMs in the lower arm, (6) sum of the drive signals

According to the double Fourier integral analysis in reference [19, 33], FFT analysis of the kth driving signal Slk is depicted as,

where ωc indicates the angular frequency of the carrier, and ω represents the fundamental angular frequency, where ωc=qω, and q is the carrier ratio. θck represents the initial phase angle for the kth carrier, and θck=θc1-(k-1)×2π/N. m denotes the carrier index variable and n is the index variable for the baseband. Amn is the harmonic amplitude, which can be expressed as,

where and Jn(ξ) denotes the first-type Bessel function [34], and it is given as,

It is observed that 1/m is an inverse proportion function, which would decrease with the increase of m; and sin[(m+n)π/2] equals 0, 1 or (-1) depending on whether (m+n) is even or odd. Figs. 3 shows the curves of Amn with respect to the carrier ratio m and the harmonic order n respectively.

Fig. 3 Amn as a function of carrier ratio of m and harmonic order of n

According to Figs. 3, it is found that the amplitude of mth-order harmonic decreases with the rise of m; and the amplitude of nth-order harmonic decreases with the increasing absolute value of n. The amplitude spectrum is shown in Fig. 4. When the carrier frequency is relatively high (i.e. q is large), the DC and fundamental components are far away from the first carrier-order harmonic, so there is little effect of the first carrier-order harmonic on the DC and fundamental components. However, when the carrier frequency is relatively low, the first carrier-order harmonic nearly has the same amplitude as that of the DC and fundamental components, so the effect of carrier-order harmonic on the DC, fundamental and twice-order harmonic components should be taken into account.

Fig. 4 Amplitude spectrum of switching signal of Slk

Assume all the cell capacitor voltages are balanced, which means Vc=Vdc/N, and

Thus, the upper-arm, lower-arm and output voltages are described as,

According to the above analysis, it is found that,

(1) The harmonics with the lowest order in the upper, lower and output voltages are N-times carrier-order and its sideband harmonics, which means the equivalent switching frequency of the arm voltage and output voltage is equal to N times the carrier frequency.

(2) The fundamental components of the upper, lower and output voltages are independent of the initial carrier angle θck.

(3) For the voltages in the upper and lower arms, the DC components are equivalent, but the fundamental and harmonic components are in the opposite phase with the same amplitude.

(4) When N is even or q is odd, the upper, lower and output voltages do not include even harmonics.

- Proposed Voltage Balance Approach Based on FFSA and Its Simplified Strategy

In this section, the features of charging for the driving pulses by using CPS modulation are analyzed in depth, and the conclusion that different pulses have different charging abilities under low frequency CPS is obtained. Therefore, in order to achieve voltage balance, different driving signals should be distributed to corresponding SMs according to the charging abilities and voltages of capacitors. In the paper, a dual sorting mechanism is proposed to reassign the pulse-to-SM relationship. Besides, a simplified strategy is also proposed to eliminate the sorting of voltage increments, where the derivation of charging capabilities for the driving pulses is accomplished by theoretical analysis.

  - Features of charging for the driving pulse with CPS modulation

The capacitor charging current equals to the product of the arm current and the switching function. For CPS modulation, when the carrier ratio q is an integer, the driving pulses include the DC component, the fundamental component, the qth-order component and its sideband harmonics, and the arm currents include the DC, fundamental and second-order components. Thus, the capacitor charging currents contain the DC component, fundamental and integer-multiple-order harmonics, in which DC component would cause net charges on the capacitor voltage, and ac components would cause ac ripples on the capacitor voltages. To keep capacitor voltage balanced, the DC charging current should be carefully considered. In a fundamental period, the capacitor voltage charging ΔVclkCPS can be expressed as

where

According to Fig. 3, when the carrier ratio m is relatively large, Am(-mq), Am(±1-mq) and Am(±2-mq) are nearly equal to zero. Fig.5 shows the amplitudes of Am(-mq), Am(±1-mq) and Am(±2-mq) following the change of m under the modulation index of 0.9. When q is less than 5, Am(-mq), Am(±1-mq) and Am(±2-mq) are close to zero under the condition that m is larger than 3. When q is higher than 5, Am(-mq), Am(±1-mq) and Am(±2-mq) approach zero.

Fig.5 The relationship of Am(-mq), Am(±1-mq), Am(±2-mq) and different m, q.

It can be observed that when q = 3 (carrier frequency fc = 150Hz), ΔVclkCPS is mainly dependent on A1(-q), A1(2-q) and A2(1-2q), and A1(1-q) is ten times larger than A1(-q) and A1(2-q), so the capacitor voltage increase is mainly related to A1(1-q). ΔVclkCPS can be simplified as,

From (14), increment of the capacitor voltage ΔVclk150Hz is only related to the fundamental component in the arm current. The relationship between the capacitor voltage ripple ΔVclk150Hz* and the carrier number k with respect to different values of θ is shown in Fig.6.

Fig.6 The relationship of capacitor voltage ripples and carrier number

  - Proposed Approach to Balance Capacitor Voltages

In terms of the above analysis, the voltage increments of a same SM’s capacitor in a fundamental period are different with different driving pulses. Therefore, in order to achieve the voltage balance of capacitor, the driving pulse should be distributed to the corresponding SM in each fundamental period according to the charging characteristics of driving pulse and the present voltage of capacitor. For example, the pulse with the highest voltage increment should be employed to drive the SM with the lowest capacitor voltage, and the pulse with the lowest voltage increment should be applied for driving the SM with the highest capacitor voltage.

In order to implement the above balancing strategy, a dual sorting mechanism is built, as illustrated in Fig. 7. The increments in voltage of different pulses are sorted in the ascending order, while the sorting of present capacitor voltages Vci is in the opposite way. Then an optimal pulse-to-SM relationship is accordingly established that the pulse with highest voltage increment is allocated to the SM with lowest capacitor voltage, and the pulse with second highest voltage increment is distributed to the SM with second lowest capacitor voltage, and so on. With this one-to-one distributing relationship between drive pulse and SM, balanced voltage can be achieved for floating capacitors. Moreover, because only the measurement of capacitor voltages is required and no current measurement is needed, the cost of sensor can be greatly alleviated.

Fig.7 Dual sorting mechanism for the proposed voltage balancing approach

Since the control frequency of the FFSA capacitor voltage balance method is equal to the fundamental frequency, which is relatively lower than that of the conventional higher frequency sorting method, the convergence rate should be carefully considered. With the consideration of the proposed balancing method, the pulse with the highest voltage increment is employed to drive the SM with the lowest capacitor voltage, and the pulse with the lowest voltage increment is applied for driving the SM with the highest capacitor voltage. Therefore, the convergence rate can be expressed by the difference between the maximum and minimum values of capacitor voltage increment.

From (14), when the carrier frequency is 150Hz (q = 3), the maximum and minimum values of capacitor voltage increment ΔVclk150Hz can be calculated as

where k1=mod(round[1+N(qθc0-qθV+θ)/2/π], N)

and k2=mod(round[1+N(qθc0-qθV+θ-π)/2/π], N).

Denote the normalized convergence rate Vrate150Hz* =. According to , Fig.8 shows the relationship between Vrate150Hz* and power factor angle θ, modulation index mv, with θV = -π/2, θc1 = 0, N=20 or N=8. From Fig.8, the convergence rate is mainly related to the modulation index mv, rather than the power factor angle θ. And the convergence rate is relatively high for both N=20 and N=8 that the capacitor voltages can converge fast under a non-ideal divergence condition.

(a) N = 20

(b) N = 8

Fig.8 Convergence rate of Vrate150Hz* with different number of SMs: (a) N=20, (b) N=8

  - Simplified Voltage Balancing Method

According to , when the carrier frequency is 150Hz (q=3), the capacitor voltage increment ΔVclk150Hz can be described by a standard cosine function of the initial carrier angle θck. In addition, θck is linear with the driving signal number of k, so ΔVclk150Hz is also a cosine function of k, and the period is N. Denote Y by the number of the carrier with the minimum capacitor voltage increment. Then the farther the pulse number k is away from Y, the stronger the pulse’s ability to charge is. On the contrary, the charging ability becomes weaker if k approaches Y. Therefore, if the number Y is found, then the sorting of the driving pulses with ascending order charging ability in Fig. 7 can be realized. For example, for a MMC system with 20 SMs in each arm, if Y=8, then the charging ability of driving pulses 1~20 in ascending order is [8, 7, 9, 6, 10, 5, 11, 4, 12, 3, 13, 2, 14, 1, 15, 20, 16, 19, 17, 18].

There are two methods to find Y. One method is judging directly from the voltage increments of different driving pulse, and the other one is through theoretical analysis, with which the value of Y for 150Hz carrier frequency is obtained in . With these two methods, Y is found and the ascending order of charging ability of the driving pulses in Fig.7 can be obtained, which can avoid the sorting process. Therefore, with the simplified method, the computational cost can be further reduced.

- Simulation and experimental verifications

For the sake of validating the effectiveness of the proposed approach to balance capacitor voltages, a simulation model of a 20-SM arm based three-phase MMC is built in MATLAB/Simulink and a small-scale experimental prototype is also constructed, while only 8 SMs are employed in each arm. As illustrated in Fig. 9, the grid-connected simulation system is presented, and the verification by experiment is completed by using three-phase passive loads, with detailed specifications in Table I.

Fig. 9 Schematic block of simulation and experimental system

TABLE I    System Parameters

| Parameters | Simulation | Prototype |
| --- | --- | --- |
| DC Input Voltage Vdc | 19 kV | 1 kV |
| AC Line Voltage (rms) | 10 kV | 550 V |
| Rated Power | 1 MVA | 6 kVA |
| Rated Line Current (rms) | 57.7 A | 6.36 A |
| Output Frequency f | 50 Hz | 50 Hz |
| Carrier Frequency | 150 Hz | 150 Hz |
| Quantity of SMs per Arm N | 20 | 8 |
| SM Capacitance C | 3 mF | 3 mF |
| Arm Inductance L | 40 mH | 40 mH |
| Rated Capacitor Voltage Vc | 950 V | 125 V |

  - Simulation Results

In the simulation, the common control algorithm by employing two loops is applied. The outer loop controller is responsible for controlling the active/reactive power, while the control of the active and reactive currents is realized by the inner loop controller. The reference values for the active power and reactive power are set to 1000 kW and 0 kVar separately. The initial angle of the first carrier θc1=0 and the modulation index is about 0.9222. The simulation results of voltages/currents at the output and in the arm of phase A are displayed in Fig. 10, which are in well coincidence with the theoretical analysis. Fig. 11 also shows the detailed waveforms of drive signals for the upper arm of phase A. The sum of all the driving signals is illustrated in Fig. 11(1). Its maximum amplitude is 20 while the minimum one is 1. The sorting flag signal is displayed in Fig. 11(2), from which sorting frequency is equal to the fundamental frequency. The number and actual waveforms of driving pulse signals for the 1st, 10th and 20th SM in phase A’s upper arm are also exhibited in Fig. 11(3)~(5) and Fig. 11(6)~(8), respectively. The switching frequency for each switch is identical to the carrier frequency.

Fig.10 Simulation results of voltages and currents for the output side and in the arm, and the circulating current: (1) three-phase output voltages, (2) three-phase output currents, (3)(4) upper and lower arm voltage of phase A, (5)(6) upper and lower arm current of phase A, (7) circulating current of phase A.

Fig.11 Drive signals for the upper arm of phase A: (1) sum of all driving signals, (2) sorting flag signal, (3)(4)(5) number of driving pulse signals for the 1st, 10th and 20th SM, (6)(7)(8) the actual driving pulse signals of 1st, 10th and 20th SM.

The dynamic performance by using the proposed balancing strategy is also illustrated in Fig. 12. Before 0.5s, the active power is 0kW and reactive power is 1000kVar. At 0.5s, the active power increases to 1000kW, and the reactive power jumps to 0kVar. After a short transient period, the capacitor voltages are re-balanced. Therefore, the proposed balancing strategy is also effective during the dynamic response of output current variation. Besides, Fig. 13 shows the dynamic performance by using the simplified balancing strategy, which also can achieve good performance during the dynamic response.

Fig. 12 Dynamic performance of proposed balancing strategy: (1) output current of phase A, (2) capacitor voltages of upper arm of phase A, (3) capacitor voltages of lower arm of phase A.

Fig. 13 Dynamic performance of simplified balancing strategy: (1) output current of phase A, (2) capacitor voltages of upper arm of phase A, (3) capacitor voltages of lower arm of phase A.

  - Experimental Results

The experimental prototype with the parameter values in Table I is also built, as illustrated in Fig. 14. Each arm is consisted with 8 sub-modules and one inductor. The three-phase load consists of three Y-connected 50Ω resistors. The carrier frequency is 150Hz and an open-loop controller is employed to control the output voltage with the modulation index equal to 0.9.

Fig. 14 Photo of the experimental platforms.

The waveforms of the output voltage vA and current isA, upper and lower arm current iuA, ilA and the circulating current icirA in phase A are depicted in Fig. 15. The amplitude of the fundamental component in the output voltage is 426.4V, and the fundamental component’s amplitude of the output current is 8.363A with the total harmonic distortion (THD) of 3.516%. The amplitude of the DC component of circulating current is 1.868A, and that of the second-order component is 0.265A. Fig. 16 displays the voltages vuA, vlA in the upper and lower arms, along with the sort flags. Moreover, the 1st, 5th and 8th SMs’ terminal voltages vlA1, vlA5, vlA8, capacitor voltages vclA1, vclA5, vclA8, and sort flags in the lower arm are also displayed in Fig. 17 and Fig. 18. From the experimental results, the switching frequency for each SM is the same as the carrier frequency. The proposed approach can effectively reduce the sorting and switching frequencies, and the switching actions are equally distributed among the SMs. Besides, the capacitor voltages can stay stable at the rated value with a ripple of 7.7V.

Fig. 15 Experimental results on voltages and currents at the output and in the arms, and the circulating current

Fig. 16 Arm voltages and sort flags

Fig. 17 1st, 5th and 8th SMs’ terminal voltages, and sort flags in the lower arm

Fig. 18 1st, 5th and 8th SMs’ capacitor voltages, and sort flags in the lower arm

Fig. 19 shows the 1st, 5th and 8th SMs’ capacitor voltages with the proposed balancing method enabled and disabled. During the interval that the proposed balancing method is disabled, each driving pulse is used to activate the corresponding SM according to the pulse number. For instance, the first pulse and SM correspond to each other, and the second and SM correspond to each other, etc. The capacitor voltages vclA1, vclA5, vclA8 quickly diverge when the balancing method is disabled. And the convergence process starts at the point when the proposed technique is applied again. Eventually, the capacitor voltages are balanced and slightly fluctuate around the nominal value. The proposed balancing method’s dynamics are also exhibited in Fig. 20 with loads changing from 25Ω to 50Ω. The load current isA decreases from 15.95A to 8.41A, and the capacitor voltage ripples reduce from 13.6V to 7.7V.

Fig. 19 1st, 5th and 8th SMs’ capacitor voltages with the proposed balancing method enabled and disabled

Fig. 20 Dynamic performance of the proposed balancing method under loads change

Fig. 21 shows the 1st, 5th and 8th SMs’ capacitor voltages with the simplified balancing method enabled and disabled. The simplified method is disabled for nine fundamental periods in Fig. 21, and the instant divergence of capacitor voltages vclA1, vclA5, vclA8 happens. When the simplified voltage balancing strategy is enabled, they start converging and ultimately get close to the nominal voltage value. In Fig. 22, the experimental results with the load resistor changing from 25Ω to 50Ω are depicted. The load current isA decreases from 15.81A to 8.335A, and the capacitor voltage ripple decreases from 13.9V to 7.9V. The results demonstrate that the proposed simplified method also can keep capacitor voltage well balanced.

Fig. 21 1st, 5th and 8th SMs’ capacitor voltages with the simplified balancing method enabled and disabled

Fig. 22 Dynamic performance of the simplified balancing method

- Conclusions

A FFSA-based method to balance the capacitor voltages with low frequency CPS for MMC is proposed in the paper. A dual sorting mechanism is adopted to redistribute the driving pulses to SMs. Additionally, a simplified strategy is derived, where the sorting of voltage increments is eliminated. The proposed method contributes to the fact that all the power switches share average switching commutations, and the switching frequency for each switch equals the fundamental frequency. Consequently, the switching losses are extremely reduced. Meanwhile, the efficiency of system is strengthened with a great extent. Besides, the sorting frequency and the fundamental one have the same value, which saves lots of capacitor voltage sorting calculation. Furthermore, since measurement of the arm currents is not required, a large amount of cost for current sensors is omitted. As a result, simplified communication among different controllers is fulfilled. For verification purposes, 20 SMs are placed in each arm to form a simulation platform, and an 8-SM arm based experimental prototype is developed. The effectiveness of the proposed method is illustrated in both the simulation results and experimental verifications.

References

[1]	J. Kolb, F. Kammerer, M. Gommeringer, and M. Braun, "Cascaded Control System of the Modular Multilevel Converter for Feeding Variable-Speed Drives," IEEE Transactions on Power Electronics, vol. 30, pp. 349-357, 2015.

[2]	S. Kouro, M. Malinowski, K. Gopakumar, J. Pou, L. G. Franquelo, W. Bin, et al., "Recent Advances and Industrial Applications of Multilevel Converters," IEEE Transactions on Industrial Electronics, vol. 57, pp. 2553-2580, 2010.

[3]	H. Abu-Rub, J. Holtz, J. Rodriguez, and B. Ge, "Medium-Voltage Multilevel Converters -- State of the Art, Challenges, and Requirements in Industrial Applications," IEEE Transactions on Industrial Electronics, vol. 57, pp. 2581-2596, 2010.

[4]	N. Flourentzou, V. G. Agelidis, and G. D. Demetriades, "VSC-Based HVDC Power Transmission Systems: An Overview," IEEE Transactions on Power Electronics, vol. 24, pp. 592-602, 2009.

[5]	A. Antonopoulos, L. Angquist, L. Harnefors, and H.-P. Nee, "Optimal Selection of the Average Capacitor Voltage for Variable-Speed Drives With Modular Multilevel Converters," IEEE Transactions on Power Electronics, vol. 30, pp. 227-234, 2015.

[6]	R. Zeng, L. Xu, L. Yao, and B. W. Williams, "Design and Operation of a Hybrid Modular Multilevel Converter," IEEE Transactions on Power Electronics, vol. 30, pp. 1137-1146, 2015.

[7]	B. Gultekin and M. Ermis, "Cascaded Multilevel Converter-Based Transmission STATCOM: System Design Methodology and Development of a 12 kV ±12 MVAr Power Stage," IEEE Transactions on Power Electronics, vol. 28, pp. 4930-4950, 2013.

[8]	C. Oates, "Modular Multilevel Converter Design for VSC HVDC Applications," IEEE Journal of Emerging and Selected Topics in Power Electronics, vol. 3, no. 2, pp. 505-515, Jun. 2015.

[9]	J. Lyu, X. Cai and M. Molinas, "Frequency Domain Stability Analysis of MMC-Based HVdc for Wind Farm Integration," IEEE Journal of Emerging and Selected Topics in Power Electronics, vol. 4, no. 1, pp. 141-151, Mar. 2016.

[10]	H. Liu, K. Ma, Z. Qin, P. C. Loh, and F. Blaabjerg, "Lifetime Estimation of MMC for Offshore Wind Power HVDC Application," IEEE Journal of Emerging and Selected Topics in Power Electronics, vol. 4, no. 2, pp. 504-511, Jun. 2016.

[11]	M. A. Perez, S. Bernet, J. Rodriguez, S. Kouro, and R. Lizana, "Circuit Topologies, Modeling, Control Schemes, and Applications of Modular Multilevel Converters," IEEE Transactions on Power Electronics, vol. 30, pp. 4-17, 2015.

[12]	A. Nami, J. Liang, F. Dijkhuizen, and G. D. Demetriades, "Modular Multilevel Converters for HVDC Applications: Review on Converter Cells and Functionalities," IEEE Transactions on Power Electronics, vol. 30, pp. 18-36, 2015.

[13]	G. P. Adam and B. W. Williams, "Half- and Full-Bridge Modular Multilevel Converter Models for Simulations of Full-Scale HVDC Links and Multiterminal DC Grids," IEEE Journal of Emerging and Selected Topics in Power Electronics, vol. 2, no. 4, pp. 1089-1108, Dec. 2014.

[14]	J. Peralta, H. Saad, S. Dennetiere, J. Mahseredjian, and S. Nguefeu, "Detailed and Averaged Models for a 401-Level MMC-HVDC System," IEEE Transactions on Power Delivery, vol. 27, pp. 1501-1508, 2012.

[15]	G. Konstantinou, V. Agelidis, and M. Ciobotaru, "Selective harmonic elimination pulse-width modulation of modular multilevel converters," IET Power Electronics, vol. 6, pp. 96-107, 2013.

[16]	G. Konstantinou, J. Pou, S. Ceballos, R. Darus, and V. G. Agelidis, "Switching Frequency Analysis of Staircase-Modulated Modular Multilevel Converters and Equivalent PWM Techniques," IEEE Transactions on Power Delivery, vol. 31, pp. 28-36, 2016.

[17]	B. Li, R. Yang, D. Xu, G. Wang, W. Wang, and D. Xu, "Analysis of the Phase-Shifted Carrier Modulation for Modular Multilevel Converters," IEEE Transactions on Power Electronics, vol. 30, pp. 297-310, 2015.

[18]	Y. Li, Y. Wang and B. Q. Li, "Generalized Theory of Phase-Shifted Carrier PWM for Cascaded H-Bridge Converters and Modular Multilevel Converters," IEEE Journal of Emerging and Selected Topics in Power Electronics, vol. 4, no. 2, pp. 589-605, Jun. 2016.

[19]	K. Ilves, L. Harnefors, S. Norrga, and H.-P. Nee, "Analysis and Operation of Modular Multilevel Converters With Phase-Shifted Carrier PWM," IEEE Transactions on Power Electronics, vol. 30, pp. 268-283, 2015.

[20]	W. van der Merwe, "Natural Balancing of the 2-Cell Modular Multilevel Converter," IEEE Transactions on Industry Applications, vol. 50, pp. 4028-4035, 2014.

[21]	W. van der Merwe, P. Hokayem, and L. Stepanova, "Analysis of the N-Cell Single Phase MMC Natural Balancing Mechanism," IEEE Journal of Emerging and Selected Topics in Power Electronics, vol. 2, pp. 1149-1158, 2014.

[22]	M. Glinka and R. Marquardt, "A New AC/AC Multilevel Converter Family," IEEE Transactions on Industrial Electronics, vol. 52, pp. 662-669, 2005.

[23]	T. Qingrui, X. Zheng, and X. Lie, "Reduced Switching-Frequency Modulation and Circulating Current Suppression for Modular Multilevel Converters," IEEE Transactions on Power Delivery, vol. 26, pp. 2009-2017, 2011.

[24]	P. M. Meshram and V. B. Borghate, "A Simplified Nearest Level Control (NLC) Voltage Balancing Method for Modular Multilevel Converter (MMC)," IEEE Transactions on Power Electronics, vol. 30, pp. 450-462, 2015.

[25]	M. Hagiwara, R. Maeda, and H. Akagi, "Control and Analysis of the Modular Multilevel Cascade Converter Based on Double-Star Chopper-Cells (MMCC-DSCC)," IEEE Transactions on Power Electronics, vol. 26, pp. 1649-1658, 2011.

[26]	S. Fan, K. Zhang, J. Xiong, and Y. Xue, "An Improved Control System for Modular Multilevel Converters with New Modulation Strategy and Voltage Balancing Control," IEEE Transactions on Power Electronics, vol. 30, pp. 358-371, 2015.

[27]	K. Ilves, A. Antonopoulos, S. Norrga, and H.-P. Nee, "A New Modulation Method for the Modular Multilevel Converter Allowing Fundamental Switching Frequency," IEEE Transactions on Power Electronics, vol. 27, pp. 3482-3494, 2012.

[28]	F. Deng and Z. Chen, "Voltage-Balancing Method for Modular Multilevel Converters Switched at Grid Frequency," IEEE Transactions on Industrial Electronics, vol. 62, pp. 2835-2847, 2015.

[29]	J. E. Huber and A. J. Korn, "Optimized Pulse Pattern Modulation for Modular Multilevel Converter High-Speed Drive," presented at the 15th International Power Electronics and Motion Control Conference, EPE-PEMC 2012 ECCE Europe, Novi Sad, Serbia, 2012.

[30]	S. Du, J. Liu, and T. Liu, "Modulation and Closed-Loop-Based DC Capacitor Voltage Control for MMC With Fundamental Switching Frequency," IEEE Transactions on Power Electronics, vol. 30, pp. 327-338, 2015.

[31]	F. Deng and Z. Chen, "A Control Method for Voltage Balancing in Modular Multilevel Converters," IEEE Transactions on Power Electronics, vol. 29, pp. 66-76, 2014.

[32]	F. Deng and Z. Chen, "Voltage-Balancing Method for Modular Multilevel Converters Under Phase-Shifted Carrier-Based Pulsewidth Modulation," IEEE Transactions on Industrial Electronics, vol. 62, pp. 4158-4169, 2015.

[33]	Q. Song, W. Liu, X. Li, H. Rao, S. Xu, and L. Li, "A Steady-State Analysis Method for a Modular Multilevel Converter," IEEE Transactions on Power Electronics, vol. 28, pp. 3702-3713, 2013.

[34]	D. G. Holmes and T. A. Lipo, Pulse Width Modulation for Power Converters:Principles and Practice. New Jersey: Wiley-IEEE Press, 2003.

Guipeng Chen received the B.E.E. degree in electrical engineering from Zhejiang University, Hangzhou, China, in 2011, and the Ph.D. degree in power electronics and electric drives from the College of Electrical Engineering, Zhejiang University, in 2017. During the PHD study, he joined Fuji Electric Matsumoto Factory as a summer intern in 2014 and was invited to the University of Liverpool as a research assistant for a half-year program from July 2016. He is currently working as a Postdoc at the Instrument Science and Technology Postdoc Center, School of Aerospace Engineering, Xiamen University, China. His current research interests include automatic topology derivation of dc-dc converters and fault-tolerant converters.

Hao Peng was born in Hubei Province, China, in 1989. He received the B.Sc. degree from the College of Electrical and Electronic Engineering, Huazhong University of Science and Technology, Wuhan, China, in 2010. He is currently working toward the Ph.D. degree from the College of Electrical Engineering, Zhejiang University, Hangzhou, China. From July 2012 to September 2012, he was an internship student at Fuji Electric Company, in Matsumoto, Japan. His research interests include high precision power amplifier and modular multilevel converter.

Author 3:  Rong Zeng

Yihua Hu (SM’15, M’13) received the B.S. degree in electrical motor drives in 2003, and the Ph.D. degree in power electronics and drives in 2011, both from China University of Mining and Technology, Jiangsu, China. Between 2011 and 2013, he was with the College of Electrical Engineering, Zhejiang University as a Postdoctoral Fellow. Between November 2012 and February 2013, he was an academic visiting scholar with the School of Electrical and Electronic Engineering, Newcastle University, Newcastle upon Tyne, UK. Between 2013 and 2015, he worked as a Research Associate at the power electronics and motor drive group, the University of Strathclyde. Currently, he is a Lecturer at the Department of Electrical Engineering and Electronics, University of Liverpool (UoL). He has published more than 45 papers in IEEE Transactions journals. His research interests include PV generation system, power electronics converters & control, and electrical motor drives. He is the associate editor of IET Power Electronics, IET Renewable Power Generation, Journal of Power Electronics, and Power Electronics and Drives.

Kai Ni was born in Jiangsu, China. He received the first class BEng degree in Electrical Engineering in 2016 from University of Liverpool, Liverpool, UK. He is currently pursuing the Ph.D degree in University of Liverpool. His research interests include fault-tolerant operation and control of power electronic converters in doubly-fed induction machines for wind applications.