Core-shell microspheres with porous nanostructured shells for liquid chromatography

Adham Ahmed1, Kevin Skinley1, Stephanie Herodotou1, Haifei Zhang2

1 Thermo Fisher Scientific, Tudor Road, Manor Park, Runcorn, WA7 1TA, UK

2 Department of Chemistry, University of Liverpool, Oxford Road, Liverpool, L59 7ZD, UK

Running title: Core-shell particles for liquid chromatography

Correspondence: Dr Haifei Zhang, Department of Chemistry, University of Liverpool, Oxford Road, Liverpool, L59 7ZD, UK. Email: zhanghf@liverpool.ac.uk. Fax: +44 151 7943588.

Abbreviations: CTAB, cetyltrimethylammonium bromide; CTAC, cetyltrimethylammonium chloride; DRIFTS, Diffuse reflectance infrared Fourier transform spectroscopy; HILIC, hydrophilic interaction chromatography; HKUST-1, Hong Kong University of Science and Technology; LbL, layer-by-layer; MIL-100, Materials of Institute Lavoisier; MPTMS, 3-mercaptopropyltrimethoxysilane; MOFs, metal-organic frameworks; MW, molecular weight; OTMS, octadecyl trimethoxysilane; PDDA, poly(diallyldimethylammonium chloride); PMT, pseudomorphic transformation; PSD, particle size distribution; SOS, spheres-on-sphere; SPP, superficially porous particles; TEOS, tetraethyl orthosilicate; UHPLC, ultra-high pressure liquid chromatography; UiO-66, Universitetet i Oslo; ZIF-8, zeolitic imidazolate framework.

Keywords: core-shell particles / superficially porous particles / spheres-on-sphere silica / hybrid particles / fast liquid chromatography

Abstract: Development of new stationary phase has been the key aspect for fast and efficient HPLC separation with relatively low backpressure. Core-shell particles, with solid core and porous shell, have been extensively investigated and commercially manufactured in the last decade. The excellent performance of core-shell particles columns has been recorded for a wide range of analytes, covering small and large molecules, neutral & ionic (acidic and basic), biomolecules, and metabolites. In this review, we firstly introduce the advance and advantages of core-shell particles (or more widely known as superficially porous particles) against non-porous particles and fully porous particles. This is followed by the detailed description of various methods used to fabricate core-shell particles. We then discuss the applications of common silica core-shell particles (mostly commercially manufactured), the new spheres-on-sphere particles, and core-shell particles with non-silica shell. This review paper concludes with a summary and perspective on the development of stationary phase materials for HPLC applications.

- Introduction

Liquid chromatography (LC) has been widely used for separation, analysis, and detection. In addition to the routine analysis of small molecules in chemistry and chemical-related industry labs, the use of LC covers separation of bio-related molecules (e.g., amino acid, peptide, proteins, lipids, glycans & saccharides, oligonucleotides), metabolic phenotyping, food science & nutrition, forensic toxicology, environmental analysis, and pharmaceutical analysis [1]. The development of modern LC has targeted fast and efficient separations, with improvements being made in innovative stationary phase and instrumentation [2]. The stationary phase materials in LC can be generally classified into two categories: microspheres and monoliths [3,4]. Monolith columns can offer fast separation and may be particularly useful for separation of large macromolecules. There are several products of monolithic columns on the market. However, the spherical packing materials (indeed silica spheres) are still dominating the market and widely investigated in research and development [3]. Because separation in LC is based on the adsorption/retention and desorption between the target molecules in the mobile phase and stationary phase, the increase in surface area of the stationary phase can increase the adsorption/desorption sites and hence enhance the separation efficiency. Both porous and non-porous spheres can be used. While the porous spheres exhibit high surface areas, the non-porous spheres are mechanically more stable, which can be very important when the operation pressure is high. The development and use of uniform and smaller silica microspheres has been the driving force for highly efficient HPLC. However, the backpressure generated by the use of small particles is a big obstacle for the HPLC systems.

To address the dilemma in the high performance of smaller particles and high operation pressure, instrumentation design of the HPLC system with short narrow-bore columns has been crucial to achieve fast separation with excellent sensitivity [2]. For the narrow-bore columns, the factors that can significantly compromise the analysis performance or reproducibility include extra-column volume (including injector system, connector tubing, detector cell), dwell volume, data acquisition rate, and injection cycle time [2]. The instrumentation design may also include coupling of on-line sample pre-treatment techniques with HPLC columns. This is to separate and enrich target compounds in the complex samples with very low concentration. Typically, the sample pre-treatment techniques are solid phase extraction or liquid phase extraction [5]. To simply enhance separation efficiency and selectivity, the column modulation via the serial coupling of different columns under compatible conditions can be employed [6]. This, however, may cause the huge increase of operational pressure.

The high operation pressure can also result in detrimental effects of frictional heating generated by percolation of the mobile phase flowing through the packed particles. The heat generated is proportional to the pressure drop and flow rate [3]. This creates the temperature gradient along the axial direction (the flowing direction of mobile phase) and the radial direction (due to the high temperature in the central part and the heat loss through the wall), leading to serious band broadening and poor reproducibility. This effect may be reduced by using narrow-bore columns and reducing backpressure inside the column [2]. The high pressure can also lead to significant change in partial molar volume, which is the change of molar volumes of solute molecules bound to the stationary phase and solute molecules in the mobile phase. The changes are greater for large molecules such as proteins, peptides and other biomacromolecules. This can in turn influence the retention and separation of such molecules, as maybe explained by the solvation parameter model [7].

It is thus clear that reducing operation pressure whilst maintaining the separation efficiency can generate multiple benefits. The use of core-shell silica particles, with solid core and porous shell, as column packing materials, can be regarded as a big progress in HPLC column technology in the last decade or so [8]. These core-shell silica particles are also known by some of other commonly used names, such as fused-core, solid core or superficially porous particles (SPP) [4]. The main commercially available core-shell columns include Poroshell (Agilent), Cortecs (Waters), Accucore (Thermo Fisher Scientific), Halo (Advanced Materials Technologies), Kinetex (Phenomenex), Ultracore (Advanced Chromatography Technologies) [4,9]. Core-shell columns with particles of 2.6-2.7 μm have been found to show better or the same efficiency compared with fully porous 1.7 μm column (BEH C18), but with much lower back pressure [9]. The particle size distribution could also have a big impact on the operation pressure [9]. There is no doubt the core-shell particles columns have considerably enhanced the applications of HPLC in various areas [1,10]. There are, of course, other exciting developments in the development of novel stationary phase materials, for example, for hydrophilic interaction chromatography (HILIC) [11], mixed-mode HPLC [12], size exclusion chromatography (SEC) [13], also metal-organic frameworks (MOFs) as new type of stationary phase for HPLC [14]. These new development may be based on core-shell silica particles or fully porous/non-porous silica particles.

In this review, we focus on the fabrication and use of core-shell particles for enhanced HPLC applications. The fabrication methods are particularly covered in details. The fundamentals for HPLC and core-shell particles are also described. The review concludes with a summary and perspectives.

2. Use of core-shell particles as packing materials and elucidation of their high performance

2.1 Columns packed with totally porous, non-porous particles, and core-shell particles

The selective separation of a complex mixture into individual species by LC requires the stationary phase to selectively retain analytes based on their chemical composition and structure [15]. Usually a column packed with porous micron-sized particles is applied in order to achieve the separation. In elution chromatography, the sample is transported by a convective flow through the packed column. The convective flow is generated by a pump (pressure driven mode). Diffusion of solutes in a liquid phase is usually three orders of magnitude slower than in the gas phase for small to medium sized molecules. In addition, diffusion into and out of tortuous pores (pore diffusion) reduces significantly the diffusivity as compared to diffusion in the liquid bulk phase. A central problem in HPLC is therefore to overcome the limitations of hindered mass transfer of solutes due to pore diffusion by providing sufficient access to the interactive surface sites. One way is to reduce the average particle size of the packing to minimize the diffusion path length by using smaller microspheres [15].

Works on the use of nonporous sub-2µm silica particles in ultra-high pressure capillary liquid chromatography (UHPLC) with columns I.D. < 200 µm were performed since late 1990s. The particles used were 1.0 and 1.5 µm. These particles were monodisperse and yielded very efficient chromatographic columns [16-18]. Spherical organosilica particles of 670 nm (stable in 1 < pH < 11) containing C18 moieties were prepared by Cintron and Colon using a simple one-step synthesis process [19]. When applied in UHPLC for the separation of a mixture of ascorbic acid, hydroquinone, resorcinol, catechol and 4-methylcatechol, a fast analysis time within 4 min and high theoretical plates (500,000 plates/m) were achieved. Elevated-temperature UHPLC was performed using polybutadiene-coated 1 µm nonporous zirconia particles in a study by Lee and co-workers [20]. Five herbicides were separated in 1 min at 26,000 psi and 90 ◦C with a column efficiency of 420,000 plates/m. It was shown that nonporous particles with uniform size (below 1.5 µm) could form robust packed column and bring about low plate height at elevated column pressure [17,20].  However, nonporous materials have comparatively lower surface area which results in low loading capacity.

Another challenge is that the high pressure generated by using small (sub-micron) nonporous particles renders the instrument dangerous and impractical to operate [19]. Xiang et al. studied the safety concerns of operating UHPLC with fused-silica capillary columns [21]. Liquid jets and high speed projectiles of silica particles due to rupture of the capillary or failure of the ferrule in the capillary connection might lead to injuries. To avoid the high pressure and potential danger, some studies using sub-2 µm silica were carried out on capillary electro-chromatography (CEC). CEC utilizes electro-osmotic driving force instead of pressure drop to achieve high separation efficiency [22-24].

In 2005, robust porous sub-2 µm silica materials were brought into the limelight for fast and efficient chromatographic separation [25]. Mesoporous sub-2 µm silica materials, being smaller in size compared to conventional 5 and 3 µm packing materials, could bring about enhanced separation efficiency. Their large surface area also significantly improves loading capacity. These factors allow for the use of column with shorter length and smaller id to achieve the same or even higher resolution in very short analysis time compared to conventional HPLC [25].

Research efforts are devoted to the development of chromatographic application using sub-2 µm materials and relatively high-pressure instrumentation. Wu and Clausen discussed the fundamental and practical aspects of UHPLC such as particle size, frictional heating, pressure drop, column diameter, pump and injection systems, detection as well as packing materials [26]. Since then, the development of sub-2 µm porous silica material continues to contribute significantly to the field of liquid chromatography. These silica materials have demonstrated good performance in achiral chromatographic separation and have shown great promise in fast enantioselective separation of racemic compounds.

The advantages of smaller fully porous particles compared with the same materials in conventional larger particles sizes can be clearly demonstrated by kinetic plots as shown in Figure 1 a [27].The pressure limit of the conventional columns (used on conventional equipment) is assumed to be 400bar, whereas that of the smaller particles with UHPLC equipment is assumed to be 1200 bar. For separations requiring up to about 100,000 plates, the curve for the 1.8 µm column lies well below that of the 3.5 µm column, showing that a faster analysis can be achieved. Only for the relatively unusual case of the requirement of >100,000 plates does the excessive pressure of the increasing long column required prevent the profitable use of the smaller particle column.

A major leap forward in column technology came in 2007 with the introduction by Advanced Material Technologies (Wilmington, DE, USA) of SPPs developed [28] after the old concept of pellicular particles which were unsuccessfully implemented in the 1970s, with the particle size of 50 µm and the shells made of aggregates of nanoparticles only a few µm thick [29-31]. While the original particle size of the SPP column was of the order of 2.6 µm, columns packed with sub 2µm SPPs are now widely commercially available and can give further improvements in performance, if appropriate instrumentation is available [10, 32-34]. This improvement can be seen for the kinetic plots in Figure 1b where separations requiring around 20,000 plates can be achieved in around 1 minute on a 1.6 µm SPP column, but require significantly longer on the totally porous column of about the same particle size (1.8µm) [27].

The possible advantages of core shell materials with considerably smaller particles (1.0-1.3 µm) has been investigated, including a commercially available 1.3 µm material having a 0.9 µm non-porous core and a porous shell < 0.2 µm thick [3, 35-37].  Exceptionally low observed minimum plate heights of 2.2 µm were reported corresponding to a plate count of 450,000 plates/m. However, only short columns of 3-7.5 cm length operated at modest flow rates could be used. Clearly, practical column dimensions and operation are severely limited by the maximum pressure of current instruments, and their band spreading effects [3]. Only the instruments with the lowest extra-column bandspreading could be used to obtain these results [2]. Nevertheless, it was observed that the extra-column bandspreading could have a major impact on the apparent kinetic performance; significant plate count loss was noticed for retention factors <5, even with the best system that was used for the experiments, which had σ2 (extra-column) = 2 µL2 at the flow rates used [3]. It was also demonstrated that the loss in performance caused by frictional heating effects remained negligible, but the short column lengths and flow rates used must clearly be taken into account when considering this observation. The performance of 1.3 µm particles was further studied in the gradient elution mode with both small molecules and peptides (which have different diffusion characteristics) [38,39]. The material appeared to be particularly well suited for fast separations, but the advantages were much more obvious for peptides than small molecules. This was due to the possibility of working closer to the optimum flow velocity for peptides, as they have smaller mobile phase diffusion coefficients.

Kirkland and co-authors debated whether sub-2 µm SPPs were really necessary in many practical applications [40]. While the introduction of SPPs in the sub-2 µm range as opposed to the original 2.5 -2.7 µm particles allowed very fast separation, the efficiency advantages of these very small particles may often not be realised nor sufficient to overcome some of the practical limitations and disadvantages of their use. A 2.0 µm particle diameter was suggested to retain many of the advantages of these particles, while minimising some of their disadvantages [40].

The advantages of SPP columns can be extended to their substitution for conventional larger particle 5µm totally porous phases [41]. The large size core-shell particle columns show a clear improvement in separation power over their fully porous counterparts by allowing faster separations (at the same efficiency) or a higher separation resolution (at the same analysis time). Van Deemter and kinetic plots showed that SPPs of 5 µm diameter provide a superior kinetic performance compared with the fully porous particles over the entire range of separation conditions, when both types of support were evaluated at the same operating pressure. The same observations were made both for isocratic and gradient analysis [42]. It was demonstrated that the SPPs do not compromise sensitivity due to loadability issues, and that these columns could be used on conventional equipment without modification to obtain significant improvement in analysis time, especially if columns of 4.6 mm ID packed with larger particle size (~2.6 µm) are utilised, which reduce the need for instrumentation giving a low extra column bandspreading contribution [43-45]. Gritti and Guichon found values of the minimum reduced plate height of 1.3-1.5 for SPPs columns of 4.6 x 150 mm packed with 4.6 µm SPPs [46]. The separation speed and resolution of these columns was claimed to be equivalent to that of 2.5 µm totally porous particles for hold up times larger than only 10s, and virtually equivalent to that of 2nd generation silica monoliths. The latter were stated to have the disadvantage that they can only be used at pressures up to 200 bar. Care must be taken when comparing the performance of packings in columns of different physical dimensions, as particularly the internal diameter of the column can influence the performance [43,46]. The minimum reduced plate height of SPPs columns packed with 4.6 to 1.3 µm particles in narrow bore (2.1 mm) ID format was 1.6-1.9, which is somewhat higher than the values achieved in the larger 4.6 mm format.

2.2 Theoretic aspects of high performance core-shell particles

Daneyko et al. undertook a comprehensive computational investigation of longitudinal diffusion, eddy dispersion and trans-particle mass-transfer in bulk random packings of core shell particles with varied shell thickness and shell diffusion coefficient [47]. An excellent summary of current knowledge of the various band spreading processes within a column was given. The van Deemter equation [48] written in modern terminology (equation 1) gives a simple description of these processes:

H=A+Bu+Cu 									(1)

h=av0.33+bν+cν 									(2)

∆P= ∅ηLudp2 										(3)

Equation (2) is the Knox equation and uses H (Height of equivalent theoretical plate, HETP) and u (velocity) of equation (1) in their reduced forms, h and ν, and is often employed for physicochemical comparison purposes [49]. For equation (3) (the Darcy’s law), ΔP is the backpressure generated, φ is the flow resistance, u is the average velocity, η is the viscosity of the mobile phase, L is the column length, and dp is the size of the particles.

The A term includes contributions to flow biases taking place over different characteristic lengths in the column that can be divided into:

(i) transchannel (associated with the dimensions of the interparticle channels between

neighbouring particles)

(ii) short-range interchannel (associated with the scale of a few particle diameters)

(iii) long range interchannel (associated with the distances between local defects in a packing)

(iv) transcolumn effects (associated with heterogeneities at the scale of the column dimensions).

The B term is related to an apparent, complex diffusion coefficient accounting for the sample diffusivity in the interparticle bulk eluent and in the pore network of the stationary phase.

The C term (mass transfer term) accounts for all mechanisms resulting in a finite response time for transfer between solid and the bulk liquid mobile phase.

It should be pointed out that the coefficients in the equation are semi-empirical and as a consequence cannot be directly related to a physical description of the individual mechanisms.

The A and C terms directly depend on the particle diameter, so the reduction in particle size enhances the performance of the separation. Nevertheless, this leads to an immediate drawback: columns packed with smaller particles have lower permeability and this causes higher backpressures, according to Darcy’s law [Equation (3)]. This means that optimal flow rates for fully-porous particles will generate backpressures several times higher in columns packed with sub-3 μm or sub-2-μm particles than in the case of the 5-μm particles.

Gritti and Guiochon had previously outlined these various processes, and proposed that the good performance of SPP columns resulted from a smaller B term (due to the non-porosity of the core giving a reduced packed bed volume accessible for diffusion) and a much reduced A term [50,51]. Other work indicated that the smaller A term in SPP columns was mainly due to a higher transcolumn homogeneity rather than an improved bed morphology on smaller length scales [52,53]. It was shown that when analysis of small molecules was performed at (for isocratic) or somewhat above (for gradients) the optimum flow, the eddy diffusion term contributed the great majority of the band broadening. The greatest contribution to eddy dispersion is from wall and/or border layer trans-column effects. As the bed aspect ratio (the ratio of the column to particle diameter) increases, the column performance tends towards the infinite diameter column [54].

Due to their complex mode of preparation, the reproducibility of the manufacture of SPP columns might be questioned especially with regard to the reproducibility of the eddy diffusion and its effect on the total efficiency. However, studies have indicated that for several different commercially available products, reproducibility was good. Differences in column efficiency between columns were attributed merely to the random nature of the packing process and the resulting lack of homogeneity of the column bed [55]. For 2.6 µm commercially available SPPs in 2.1 x 100 mm column formats, the relative standard deviation (RSD) of the eddy diffusion contribution was less than 10% [56]. Similar results were found for SPPs with larger pore size designed for the separation of peptides [57]. The question of the monodispersivity of the support and its influence on column performance has long been a subject of debate amongst researchers in this area. SPPs have a very narrow particle size distribution (PSD); (RSD ~ 5%) and a considerably lower proportion of “fine” particulates left behind from the manufacturing process compared to preparation methods for totally porous particles and it seems possible that this could indeed influence the A term in some way. It should also be considered that practical reasons and perhaps greater ease of packing particles of narrow PSD may be important. Horvath et al developed a theoretical framework for calculation of the effect of psd on efficiency, demonstrating that a wider PSD was detrimental to performance [58]. A constant packing density was assumed in this work. The PSD mostly affects intraparticle diffusion; therefore, its effect is negligible in the case of small molecules. However, its influence increases as the size of solute molecules increases, because intraparticle diffusion becomes increasingly significant. Thus SPPs with a narrow PSD should be advantageous. It was shown that bimodal phases (which consist of deliberate mixtures of particles of different size) had no advantage over unimodal phases-manufacturers are known to sometimes add small quantities of larger particles to a UHPLC packing in order to reduce the operating pressure [3].

Recently, fully porous particles with narrow PSD have become available, and their properties have been briefly reviewed [59]. By comparison of their performance with SPP columns, some elucidation of the factors leading to high efficiency might be possible. Guiochon and co workers studied 2.1 and 3.0 mm id column packed with such materials of nominal particle size 1.9 µm [60,61]. These materials had particle size distribution of 10 % RSD, intermediate between that of classical porous particles (~20 %) and SPPs (~5 %). The Titan material exhibited low reduced plate height (h) values of 1.7-1.9, which is low for totally porous particle columns although does not reach the even lower values exhibited by some SPP columns. The authors pointed out that it was tempting to therefore assume a correlation between narrow PSD and high efficiency. However, they attributed the performance instead to the unusually small diffusivity of analytes across the porous particles (about a factor of 3 lower than for typical porous C18 particles), leading to the lowest h values being obtained at low reduced velocities (around 5 instead of 10). Therefore the performance is attributable to a reduction in the B term. An undesirable consequence however, is a larger C term, which leads to poorer performance at high mobile phase velocity. Increasing the pore size of the material from 80-120 Å produced improvements in the efficiency of the columns when applied to the analysis of peptides and small proteins [62,63].

The effect of shell thickness has been studied particularly with regard to the separation of large molecules. In general, studies have suggested a compromise between a short diffusion path (which leads to high efficiency) and adequate retention / mass load tolerance. SPPs with thinner porous shells show marginal improvement in column efficiency for small molecules, but improved performance for larger molecules which have much smaller diffusion coefficients and thus give higher mass transfer contributions to band broadening [64]. This particular study indicated the best compromise for large molecules was a 0.2 µm shell thickness. This value represents a rather thinner shell than used in the original materials, which reflect the slower diffusion of large molecules and its consequent negative influence on mass transfer [64].

For the separation of larger molecules such as peptides and proteins [65], the pore size must be large enough to accommodate the solutes. SPPs with larger pores are now commercially available [66]. Wagner et al. estimated that solutes with MW >5000 could show restricted diffusion and poor performance in 2.7 µm shell packings with a conventional pore size (e.g. 90 Ǻ) while the SPP packings with pore size 160 Ǻ were limited to solutes of MW <15000 [67]. SPPs with pore size of 400 Ǻ were suitable for separation of proteins with MW 400 kDa or higher [67]. Further work explored in more detail the added effect of shell thickness on performance using particles of diameter 3.4 µm with different pore size over the range 90-400 Å and shell thickness 0.15 - 0.5 µm for the separation of proteins [68]. It has confirmed that large molecules (even up to 500 kDa) have unrestricted access to the bonded phase of the material.

Langsi and co-workers studied the preparation of SPPs of overall diameter 1.5, 1.7 and 1.9 µm coated with a thin 50 nm shell [69]. These particles were manufactured via micelle templating using short chain alkylammonium halide surfactant templates followed by hydrolysis/condensation of a pure silica precursor. The materials were comprehensively characterised using scanning and transmission electron microscopy(SEM, TEM), dynamic light scattering, gas adsorption, elemental and thermogravimetric analysis, DRIFTS, and inverse size exclusion chromatography. The minimum reduced plate heights were around 4; this value was larger than that for a 1.7 µm packing with a thicker 150 nm shell [69].

While much work has centred on the question of the pore size of SPPs, it seems that the pore size distribution of these materials is considerably wider than that of totally porous packings, as demonstrated using inverse size exclusion chromatography [70]. This observation is perhaps unsurprising in view of the completely different methods used to produce these different kinds of particles, and must arise from the method of shell synthesis.

The loading capacity of SPPs is sometimes questioned in that only a proportion of the particle is porous and therefore accessible to solutes. The capacity of SPPs was found to be not greatly reduced compared with totally porous particles yielding similar efficiency [71,72]. The original small particle SPP columns had a value of ρ of 0.63 [73], indicating that about 75 % of the particle is porous compared with a totally porous particle of the same particle diameter. Other popular commercial varieties of SPP column have a solid core of diameter 1.9 µm and an overall diameter 2.6 µm, implying a value of ρ = 0.73 and around 61 % of porous volume. The ρ value of close to 1 for the original pellicular particles indicates a very much smaller porous volume. In view of these values, there is no particular reason to suspect that for these small “thick” SPPs that the loading capacity should be drastically compromised, although clearly their capacity might be expected to be somewhat reduced. However, this favourable assessment may not be true for more recently developed SPP packings with different shell thickness. In addition, other factors may be involved in loading capacity; it is possible that solutes do not penetrate completely to the centre of totally porous particles, indicating that some of their potential capacity could be redundant. Furthermore, the specific surface area of the porous shell (in m2/g of shell material) may be different from that in totally porous particles [3].

3. Fabrication of core-shell particles for separations

Core-shell particles are usually fabricated by a two-step or multiple step method. As the name suggests, the core is formed first and the shell is generated on the core subsequently. Different methods have been used to prepare core-shell particles [74]. Among them, some methods are frequently used to produce core-shell microspheres for HPLC and are described.

3.1 Silica core-shell particles by layer-by-layer deposition

The layer-by-layer (LbL)method is mostly used for the preparation of core-shell packing materials, particularly for those commercially available ones. The fabrication by the LbL technique starts with a non-porous solid sphere (as the core), followed by the alternative deposition of the charged polymer and oppositely charged nanospheres (Figure 2). This method utilizes the electrostatic interaction and other forces such as hydrogen bonding, covalent bonding, van der Waals interaction between the positively charged and negatively charged molecules/particles [4]. For commercial core-shell particles used in chromatography, the whole particle is usually made of the same material silica.

This concept was first introduced 50 years ago using glass beads or polymer particles as the cores coated with the shell of a few micrometers thick [29]. These particles were intended for the analysis of macromolecules and were expected to provide high loading capacity and a low solid-liquid mass transfer [29, 75]. The development of core-shell particles was chaotic over the years and it took time before reliable procedures that made considerable progress in silica column technology. This led to the introduction of second generation of core-shell particles appearing in 1992 [31]. Commercial column poroshell which consists of 1µm thick shell made using 44 nm sol particles was later introduced. The core was made using totally porous particles densified at 1050 oC to make nonporous core. The particle made by spray-drying a suspension of silica core and silica sol, which later require elutriation to isolate the desired size and distribution [31]. The particles met with limited success in spite of improved separation of proteins compared fully porous particles [76, 77]. The limitations were later addressed with the introduction of modern 2.7 µm Halo core-shell particles (third generation) developed by Kirland et al. [73, 78]. The technology gained considerable attention with the achievement of a minimum reduced plate height of 1.5 for small molecules separations [78,79]. With this early achievement, this has lead into the introduction of smaller particles Phenomenex 2.6µm and then Kinetex 1.7 µm which exhibit exceptional performance [80,81].

The preparation method for these particles is achieved via a controlled method producing particles with very narrow PSD of d90/d10 ≤ 1.25. This is driven by the monodisperse nonporous solid microsphere cores, which are prepared via a Stöber method [82]. The Stöber method was later modified to obtain sub-2 µm and sub-3 µm nonporous silica particle to be used as core for core-shell particles [83]. The second step is building a stable and homogenously thick layer of porous silica shell around the nonporous core [84,85]. A large percentage of core-shell silica particles used for chromatography are prepared via layer-by-layer sol deposition approach. This cannot be obtained in a single synthesis step but several successive steps are needed to build a homogenously thick layer of sol shell [86]. The thickness of the shell and the size of the silica sol can be tuned to suit different types of chromatographic applications as it strongly affects the mass transfer for different analytes [32, 33]. But it is also important to achieve a sufficient shell thickness to improve retention factor and sample capacity. The formation of the shell is driven by electrostatic interaction of silica sol onto the core, which is driven by the addition of cationic polymers [33].

Manufacturing core-shell silica particles with the LbL method is time-consuming, offering low productivity as it requires extensive dilutions of reagents below 0.5% w/w to reduce agglomeration and repetitive washes of excess reagents in order to main the narrow particle distribution [33,87]. Several studies were carried out to optimise the method by examining various factors such as the effect of polymer chain, pH and temperature on improving the deposition of sol onto the surface [33, 87]. Thicker shell can be obtained depending on the molecular weight of the polymer as it can absorb several layers of sol particles at a time as the charge density of the electrolyte is increased allowing more extended confirmation. Thus rather than forming monolayer deposition per coating cycle, altering the polymer chain results in change in the polymer behaviour in solution, which allows longer segments to protrude into the suspension and hence maximize the amount of nanoparticles adsorbed. This approach has considerably improved the productivity of the synthesis and higher level of porosity of the silica shell. The behaviour of the polymer in solution is driven by suspension ionic strength and pH.

Colloidal silica solution is regarded as an important part in controlling shell roughness and physical properties (Figure 3). A number of sol layers are needed to produce a sufficient surface area, which is commonly around 50-100 m2/g. This is generated from the inter-particle ordering of the sol particle during shell growth, which also controls the pore size in the range 8-10 nm (the size of silica sol control the finial pore size) [33, 87]. Thus, to obtain the desired surface area for separation of small molecules it is recommended that porous layer thickness should be between 24-41% of the total particle diameter [32, 88-89]. For the separation of large molecules, the shell thickness less than 13% was recommended by Horvath and co-workers for increase efficiency and mass transfer [89]. It should be noted that these values refer to the whole mass of the particles that includes nonporous core. Taking into account the volume fraction of the porous shell only, specific surface area would be equivalent to fully porous particles. Synthetic parameters such as drying and sintering temperatures can lead to shell deformity and loss in surface area and pore volume [90]. Drying a wet-shell by lyophilisation can better preserve the structure of the porous shell and contribute to a higher surface area. Sintering temperature was also investigated ranging from 550 – 1050 oC to improve the stability of shell without significant shrinkage or melting of the shell [91]. The stability of the shell increased with increasing sintering temperature, accompanied by a decrease in shell thickness. With temperatures above 1000 oC, shell melting and deformity occurred with a significant loss in surface area < 40 m2/g. the data obtained indicated that approximately 5% drop in surface area with 100 oC increase in sintering temperature [91]. Nonetheless, it was determined that 950 oC gave the optimum mechanical strength without substantial loss in specific surface area, pore volume and pore size.

3.2 One-pot synthesis of spheres-on-sphere (SOS) silica particles

The current core-shell particles preparation method does have its limitation, e.g., poor quality control in multiple-step synthesis, time consuming, and a large amount of waste, particularly when constructing the particles with thick shell. Recently, a unique type of core−shell particle with large macropores was reported by Ahmed et al. [92]. The particles were prepared by one-pot synthesis at room temperature from a single precursor 3-mercaptopropyltrimethoxysilane (MPTMS). The obtained particles showed a unique spheres-on-sphere (SOS) structure (Figure 4). Monodisperse SOS particles can be obtained from the one-pot synthesis, without the need to elutriate and classify the particles as normally employed by the commercial manufacturing process [93]. Both the core and the shell are formed within a single vessel in the synthesis. A time study was carried out to track the formation of particles throughout the reaction using scanning electronic microscopic imaging. The data suggested two stage nucleation process occurred at different intervals which was induced by use of appropriate silica source and reagents. The first stage was the formation of the core microsphere. Within a short time after the core formation, the second stage of nucleation led to shell formation which was made up of nanoparticles ≤100nm in diameter on the surface of these microspheres [92]. The shell thickness, porosity and chemical substituents of the shell can be controlled by fine-tuning reagents conditions such as pH and solvent ratios. The interstices from the assembly of the nanospheres on solid microspheres generate the interconnected macroporosity which serves as the foundation for HPLC separation. These SOS particles are highly efficient as stationary phase for separation of small molecules and particularly peptides and large biomolecules [93-95]. This method is an exciting alternative to the mainstream approach of producing solid core-shell silica particles which use the time-consuming LbL approach and could potentially offer easier quality control and lower manufacturing cost.

For the SOS particles, both the nanospheres and microspheres are nearly free of mesopores, although a type I nitrogen isotherm was generated implying the presence of microporosity less than 1nm in size after low temperature sintering [92]. Surfactants have minimal contribution in microposity formation and the microporosity is believed to be mainly from the decomposition of MPTMS during sintering. Further studies were carried out to co-condense other silanes, such as the commonly used tetraethyl orthosilicate (TEOS) and octadecyltrimethoxysilane (OTMS), into the SOS framework, promoting the formation of surfactant-templated mesopores [96]. The resulting particles exhibited higher surface area reaching up to 680 m2/g and bimodal micropore (<1nm) and mesopore (2-3nm) distribution (Figure 5). These mesopores are too small for efficient HPLC separation which usually requires minimum pore size of 7 nm. The mesopores in these SOS particles could be further expanded to about 8 nm by a solvothermal swelling approach with pore expanding reagents N,N-dimethyldecylamine and 1,3,5-trimethylbenzene [96]. The type of pores within the particles is critically important for certain applications and entrapment of other materials. There is great interest in utilisation of SOS particle macroporosity rather than mesopores as it can offer higher mass transfer for biomolecules [93-95]. The surface structure of the assembled nanoparticles of SOS particles also allows the growth of interesting materials such as metal-organic framework (MOF) nanoparticles [97,98].

The one-pot synthesis strategy has also been adopted by other researchers. For example, the rods-on-sphere silica particles were prepared from solutions containing cetyltrimethylammonium chloride (CTAC), Na2SiO3, and formamide in water with magnetic stirring at 35 oC. The prepared particles were calcined in air at 550 oC to remove the surfactant templates [99]. Like the SOS particles, the column packed with the rods-on-sphere particles showed good HPLC separation with low backpressure [99].

3.3 Core-shell particles with silica-core and MOF-shell.

Metal–organic frameworks (MOFs) are crystalline microporous materials which are formed by metal ions or clusters linked with organic ligands. MOFs are usually synthesized via one-pot self-assembly reactions between ligands and metal ions in solutions between room temperature and 250 oC. This would result in crystalline pore structures with uniform pore size and pore shape with better interconnectivity. Its porosity can be systematically adjusted due to the enormous variety of metal ions and organic ligands available [100-102]. MOFs have been widely investigated for broader applications such as gas storage, drug delivery, catalysis, medical sensors and separation [100 and the references in that issue]. For chromatographic separation, having well-defined interconnected pores with minimal dead volume offer better efficiency [103]. MOF materials have been used as stationary phase for HPLC [14]. This includes the direct packing of MOF particles [103-106] and the incorporation of MOF into porous silica [107]. The issues with MOFs are: (i) The micropores are not suited even for separation of smaller molecules in liquid phase; (ii) MOF particles are not spheres and are difficult to pack into column, leading to low efficiency; (iii) Poor mechanical stability of MOF particles leads to crush of the particles under operation pressure; (iv) Most of the MOFs are not stable in the presence of water, particularly under acidic and basic conditions. The core-shell particles with silica core and MOF shell have emerged as promising stationary phase to combine the advantages of MOFs and easy packing/mechanical stability of silica spheres. However, only water-stable MOFs are usually employed to produce silica-MOF core-shell particles or other MOFs if the mobile phase contains no water. The MOFs mostly investigated in this regard include ZIF-8 [98, 108-111], UiO-66 [112-114], and HKUST-1 [97]. This is likely because these MOFs can be readily formed on the silica surface with reasonable coverage and not too harsh conditions. MIL-100 (Fe) and some other MIL-typed MOFs) have good stability and are used as stationary phase directly [106, 115-117]. However, the reports on core-shell particles with MIL-100 (Fe) are not as much as the other MOFs, which can be attributed to the difficulty in forming MIL-100 (Fe) coating on silica.

A number of strategies have been attempted to prepare MOF coating on microspheres. This involves either a single or multiple depositions using metal source and organic ligand to achieve a uniform growth of MOF crystals. This can be achieved by simple synthesis of MOFs in the presence of microspheres or pre-modifying the surface of the microspheres with the functional group that can form linkage with the organic ligand. Figure 6 shows the scheme of the latter method in synthesising  silica spheres with UiO-66 coating [113]. This is expected to promote the formation of stable coatings.

Han et al. reported the synthesis of MIL-68(Al) onto silica at 403 K by introducing both AlCl3.6H2O and tertepthalic acid [118]. This resulted in MIL-68(Al) coated onto silica but particle fusion and random growth of MOF crystals was observed. A similar attempt was carried out by hydrothermal synthesis of UIO-66 (Zr) onto silica particles at 120 oC [112]. The particles were collected by centrifugation with successive washes, but silica@UIO-66(Zr) microsphere could not be isolated from the UIO-66(Zr) nanocrystals. The resulting composite material was applied in LC separation of small aromatic molecule demonstrating the unique selectivity of MOF. A control growth of these crystals on the surface seems to be an issue with further reported studies by Tanaka et al. who prepared chiral (R)-CuMOF-1 on silica [119]. Nonetheless, this does not seem to diminish the column performance but does affect mass transfer kinetic resulting in broader peaks.

In recent years, methods have been developed to simplify the separation of core-shell MOF particles from liquid suspension by combining magnetic particles with MOFs. For example, Fe3O4 nanoparticles was used as a scaffold for the growth of HKUST-1 [120] and MIL-100(Fe) [121] MOF shell. Step-by-step assembly growth strategy using ethanolic solutions of metal source and ligand was used and desired shell thickness was achieved by repetitive deposition process. Qin et al. used composite magnetic silica particles as scaffold for UIO-67 (Zr) synthesis on the surface [122]. The step-by-step coating was again utilised to achieve the desired coating. The particle was packed into HPLC column for the separation of polar aromatic molecules. The selectivity of the MOF molecules was illustrated, but peak shape was poor [122].

The surface functionalities of silica provide an improved interaction of metal source to drive more controlled growth of MOF crystals and better isolation from liquid suspension. Ahmed et al. have shown the surface functionality form a critical factor in improving interaction, adherence and coverage on the scaffold [97, 98]. The SOS particles were functionalized with –COOH groups and –NH2 groups which promoted the formation of HKUST-1 [97] and ZIF -8 [98] nanoparticles on the SOS particles. This methodology has also been demonstrated with different supports such as polymer [102], alumina [123] and silica [109, 110]. Sorribas et al. [110] and Naik et al. [124] manipulated the growth kinetic of ZIF-8 using seeded growth technique followed by secondary and repetitive crystal growth cycles was needed to achieve sufficient thickness. Figure 7 shows the morphology of mesoporous silica spheres, seeded microspheres, and the change in thickness of ZIF-8 coatings under 1 and 2 growing cycles [110] The seed growth and carboxylic acid functionality are believed to be the key factors in obtaining uniform and homogenous coverage of ZIF-8 shell. The scaffold does play a significant part in crystal nucleation and growth. This has also been evidenced by the use of SOS particles, with nanospheres-on-microsphere morphology, for the controlled growth of HKUST-1 [97] and ZIF-8 [98] MOF crystals. Surface roughness, functionality and type of solvent have played an important role in controlling the crystal morphology because of metal interaction and crystal growth kinetics. For example, water promoted faster crystal growth kinetics resulting in smaller ZIF-8 crystals on the shell [98]. Zhang et al. showed that temperature (85 – 120 oC) could affect the growth kinetics for UIO-66. Higher temperature allowed faster diffusion of anions, resulting in larger crystals with increasing reaction time [113].

3.4 Core-shell particles with silica-core and inorganic shell

Although the core-shell particles are mainly prepared from the silica for LC, other types of shell materials have also been fabricated and used in chromatographic applications. The coating shell using different materials on silica core would increase functionality, selectivity and stability. The synthesis of such materials is usually achieved through one-pot method or multiple-step process on a pre-synthesised core via different methods such as layer-by-layer coating, polymerisation of the shell on solid core [74, 125].

There are many reports for the preparation of metals or metal oxide nanoparticle shell. Xu and co-authors prepared Au@Co core-shell nanoparticles in one-pot synthesis [126]. The key factor was the difference in potential factor. HAuCl4 with higher reduction potential was reduced first and served as seed for reduction of shell Co metal nanoparticles.  The Stöber method has been frequently used to form silica shell on metal nanoparticle [127,128] and metal oxide nanoparticles [129]. Due to the magnetic properties, Fe3O4@SiO2 particles can be readily recovered from the suspension by using a magnet [129]. There has been interesting development in preparing superficially porous particles but with the encapsulation of magnetic iron oxide nanoparticles within nonporous silica core. Further repeated coating of the core in a growth process is applied to achieve the desired thickness. For the materials prepared by this method, the magnetic properties can be utilised in place of centrifugation or filtration to recycle the core-shell particles [130].

Continuous flow synthesis was used to coat colloidal silica with Ag nanoparticles [131]. A solution of silver nitrate, colloidal silica, formaldehyde was mixed with ammonia solution at the T-junction of the flow system. The result showed a consistent and reproducible formation of patchy silica@Ag particle at high yield. The distribution of Ag nanoparticles was affected by the flow rate of mixing. Faster mixing led to accelerated nucleation and random growth in between the colloidal silica. Hanisch et. al. reported the synthesis of Ag nanoparticles necklaces coating on silica particles without addition of reducing or templating agents [132]. It was found that ammoniacal silver complex was essential for necklace formation, at a high pH typically around pH 11. The silica surface dissolution at this pH interacted with the ammoniacal silver complex and promoted the formation of Ag nanosized necklaces [132].

Dun et. al. applied the layer-by-layer method for the deposition of ZrO2  nanoparticles on silica core [133]. A stable and homogenously layers of ZrO2 was formed in the present of sodium dodecylsulfate (SDS) by alternate adsorption steps reaching up to 326 nm shell thickness on the silica core particles. Zirconyl chloride octahydrate was used to synthesise the ZrO2 nanoparticles used for the deposition method. The particle size increased from 3.5 µm to 3.8 µm, and the removal of SDS resulted in surface area ranging from 131 to 326 m2/g depending on the number of layers with 84Å pore size [133]. SiO2@ZrO2 particles was used in chromatographic separation of inorganic and organic ions, both pH and the strength of Lewis base of the mobile played an important role on retention behaviours. The particles exhibited excellent pH stability at pH 12 after 5000 column volumes [134]. A follow-up study was reported by avoiding the use of surfactant during the synthesis [135]. Electrostatic attachment of positivity charged zirconia nanoparticles onto negatively charged silica particle was controlled by adjusting the pH around 6. This has also lead to further condensation reaction between the silanol and zirconol groups on the surface resulting in the formation of Zr-O-Si linkages. Sub-2 µm silica particles were used for the formation of SiO2@ZrO2 composite, and it appears a dense coverage of nanoparticles on the surface was formed (Figure 8). The reported surface area was much lower than layer-by-layer method reaching up 42 m2/g after calcination with smaller pores around 32Å. However, this did not diminish the chromatographic performance of the composite particles without noticeable effect on retention factor [135].

Ge et al. prepared silica core-shell particles with porous titania shell by alternative adsorption of SDS surfactant and titania nanoparticles on a 6µm silica core particles [136]. The titania sol was prepared using tetrabutyl titanate acetic acid in ethanol, which resulted in nanoparticles around 12 nm in diameter. The shell thickness reached about 300 nm after 6 layers coating with surface area almost doubled from 110 to 200 m2/g and an increase in particle density [136]. The surface areas decreased significantly when the treatment temperature increased to above 500 oC. The silica@titania particles were found to offer good stability under extreme chromatographic conditions for basic compounds separation [137]. In another report, liquid phase deposition was utilised for the deposition of titania nanoparticles onto silica surface [138]. Ammonium hexafluorotitanate ((NH4)2TiF6) was incubated at 35 oC in boric acid/silica solution for 16 hours. The boric acid acted to stabilise the fluoro complex and facilitate oxide precipitation onto the silica surface. The deposition was repeated to obtain different levels of titania coating and more surface roughness with an estimated 3 nm shell thickness. The material was successful applied for the separation of Adenosine phosphate compounds due to the Lewis-acid-base interaction with the phosphate groups [138].

The cationic polymer poly(diallyldimethylammonium chloride) (PDDA, Mw = 100 – 200 kDa) was used in the LbL assembly of iron oxide nanoparticles on silica core [139]. The PDDA-coated silica was added into the Fe2O3 nanoparticle suspension and the process was carried out under sonication to reduce aggregation. No pH control was performed, similar to the silica layer-by-layer method. The homogeneity of the shell coating and thickness was somewhat random. These core-shell particles showed superior performance in removing methylene blue and methyl orange, attributing to the electrostatic interactions between the dyes and iron oxide coating [139].

3.5 Surfactant-templated shell in core-shell particles

The sol-gel synthesis can be combined with surfactant templating to fabricate mesoporous silica materials [140]. By using amphiphilic triblock copolymers as the structure-directing agents to form well-ordered uniform pore sizes up to 300 Å with thicker silica wall and greater hydrothermal stability can be formed [141, 142].  Despite the highly ordered pore structure, most of the end materials are irregularly shaped porous powders, and this limits their use in other areas such as HPLC. Yang and others developed methods to fabricate mesoporous spheres [143-145]. They focused on optimizing the one-pot reaction through adjustments of pH, stirring rate, adding co-solvent, using spray drying, etc., to control the particle size, particle size distribution, pore size, and pore size distribution simultaneously. However, it is very difficult to control both silica-surfactant mesophase and form monodisperse particles in one reaction. The synthesized materials usually have either a broad particle size distribution or small pore sizes.

The surfactant-templating approach has been used to synthesize superficially porous particles. One method is similar to the LbL method, where a thin porous silica shell was grown on nonporous particles multiple times in the presence of a surfactant. At least seven layers were required to form a final particle with a surface area of 100 m2/g [32]. Very recently, Min et al. reported the preparation of dandelion like core−shell silica microspheres with hierarchical pores [146]. Although it has the potential to be used as the stationary phase in HPLC separation, an etching process was involved to create the porosity in the shell, which significantly reduces the mechanical stability of the structure. Furthermore, the pore sizes were still too small (<7 nm) and could not be tuned.

Different from bottom–up methods, such as coacervation and LbL, a top–down method called “pseudomorphic transformation” (PMT) was used to form mesoporous spheres as stationary phase for HPLC.  The process was first used to transform amorphous porous spheres to micelle-templated totally porous particles with the same particle morphology [147-150]. By starting the transformation process with non-porous spheres (either silica or metal oxide spheres) and controlling the reaction time, it is possible to fabricate solid-core porous-shell particles [65, 151-152]. In this process, nonporous silica particles are dispersed in an alkaline solution with the presence of surfactant. When the temperature increases, the silica on the particle surface first dissolves and the silicic acid subsequently precipitates around ordered, positively charged micelles on the silica particles without changing the overall particle morphology. The advantages of this process are that the properties of the particles and the properties of the pore structure can be independently optimized.  The particle size and size distribution are determined by the starting materials and the intra-particle pore structure is controlled by the PMT variables such as surfactant, swelling agent, pH, and reaction time.

Qu et al. produced monodisperse silica spheres with solid core and fibrous shell synthesized using a biphase reaction using cyclohexane to slow down the rate of silane hydrolysis and condensation [153]. Both the thickness and the pore size of the fibrous shell could be finely tuned by changing the stirring rate during synthesis. When the stirring rate was adjusted from 0 to 800 rpm, the thickness of the shell could be tuned from 13 to 67 nm and the pore size from 5 to 16 nm. By continuously adjusting the stirring rate, fibrous shells with hierarchical pore structure ranged from 10 to 28 nm and thickness up to 200 nm could be obtained in one pot (Figure 9). The particles were functionalised with a C18 bonding and packed in to a column showing separation performance as high as 2.25 × 105 plates m−1 for naphthalene and back pressure as low as 5.8 MPa. The columns were not evaluated for reduced parameters or kinetic performance.

Wei et al. explored the process of PMT and developed an improved process for the superficially porous particle with a unique shell pore structure [154].  The thin porous shell contained elongated  pore channels normal to the particle surface (Figure 10). The impact of the novel pore structure on the performance of these particles was characterized by measuring van Deemter curves and constructing kinetic plots. Reduced plate heights as low as 1.0 was achieved on conventional LC instruments, suggesting greater efficiency of such particles compared to conventional totally porous and superficially porous particles. It is interesting to note that these preparations provide radially ordered pore systems within a single shell whilst the pore structure in the common SPPs is rather random (Figure 10).

  - Core-shell particles with non-silica core

Materials other than silica have also been used as the core to construct core-shell particles. Deng et al. developed a method to coat polystyrene particles with an organo-silica shell, although these materials were intended for applications outside HPLC such as in medicine or catalysis, where core-shell materials have also attracted considerable attention [155]. Carbon particles, derived from oxidised and carbonised polystyrene-divinylbenzene particles, were used as the core to fabricate core-shell particles [156]. The LbL deposition of amine containing polymer and nanodiamonds onto these carbon cores was performed. The particles showed good mechanical, thermal and pH stability, and good separations of essential oils [156]. A commercially available variant of this material with pore size 180 Ǻ was evaluated for the separation of proteins [157]. As the stationary phase contained some protonated amine groups within the structure, the retention mechanism was expected to be a mixture of hydrophobic interaction and anion exchange, although it appeared the former was the dominant mechanism [157]. The robustness of the material allowed the effect of temperature variation over the range 30-80 oC to be studied even with the use of larger amounts of trifluoroacetic acid (TFA) in the mobile phase than usual (0.2-0.5 % compared with the usual 0.05-0.1 %), which was necessary to improve efficiency. Changing the temperature over this range hardly affected the peak capacity of the gradient separations, but did give interesting selectivity changes. Wide pore 120, 180 and 250Å materials of this type were again evaluated for the separation of proteins [158]. The largest pore size gave the best performance for large molecules. The particles were shown to be smooth (Figure 11) and therefore do not benefit from the proposed packing advantages of rough silica SPPs, a property which may improve the radial homogeneity of the packing and reduce eddy dispersion. However, it was considered that eddy diffusion may not be a significant contributor to band broadening for large molecules. The smooth surface morphology of these particles in this case could be an advantage for separation of large molecules [158].

4. Applications of silica Core-Shell particles

The need for stationary phases with improved kinetic performance has increased in demand. Among them, increasing sample analysis throughput has become a target in many applications. The ground-breaking core-shell silica column offered speed of analyses without compromising separation efficiency. Different conditions are required to achieve the proposed objective. Some applications with higher complexity require high resolution, but not achievable in a short time. The short path diffusion in the porous shell improves mass transfer and minimises peak broadening, which in turn increases resolution and efficiency for complex mixtures. This was demonstrated by comparing Kinetex and Zorbax column for the separation of three alkylphenones [41]. There was a clear improvement in peak width and 30% in plate height. With increasing flow rate this difference in plate height was more than 75%. Fekete et al. evaluated Ascentis Express C18 (2.7 µm) for the separation of a mixture of steroids against sub-2 µm particles stationary phase [159]. The separation was completed in less than 2 min with lower backpressure due to its higher column permeability. Column permeability is significantly influenced by core-shell particle size. Bobály et al. showed that Kinetex 1.3 µm particles suffered from low permeability compared to Kinetex 1.7 µm particles under optimal linear velocity [39]. The best comparison to Kinetex 1.7 µm particles was Cortecs 1.6 µm particles with similar permeability, but the Cortecs 1.6 µm particles possessed excellent kinetic performance with reduced plate height (Hmin) of 2.66 µm (Kinetex 1.7 µm Hmin of 3.17 µm).

This technology is still evolving and the number of commercially available core-shell phases is rapidly growing to cover a wider range of applications. Core-shell particles have been used in determining serval classes of antioxidant and natural contaminants within food. Comprehensive characterisation of a variety of complex flavones and phenolic acids matrices in wine were successful explored and resolved within 30 min at elevated temperature 60 oC [160]. A study was carried out to compare fully porous sub-2 µm BEH particles to Halo 2.7 µm C18 particles for the separation of 10 phenolic compounds in canned artichoke [161]. The obtained results for core-shell column in term of efficiency, speed, resolution and pressure, demonstrated the potential of porous shell particles over totally porous particles (Figure 12). Manns and Mansfield explored complex antioxidant compounds from red and white juices and wines produced from Vitis vinifera and hybrid cultivars [162]. The resolving power of Kinetex 2.6 µm C18 column successfully resolved the first two classes of antioxidant nonanthocyanin and phologucinolysis. Anthocyanins antioxidant was better separated using Kinetex 2.6 µm PFP core shell, which offered different selectivity due to π-π and H-F interaction. The unique selectivity of PFP phase (Kinetex 2.6 µm) was also demonstrated in the separation of positional isomers chlorogenic acids and sesquiterpene lactones in chicory root with no additional purification step and good resolution [163,164]. Simonovska et al. developed a rapid separation method to determine lutein in spinach pigments extract (xanthophylls, all-trans-violaxanthin, all-trans-zeaxanthin and all-tran-lutein, chlorophylls and all-trans-β-carotene) on a Kinetex 2.6 µm C18 column in less than 13 min [165]. The column did show some limitation, with poor resolution observed for targeted compounds lutein and structural isomer zeaxanthin. Fontana et al. developed an approach for rapid determination of multiclass polyphenols in grape pomaces using Kinetex 2.6 µm C18 column under 12 min [166]. Considering the complexity of the grape pomaces extract, which includes high quantity of target analytes of different chemical nature, classes and concentrations, high sensitivity and rapid analysis were demonstrated for the core-shell particles column. The method was suitable for quantification and determination of 20 polyphenols from different grape varieties.

Natural contaminants mycotoxins are low molecular compounds and can be very toxic at low concentrations closer to 1 µg/kg. In routine control of red wines, quantification of Ochratoxin A (OTA) levels below 2µg/L levels is mandatory [167]. The low operation pressure of core-shell column, e.g., Kinetex 2.6 µm C18 particles, facilitated the use of conventional HPLC for these analysis, detecting Ochratoxin A at the concentrations as low as 0.0028 µg/L with high efficiency. Core-shell columns were also applied into agricultural products such as determination of five Alternaria toxins and citrinin in tomato juice [168], microstins in drinking water [169], and deoxynivalenol (DON) in cereal products [170]. The analysis of bisphenols compounds contamination caused by the coating inside the soft-drink (such as cola, orange soda, energy drinks, etc) containers was reported by Gallart-Ayala et al. [171]. Supelco Ascentis Express 2.7 µm C18 column was used to carry out a gradient elution of bisphenols compounds coupled to MS. Fast elution was achieved in less than 3 min with higher resolution of five bisphenolic compounds) in beverages [171].

Some hydrophilic molecules are poorly retained by conventional reversed stationary phase. As an alternative, HILIC has been used to offer higher efficiency for the separation of small polar compounds using the solvents with lower viscosity [172]. Heaton et al. demonstrated that the kinetic performance of bare silica core-shell (Cortecs) was far superior compared with hybrid and conventional bare silica phases and exhibited higher diffusion of hydrophilic bases cytosine [173]. In another study, the Halo silica 2.7 µm columns were used in HILIC mode to separate a mixture of acidic and basic compounds, with acetonitrile (85%):ammonium formate as the mobile phase. When three columns were coupled together with a length of 45 cm, over 100,000 theoretic plates were achieved, with the total backpressures generated only 280 bar [174]. Kirkland et al. used the modified Halo silica (2.7 µm, pore size 90 Å) with ligands for HILIC to provide efficient separation of compounds that are difficult to separate by reversed-phase HPLC [175]. This modified column with a highly polar poly-hydroxylic phase, Halo Penta-HILIC (100 mm x 2.1 mm), could efficiently separate a mixture of drugs of abuse and selected metabolites, using a mobile phase of acetonitrile (95%)/5 mM ammonium formate aqueous solution (5%). This column can be used for separation of highly polar solutes such as sugars, peptides, and nucleic acids, as demonstrated by the separation of 15 compounds containing nucleosides and bases within 8 minutes with a gradient mobile phase [175].

Macromolecules are highly complex and chromatographic analysis is still challenging. The important of macromolecules analysis is increasing due to its substantial development in several areas. Wide pores in the porous shell are required to allow free diffusion of such molecules. It has been claimed that the pore should be at least four to ten times the hydrodynamic diameter of the biomolecule, which would allow less restriction on mass transfer and better separation efficiency [176]. Close et al. investigated the influence of pore size 80, 150 and 400Å on nucleic acids chromatographic resolution [177]. Triethyammonium acetate and tetrabutylammonium bromide were used as the ion pair reagent in conjunction with Accucore 2.6 µm C18 column. The results for the separation of oligonucleotides, a 2’-deoxythymine ladder (dT 19 – 24) and large dsDNA/RNA fragments showed that the increase in pore size resulted in increased resolution, rapid and high throughput analysis. The effect of having wider pore size for the diffusion of large proteins up to at least 400 kDa such as ribonuclease A and insulin was investigated by Wagner et al. [67]. In this study, Halo 2.7µm C18 columns with pore size of 90, 160 and 400 Å were used and the results showed significant improvement in peak shape, resolution and selectivity (Figure 13). With significant advances in biopharma sector, there are still needs for larger pores to sustain biomolecules greater than 350 kDa. The preparation of core-shell prototype particles with pore size of 1000 Å was recently reported and the packed column was evaluated against the columns packed with core-shell particles of smaller pores around 400 Å [178]. The results suggested that both 400 and 1000 Å pore were well suited for biomolecules up to 350 kDa. The advantage of large pores showed better efficiency for the separation of base pair DNA (~660 kDa) with minimal peak broadening.

Particle characteristics such as particle size and porous shell thickness can significantly influence separation mass transfer. The kinetic efficiency of porous shell is improved when the shell thickness is decreased, especially for compounds having low diffusion properties [67]. There is a compromise between shell thickness and efficiency and capacity. Shell thickness between 0.2 and 0.5 µm is usually regarded to be sufficient. A comparative investigation showed that 0.2 µm shell thickness showed reduced plate height compared to a thicker shell of 0.35 µm, especially at higher flow velocity. Fekete et al. evaluated the kinetic properties of commercial columns packed with 1.3, 1.7 and 2.6 µm [36]. The column backpressure increased significantly with reducing particle size. The optimal linear velocity for the column with 1.3 µm particles could not be reached before exceeding the upper pressure limit of the UHPLC instrument. The main advantage of 1.3 µm particles was the flat H-u kinetic curve at high mobile phase velocity and faster separation for small molecules analysis.  This behaviour suggested that mass transfer using smaller particles played an important role in band broadening by reducing interparticle porosity of the packed bed [36, 179].

Separation based on the size difference of molecules has been developed as an effective technique known as SEC. Given the complexity of protein and peptides-based parenteral therapies, a set of complementary separation techniques, such as SEC, are required to monitor the critical quality [180, 181]. SEC have been predominantly favoured for routine and validated analysis to monitor protein aggregation. Totally porous silica particles have been employed in SEC separation provided a significant reduction in silanol activity is achieved. In recent years, porous shell particles have been reported for use in SEC separation. Pirok et al. investigated the feasibility of using core-shell particles in SEC [13]. The results showed excellent resolution and performance across more limited mass ranges, depending on pore size of the core-shell particles. The core-shell particles with large pores of 1000 Å were used for the separation of polystyrene standard (17.5 kDa to 1.8 mDa) [178]. The total pore volume is reduced for the core-shell particles, and hence a lower loading capacity, when compared to the standard SEC porous particles. But this is usually compensated for by an increase in efficiency. Schure and Moran compared the SEC performance between fully porous SEC particles and core-shell particles with different pore sizes of 160 and 1000 Å (Figure 14) [182]. Having large pore volume is thermodynamically advantageous for better separation, but the porous shell faster diffusional kinetic compensate for the loss of pore volume and thermodynamic limitations. Thus, diffusion length is much shorter, offering narrower peaks which tend to preserve the peak capacity of the separation and higher efficiency.

5. Applications of SOS particles

The large interstitial space between the nanospheres assembling the SOS shell, provide high porosity and good performance in HPLC separation. The studies published in recent years covered a range of HPLC applications from small to large molecules [93-96] and polycyclic aromatic hydrocarbons [94, 97-98]. The majority of the published studies focused on separation of large molecules, because the nature of the SOS particles having large pores and high surface area favour their fast separation. Nevertheless, modifications on the particle synthesis offer the option of tuning the particles properties to optimise the separation of small molecules by creating mesopores across the shell [96]. These variety of particles resulted in a range of HPLC applications reported using SOS particle columns.

The reduced intra-particle mass resistance allows the use of high flow rates, which particularly helps the fast separation of large molecules [95]. The good performance of C4 bonded SOS particles was shown in gradient mode analysing large molecules such as insulin, myoglogin, BSA, mbA and reduced ADC (antibody drug conjugate) in comparison to commercial fully porous and core-shell materials usually used for proteins separation such as Aeris C18, Halo Protein C4 and BEH300 C18 (Figure 15) [95]. The findings highlighted the SOS capabilities in fast separation showing lower retention at high flow rate (0.4 mL/min) compared to the other materials, with good peak shapes and high peak capacities [95]. In the same study, the efficiency of SOS columns was examined by obtaining h-v plots with butylparaben, decapeptide and glucagon in isocratic mode, resulting in minimum reduced plate height hmin = 2.6, 3.3 and 3.3 respectively [95]. The analysis resulted in measuring the average column permeability at different batches as Kv =1.09×10-10 cm2, and the lowest separation impedance as Emin ~ 48000 categorising the SOS particle at the performance level of the best state-of-the art commercial columns [95].

The wide pores of SOS particles and the lack of mesoporosity limit their application for small molecules separation. The separation of small molecules was explored through modifying SOS particles using CTAB templates presented in the work by Ahmed et al. [96]. The modified synthesis process resulted in 6.9 nm mesopores on the particles shell that allowed improved column efficiency up to 68000 plates/m, but it also resulted in higher retention time due to the increased surface area [96]. The separation of toluene, nitrobenzene and nitroaniline isomers in normal phase HPLC resulted in 39 bar backpressure and 6 min retention time, while a different normal phase mixture using toluene, 2,4-di-tert-butylphenol, o-nitroaniline and cinnamyl alcohol showed separation within 5 min [96]. However, the modified SOS particles did not show significant performance reduction in the separation of large molecules as separation occurred in the shell interstitial space. This was proven by the results presented in the study under reverse phase mode for separation of ribonuclease A, cytochrome c, lysozyme, trypsin and BSA [96]. The separation completed in 2.5 minutes showing comparable column efficiency to the un-modified SOS particles as it showed similar peak capacities (17 and 19 respectively).  The addition of carbonic anhydrase to the mixture expanded the analysis to 3 minutes showing a backpressure of 355 bar [96].

Another study demonstrated the good separation performance of SOS particles across a wide range of molecules sizes. The normal phase HPLC analysis of toluene and nitroaniline isomers using 6.5 µm calcined SOS particles showed fast separation in 2 min, a very low back pressure of 18 bar and higher permeability (Kv =2.79×10-13 cm2) compared to the commercial Hypersil silica columns (Kv =1.24×10-13 cm2) [94].  A modification of the SOS with diol groups improved even further the efficiency to 65,380 plates/metre and reduced the backpressure to 14 bar. The HILIC separation for sugars mixtures for the same column showed column efficiency of 43,900 plates/meter and backpressure of 17 bar. The separation of a large proteins mixture containing ribonuclease A, cytochrome C, lysozyme, tryspin, and BSA was also presented using another modified SOS column bonded with C8 [94]. The results of this reverse phase testing under gradient mode showed fast separation within 2.5 min, backpressure of 222 bar and efficiency of 91,705 plates/meter [94].

Applications on small molecules were also reported by Hayes et al. [93] using C4 bonded 2.9 µm SOS particle columns in order to examine a selection of peptides comprised of 5 small molecules and a selection of proteins. The separation data for the small molecules reveal fast separation within 3 min and 259 bar backpressure. The good performance of the column was also highlighted by reverse phase HPLC analysis for the proteins mixture showing retention time within 6 min and maximum backpressure of 400 bar. However, the use of CTAC instead of CTAB for the preparation of the SOS particles produced smaller pores (< 100 Å) that limited the efficient separation of the larger proteins such as BSA, thyroglobulin and myoglobin resulting in peak tailing and poor defined peaks [93].

For further exploring the separation of small molecules other chemistries were used such as the addition of MOF nanocrystals [97]. Two types of MOFs, HKUST-1 [97] and ZIF-8 [98], were formed on SOS particles. The columns packed with SOS@HKUST-1 particles showed the separation of xylene isomers although with relatively poor resolution and low efficiency. However, the SOS column itself could not separate the xylene isomers [97]. For the SOS@ZIF-8 particles, the packed column exhibited fast separation of aromatic compounds with column efficiency up to 19,000 plates/meter [98]. The good chromatographic analysis obtained by these two materials highlights the potential and possibilities for further development of the SOS particles to tune their composition into more efficient applications.

6. Applications of core-shell particles with non-silica shell

Although not many, there are applications of core-shell particles with non-silica shell. The limited chemical stability of silica in the pH range of 2-8 is the drive for the use of different metal oxides comprising the shell around the silica solid cores. Such metal oxides include titania [136, 183] and zirconium [133-135] nanoparticles coated on silica microspheres. The titania-coated silica particles showed a strong ability to separate adenosine phosphate compounds and good column reproducibility [183]. The column efficiency was reported up to 30000 plates/meter separating basic compounds using 35% acetonitrile as the mobile phase [183]. This study also reported low permeability of Kv =1.56×10-14 m2 and good column stability under extreme pH condition (pH 7-12) [183]. The good stability of similar particles was shown by another study using aggressive mobile phases at pH 10 [136]. The octadecyl-bonded TiO2/SiO2 showed good stability at high pH (pH 9-10) using phosphate buffer. In addition, aromatic isomeric compounds were well separated under normal phase conditions using n-hexane as the mobile phase (0.7 mL/min) and for the separation of nitroanilline using hexane-ethanol (70/30 at 1 mL/min) [136]. However, the column efficiency was relatively low compared to those of the SOS particles, reaching ~4000 plates/meter [136]. Nevertheless, the separation of 15 basic compounds under the reverse phase showed high symmetrical peaks and good separation of pyridine and aniline derivatives [136].

The zirconia coated silica particles produce a similar performance in HPLC applications, demonstrating the high stability over a wide range of pH. One study using such particles showed the separation of hydroxybenzenes, basic compounds, organic and inorganic anions [134]. The inorganic anions were examined by modulating the pH from 3 to 5 using 20 mM of potassium chloride, showing increase retention with pH > 4 due to the weaker anion exchange [134]. The organic anions tested at pH 4.6 and 5.5, showed longer retention time and weakness to elute all the components. On the other hand, the good separation of basic compounds using different contents of ethanol as mobile phase showed an advantage for these hybrid particles over the silica columns. Good separation and symmetrical peaks were also observed for the other end of pH range when three acidic compounds were analysed (hydroxybenzenes) using ethanol/hexane (25:75) as mobile phase, highlighting the good stability performance across a wide range of pH [134]. Another study gave column efficiency of 5000 plates/meter, short retention time, and symmetrical peaks during the separations of neutral compounds, isomers and aromatic compounds using hexane-isopropanol (85:15) as the mobile phase [135]. The column stability was demonstrated at pH10 using a sodium phosphate solution and a 70:30 methanol-water mobile phase. The results showed that the stationary phase was stable at pH 10 without noticeable changes on the retention factor or peak width of the solutes [135]. The stability of C18 bonded ZrO2/SiO2 phase was also examined for the stability at pH 12 [133]. The tests consisted of the separation of a mixture of aromatic hydrocarbons solutes using methanol-water (80:20) as the mobile phase at ambient temperature. After the columns were conditioned for 30 min with the mobile phase, the data showed good stability at pH 12 without noticeable changes on the capacity factor or peak width. The possible explanation given for this stability was the creation of a hydrophobic shield consisting of a cross–linked alkypolysiloxane layer that protected the Zr-O-Si bonds from hydrolysis [133].

Therefore, it can be concluded that the hybrid core-shells present good stability over a wide range of pHs for HPLC applications. This advantage is highly appealing for all types of particles used for HPLC separations, and quite possibly indicating the need of creating hybrid core-shell particles for even wider range of applications.

7. Summary and perspective

It has been demonstrated by various reports that core-shell particles (e.g., 2.6 μm particles) show at least the same or better column efficiency in HPLC separation, compared to sub-2 μm fully porous silica particles. But the backpressure is much lower, which makes the traditional HPLC systems usable. The layer-by-layer technique is most widely used for the production of core-shell silica particles, particularly the commercial ones. The one-pot synthesis of spheres-on-sphere (SOS) particles has provided an effective route to the novel columns offering fast separation with low backpressure, particular large biomolecules. Other developments, e.g., hybrid particles with silica core and metal oxide shell/MOF shell, are also covered in this review. These non-silica shell offers high stability under basic and acidic conditions or new functionality that separates mixtures (e.g., isomers) that would otherwise not be separated using silica as stationary phase. Although not intended to be exhaustive, we provide examples to show how different types of core-shell particles have been used for HPLC separation over a wide range of test mixtures, usually with high efficiency/sensitivity, fast separation, and low back pressure.

In future development, new methods/procedures should be continuously proposed and optimized to produce uniform core-shell particles with controlled thickness and tunenable pores (particularly wide pores) in the shell. Although hybrid particles with metal oxide shells have been fabricated and evaluated and their high stability has been demonstrated, the column efficiency is still rather low. This may be improved by controlling the thickness and the pore size of the shell. MOF@silica particles have been intensively investigated but the controls on the shell thickness and the porosity between the assembled MOF nanoparticles are very limited. Another development, which has been rarely reported, is the shell formed of porous graphitic carbon or nanodiamonds. Their chemical stability will be highly attractive for chromatographic separations under extreme conditions. Again, the challenge will be the control of the shell thickness and the formation of wide pores. In addition, finding parameters/conditions to fabricate monodispersed particles will be highly beneficial because that will exhibit sharp peaks, high selectivity, and high separation efficiency. Another important aspect will be applying these newly developed core-shell particles for separation of complex mixtures. The important characteristics include shell thickness, pore size, particle size, chemical stability, and surface functional groups. In turn, this will decide to run the columns in reverse-phase mode, normal phase mode, HILIC, ion exchange chromatography, or size exclusion chromatography. Different analytes, for example, small molecules, large molecules, peptides, proteins, oligonucleotides, ionic compounds, or drug metabolites, etc., will require the columns with corresponding characteristics. Instrumentation of the HPLC system may be required at the same time to achieve the best selectivity, sensitivity, and efficiency for complex mixtures.

References

[1] Fanali, S., Haddad, P.R., Poole, C., Riekkola, M.-L. (eds), Liquid Chromatography: Applications, 2nd edition, Elsevier, 2017.

[2] Fekete, S., Kohler, I., Rudaz, S., Guillarme, D., Importance of instrumentation for fast liquid chromatography in pharmaceutical analysis. J. Pharm. Biomed. Anal. 2014, 87, 105-119.

[3] Tanaka, N., McCalley, D.V., Core-shell, ultrasmall particles, monoliths, and other support materials in high performance liquid chromatography. Anal. Chem. 2016, 88, 279-298.

[4] Hayes, R., Ahmed, A., Edge, T., Zhang, H., Core-shell particles: Preparation, fundamentals and applications in high performance liquid chromatography. J. Chromatogr. A 2014, 1357, 36-52.

[5] Pan, J., Zhang, C., Zhang, Z., Li, G., Review of online coupling of sample preparation techniques with liquid chromatography. Anal. Chim. Acta 2014, 815, 1-15.

[6] Alvarez-Segura, T., Torres-Lapasió, J.R., Ortiz-Bolsico, C., García-Alvarez-Coque, M.C., Stationary phase modulation in liquid chromatography through the serial coupling of columns: A review. Anal. Chim. Acta 2016, 923, 1-23.

[7] Poole, C.F., Lenca, N., Applications of the solvation parameter model in reversed-phase liquid chromatography. J. Chromatogr. A 2017, 1486, 2-19.

[8] Unger, K.K., Lamotte, S., Machtejevas, E., Column technology in liquid chromatography, Chapter 3 in book ‘Liquid Chromatography: Fundamentals and Instrumentation’, Fanali, S., Haddad, P.R., Poole, C.F., Shoenmakers, P., Lloyd, D., Elsevier Science, 2013.

[9] Ludvigsson, J.W., Karlsson, A., Kjellberg, V., Core–shell column Tanaka characterization and additional tests using active pharmaceutical ingredients. J. Sep. Sci. 2016, 39, 4520-4532.

[10] González-Ruiz, V., Olives, A.I., Martín, M.A., Core-shell particles lead the way to renewing high-performance liquid chromatography. Trend Anal. Chem. 2015, 64, 17-28.

[11] Jandera, P., Janás, P., Recent advances in stationary phases and understanding of retention in hydrophilic interaction chromatography. A review. Anal. Chim. Acta 2017, 967, 12-32.

[12] Wang, L., Wei, W., Xia, Z., Jie, X., Xia, Z.Z., Recent advances in materials for stationary phase of mixed-mode high-performance liquid chromatography. Trends Anal. Chem. 2016, 80, 495-506.

[13] Pirok, B.W.J., Breuer, P., Hoppe, S.J.M., Chitty, M., Welch, E., Farkas, T., van der Wal, S., Peters, R., Shoenmakers, P.J., Size-exclusion chromatography using core-shell particles. J. Chromatogr. A 2017, 1486, 96-102.

[14] Yu, Y., Ren, Y., Shen, W., Deng, H., Gao, Z., Applications of metal-organic frameworks as stationary phases in chromatography. Trends Anal. Chem. 2013, 50, 33-41.

[15] Unger, K. K., Skudas, R., Schulte, M. M., Particle packed columns and monolithic columns in high-performance liquid chromatography-comparison and critical appraisal. J. Chromatogr. A 2008, 1184, 393–415

# [16] Xiang, Y., Yan, B., McNeff, C.V., Carr, P.W., Lee, M.L., Synthesis of micron diameter polybutadiene-encapsulated non-porous zirconia particles for ultrahigh pressure liquid chromatography. J. Chromatogr. A 2003, 1002, 71-78.

# [17] MacNair, J.E., Patel, K.D., Jorgenson, J.W., Ultrahigh-pressure reversed-phase capillary liquid chromatography:  Isocratic and gradient elution using columns packed with 1.0-μm particles. Anal. Chem. 1999, 71, 700-708.

# [18] MacNairc J.E., Lewisc K.C., Jorgenson, J.W., Ultrahigh-pressure reversed-phase liquid chromatography in packed capillary columns. Anal. Chem. 1997, 69, 983-989.

## [19] Cintron, J.M., Colon, L.A., Organo-silica nano-particles used in ultrahigh-pressure liquid chromatography. Analyst 2002, 127, 701-704.

## [20] Xiang, Y., Yan, B., Yue, B., McNeff, C.V., Carr, P.W., Lee M.L., Elevated-temperature ultrahigh-pressure liquid chromatography using very small polybutadiene-coated nonporous zirconia particles. J. Chromatogr. A 2003, 983, 83-89.

## [21] Xiang, Y., Maynes, D.R., Lee, M.L., Safety concerns in ultrahigh pressure capillary liquid chromatography using air-driven pumps. J. Chromatogr. A 2003, 991, 189-196.

## [22] Adam, T., Unger, K.K., Dittmann, M.M., Rozing, G.P., Towards the column bed stabilization of columns in capillary electroendosmotic chromatography: Immobilization of microparticulate silica columns to a continuous bed. J. Chromatogr. A 2000, 887, 327-337.

## [23] Okamoto, Y., Ikawa, Y., Kitagawa, F., Otsuka, K., Preparation of fritless capillary using avidin immobilized magnetic particles for electrochromatographic chiral separation. J. Chromatogr. A 2007, 1143, 264-269.

## [24] Doyle, P.S., Bibette , J., Bancaud, A., Viovy J.L., Self-assembled magnetic matrices for DNA separation chips. Science 2002, 295, 2237-2237. (only 1 page)

## [25] Shen, Y., Smith, R.D., Unger, K.K., Kumar, D., Lubda, D., Ultrahigh-throughput proteomics using fast RPLC separations with ESI-MS/MS. Anal. Chem. 2005, 77, 6692-6701.

## [26] Wu, N., Clausen, A.M., Fundamental and practical aspects of ultrahigh pressure liquid chromatography for fast separations. J. Sep. Sci. 2007, 30, 1167-1182.

## [27] Broeckhoven, K., Desmet, G., The future of UHPLC: Towards higher pressure and/or smaller particles? Trends Anal. Chem. 2014, 63, 65-75.

## [28] DeStefano, J.J., Langlois, T.J., Kirkland, J.J., Characteristics of superficially-porous silica particles for fast HPLC: some performance comparisons with sub-2-microm particles. J. Chromatogr. Sci. 2007, 46, 254–260.

## [29] Horváth, C., Lipsky, S.R., Column design in high pressure liquid chromatography. J. Chromatogr. Sci. 1969, 7, 109-116.

## [30] Kirkland, J.J., Controlled surface porosity supports for high-speed gas and liquid chromatography. Anal. Chem. 1969, 41, 218-220.

## [31] Kirkland, J.J., Superficially porous silica microspheres for the fast high-performance liquid chromatography of macromolecules. Anal. Chem. 1992, 64, 1239-1245.

## [32] Omamogho, J.O., Hanrahan, J.P., Tobin, J., Glennon, J.D., Structural variation of solid core and thickness of porous shell of 1.7 μm core–shell silica particles on chromatographic performance: Narrow bore columns. J. Chromatogr. A 2011, 1218, 1942-1953.

## [33] Blue, L., Jorgenson, J., 1.1 μm superficially porous particles for liquid chromatography. Part I: Synthesis and particle structure characterization. J. Chromatogr. A 2011, 1218, 7989– 7995

## [34] Fekete, S., Guillarme, D., Ultra-high-performance liquid chromatography for the characterization of therapeutic proteins. Trends Anal. Chem. 2014, 63, 76-84.

## [35] Fekete, S., Guillarme, D., Kinetic evaluation of new generation of column packed with 1.3 μm core–shell particles. J. Chromatogr. A 2013, 1308, 104-113.

## [36] Fekete, S., Guillarme, D., Possibilities of new generation columns packed with 1.3 μm core–shell particles in gradient elution mode. J. Chromatogr. A 2013, 1320, 86-95.

## [37] Dubbelman, A.-C., Cuyckens, F., Dillen, L., Gross, G., Hankemeier, T., Vreeken, R. J., Systematic evaluation of commercially available ultra-high performance liquid chromatography columns for drug metabolite profiling: Optimization of chromatographic peak capacity. J. Chromatogr. A 2014, 1374, 122-133.

## [38] Sanchez, A. C., Friedlander, G., Fekete, S., Anspach, J., Guillarme, D., Chitty, M., Farkas, T., Pushing the performance limits of reversed-phase ultra high performance liquid chromatography with 1.3 μm core–shell particles. J. Chromatogr. A 2013, 1311, 90-97.

## [39] Bobály, B., Guillarme, D., Fekete, S., Systematic comparison of a new generation of columns packed with sub-2 μm superficially porous particles. J. Sep. Sci. 2014, 37, 189-197.

## [40] Schuster, S. A., Wagner, B. M., Boyes, B. E., Kirkland, J. J., Optimized superficially porous particles for protein separations. J. Chromatogr. A 2013, 1315, 118-126.

## [41] Vanderheyden, Y., Cabooter, D., Desmet, G., Broeckhoven, K., Isocratic and gradient impedance plot analysis and comparison of some recently introduced large size core–shell and fully porous particles. J. Chromatogr. A 2013, 1312, 80-86.

## [42] Kahsay, G., Broeckhoven, K., Adams, E., Desmet, G., Cabooter, D., Kinetic performance comparison of fully and superficially porous particles with a particle size of 5 µm: Intrinsic evaluation and application to the impurity analysis of griseofulvin. Talanta 2014, 122, 122-129.

## [43] Nishi, H., Nagamatsu, K., New trend in the LC separation analysis of pharmaceuticals – high performance separation by ultra high-performance liquid chromatography (UHPLC) with core-shell particle C18 columns. Anal. Sci. 2014, 30, 205-211.

## [44] Schuster, S. A., Boyes, B. E., Wagner, B. M., Kirkland, J. J., Fast high performance liquid chromatography separations for proteomic applications using Fused-Core® silica particles. J. Chromatogr. A 2012, 1228, 232-241.

## [45] Vinci, G., Antonelli, M. L., Preti, R., Rapid determination of polycyclic aromatic hydrocarbons in rainwater by liquid–liquid microextraction and LC with core-shell particles column and fluorescence detection. J. Sep. Sci. 2013, 36, 461-468.

## [46] Gritti, F., Guiochon, G., Speed-resolution properties of columns packed with new 4.6 μm Kinetex-C18 core–shell particles. J. Chromatogr. A 2013, 1280, 35-50

## [47] Daneyko, A., Hlushkou, D., Barnau, V., Khirevich, S., Seidel-Morgenstern, A., Tallarek, U., Computational investigation of longitudinal diffusion, eddy dispersion, and trans-particle mass transfer in bulk, random packings of core–shell particles with varied shell thickness and shell diffusion coefficient. J. Chromatogr. A 2015, 1407, 139-156.

## [48] Van Deemter, J.J., Zuiderweg, F.J., Klinkenberg, A., Longitudinal diffusion and resistance to mass transfer as causes of nonideality in chromatography. Chem. Eng. Sci. 1956, 5, 271-289.

## [49] Bristow, P.A., Knox, J.H., Standardization of test conditions for high performance liquid chromatography columns. Chromatographia 1977,10, 279-289

## [50] Gritti, F., Guiochon, G., Mass transfer kinetics, band broadening and column efficiency. J. Chromatogr. A 2012, 1221, 2-40.

## [51] Gritti, F.; Guiochon, G. Mass Transfer Mechanism in Liquid Chromatography Columns Packed With Shell Particles: Would There Be an Optimum Shell Structure? J. Chromatogr. A 2010, 1217, 8167-8180.

## [52] Bruns, S., Stoeckel, D., Smarsly, B. M., Tallarek, U., Influence of particle properties on the wall region in packed capillaries. J. Chromatogr. A 2012, 1268, 53-63.

## [53] Gritti, F., Shiner, S. J., Fairchild, J. N., Guiochon, G., Evaluation of the kinetic performance of new prototype 2.1 mm × 100 mm narrow-bore columns packed with 1.6 μm superficially porous particles. J. Chromatogr. A 2014, 1334, 30-43.

## [54] Gritti, F., Guiochon, G., Perspectives on the evolution of the column efficiency in liquid chromatography. Anal. Chem. 2013, 85, 3017-3035.

## [55] Gritti, F., Guiochon, G., Repeatability of the efficiency of columns packed with sub-3 μm core–shell particles: Part III. 2.7 μm Poroshell 120 EC-C18 particles in 4.6 mm and 2.1 mm × 100 mm column formats. J. Chromatogr. A 2012, 1252, 56-66.

## [56] Gritti, F.c Guiochon, G., Repeatability of the efficiency of columns packed with sub-3 μm core–shell particles: Part I. 2.6 μm Kinetex-C18 particles in 4.6 mm and 2.1 mm × 100 mm column formats. J. Chromatogr. A 2012, 1252, 31-44.

## [57] Gritti, F., Guiochon, G., Repeatability of the efficiency of columns packed with sub-3 μm core–shell particles: Part II. 2.7 μm Halo-ES-Peptide-C18 particles in 4.6 mm and 2.1 mm × 100 mm column formats. J. Chromatogr. A 2012, 1252, 45-55.

## [58] Horvath, K., Lukacs, D., Sepsey, A., Felinger, A., Effect of particle size distribution on the separation efficiency in liquid chromatography. J. Chromatogr. A 2014, 1361, 203-208.

## [59] Bell, D. S., Henry, R. A., Betz, W., Ross, P., Chromatogr. Today 2015, 8, 34-37.

## [60] Gritti, F., Bell, D. S., Guiochon, G., Particle size distribution and column efficiency. An ongoing debate revived with 1.9 μm Titan-C18 particles. J. Chromatogr. A 2014, 1355, 179-192.

## [61] Gritti, F., Guiochon, G., The rationale for the optimum efficiency of columns packed with new 1.9 μm fully porous Titan-C18 particles—A detailed investigation of the intra-particle diffusivity. J. Chromatogr. A 2014, 1355, 164-178.

## [62] Gritti, F., Guiochon, G., The quantitative impact of the mesopore size on the mass transfer mechanism of the new 1.9μm fully porous Titan-C18 particles. I: analysis of small molecules. J. Chromatogr. A 2015, 1384, 76-87.

## [63] Gritti, F., Guiochon, G., The quantitative impact of the mesopore size on the mass transfer mechanism of the new 1.9 μm fully porous Titan-C18 particles II – Analysis of biomolecules. J. Chromatogr. A 2015, 1392, 10-19.

## [64] Destefano, J. J., Schuster, S. A., Lawhorn, J. M., Kirkland, J. J., Performance characteristics of new superficially porous particles. J. Chromatogr. A 2012, 1258, 76-83.

## [65] Min, Y., Jiang, B., Wu, C., Xia, S, Zhang, X., Liang, Z., Zhang, L., Zhang, Y., 1.9 µm superficially porous packing material with radially oriented pores and tailored pore size for ultra-fast separation of small molecules and biomolecules.  J. Chromatogr. A 2014, 1356, 148-156.

## [66] Fekete, S., Berky, R., Fekete, J., Veuthey, J.-L., Guillarme, D., Evaluation of recent very efficient wide-pore stationary phases for the reversed-phase separation of proteins. J. Chromatogr. A 2012, 1252, 90-103.

[67] Wagner, B. M., Schuster, S., Boyes, B. E., Kirkland, J. J., Superficially porous silica particles with wide pores for biomacromolecular separations. J. Chromatogr. A 2012, 1264, 22-30.

[68] DeStefano, J. J., Boyes, B. E., Schuster, S. A., Miles, W. L., Kirkland, J. J., Are sub-2 μm particles best for separating small molecules? An alternative. J. Chromatogr. A 2014, 1368, 163-172.

[69 Langsi, V. K., Ashu-Arrah, B. A., Glennon, J. D., Sub-2-μm seeded growth mesoporous thin shell particles for high-performance liquid chromatography: Synthesis, functionalisation and characterisation. J. Chromatogr. A 2015, 1402, 17-26.

[70] Bacskay, I., Sepsey, A., Felinger, A., Determination of the pore size distribution of high-performance liquid chromatography stationary phases via inverse size exclusion chromatography. J. Chromatogr. A 2014, 1339, 110-117.

[71] Fallas, M. M., Buckenmaier, S. M. C., McCalley, D. V., A comparison of overload behaviour for some sub 2 μm totally porous and sub 3 μm shell particle columns with ionised solutes. J. Chromatogr. A 2012, 1235, 49-59.

[72] McCalley, D. V., Some practical comparisons of the efficiency and overloading behaviour of sub-2 μm porous and sub-3 μm shell particles in reversed-phase liquid chromatography. J. Chromatogr. A 2011, 1218, 2887-2897.

[73] Kirkland, J.J., Langlois, T.J., DeStefano, J.J., Fused core particles for HPLC columns. Am. Lab. 2007, 39, 18–21.

[74] Chaudhuri, R.G., Paria, S., Core/Shell Nanoparticles: Classes, Properties, Synthesis Mechanisms, Characterization, and Applications. Chem. Rev. 2012, 112, 2373-2433.

[75] Horváth, C.G., Preiss, B.A., Lipsky, S.R., Fast liquid chromatography: an investigation of operating parameters and the separation of nucleotides on pellicular ion exchangers.  Anal. Chem. 1967, 39, 1422-1428.

[76] Wang, X., Barber, W.E., Carr, P.W., A practical approach to maximizing peak capacity by using long columns packed with pellicular stationary phases for proteomic research. J. Chromatogr. A 2006, 1107, 139-151.

[77] Wang, X., Stoll, D.R., Schellinger, A.P., Carr, P.W., Peak capacity optimization of peptide separations in reversed-phase gradient elution chromatography: fixed column format. Anal. Chem. 2006, 78, 3406-3416.

[78] DeStefano, J.J., Langlois, T.J., Kirkland, J.J., Characteristics of Superficially-Porous Silica Particles for Fast HPLC: Some Performance Comparisons with Sub-2-µm Particles. J. Chromatogr Sci. 2008, 46, 254-260.

[79] Gritti, F., Guiochon, G., Comparison between the efficiencies of columns packed with fully and partially porous C18-bonded silica materials. J. Chromatogr. A 2007, 1157, 289-303.

[80] Gritti, F., Leonardis, I., Shock, D., Stevenson, P., Shalliker, A., Guiochon, G., Performance of columns packed with the new shell particles, Kinetex-C18. J. Chromatogr. A 2010, 1217, 1589-1603.

[81] Oláh, E., Fekete, S., Fekete, J., Ganzler, K., Comparative study of new shell-type, sub-2 micron fully porous and monolith stationary phases, focusing on mass-transfer resistance. J. Chromatogr. A 2010, 1217, 3642-3653.

[82] Stöber, W., Fink, A., Bohn, E., Controlled growth of monodisperse silica spheres in the micron size range. J. Colloid Interface Sci. 1968, 26, 62-69.

[83] Giesche, H., Synthesis of Monodispersed Silica Powders I. Particle Properties and Reaction Kinetics. J. Eur. Ceram. Soc. 1994, 14, 189-204.

[84] Yoon, S.B., Kim, J.Y., Kim, J.H., Park, Y.J., Yoon, K.R., Park, S.K., Yu, J.S., Synthesis of monodisperse spherical silica particles with solid core and mesoporous shell: mesopore channels perpendicular to the surface. J. Mater. Chem. 2007, 17, 1758-1761.

[85] Kim, J.H., Yoon, S.B., Kim, J.Y., Chae, Y.B., Yu, J.S., Effect of hydrophilicity on electrically driven flow in microchannels. Colloid Surf. A: Physicochem. Eng. Aspects 2008, 77, 313–314.

[86] Kirkland, J.J., Langlois, T.J., Process for preparing substrates with porous surface. US Patent 20090297853 A1, 2009.

[87] Dong, H.J., Brennan, J.D., Rapid fabrication of core–shell silica particles using a multilayer-by-multilayer approach. . Chem. Commun. 2011, 47, 1207-1209.

[88] DeStefano, J.J., Schuster, S.A., Lawhorn, J.M., Kirkland, J.J., Performance characteristics of new superficially porous particles. J. Chromatogr. A 2012, 1258, 76-83.

[89] Horvath, K., Gritti, F., Fairchild, J.P., Guiochon, G., On the optimization of the shell thickness of superficially porous particles. J. Chromatogr. A 2010, 1217, 6373-6381.

[90] Jafarzadeh, M., Rahman, I.A., Sipaut, C.S., Synthesis of silica nanoparticles by modified sol-gel process: The effect of mixing modes of the reactants and drying techniques. J. Sol–Gel Sci. Technol. 2009, 50, 328-336.

[91] Dong, H.J., Brennan, J.D., Tailoring the properties of sub-3 μm silica core–shell particles prepared by a multilayer-by-multilayer process. J. Colloid Interface Sci. 2015, 437, 50-57.

[92] Ahmed, A., Ritchie, H., Myers, P., Zhang, H., One‐Pot Synthesis of Spheres‐on‐Sphere Silica Particles from a Single Precursor for Fast HPLC with Low Back Pressure. Adv. Mater. 2012, 24, 6042-6048.

[93] Hayes, R., Myers, P., Edge, T., Zhang, H., Monodisperse sphere-on-sphere silica particles for fast HPLC separation of peptides and proteins. Analyst 2014, 139, 5674-5677.

[94] Ahmed, A., Abdelmagid, W., Ritchie, H., Myers, P., Zhang, H., Investigation on synthesis of spheres-on-sphere silica particles and their assessment for high performance liquid chromatography applications. J. Chromatogr. A 2012, 1270, 194-203.

[95] Fekete, S., Rodriguez-Aller, M., Cusumano, A., Hayes, R., Zhang, H., Edge, T., Veuthey, J.L., Guillarme, D., Prototype sphere-on-sphere silica particles for the separation of large biomolecules. J. Chromatogr. A 2016, 1431, 94-102.

[96] Ahmed, A., Myers, P., Zhang, H., Synthesis of Nanospheres-on-Microsphere Silica with Tunable Shell Morphology and Mesoporosity for Improved HPLC. Langmuir 2014, 30, 12190-12199.

[97] Ahmed, A., Forster, M., Clowes, R., Bradshaw, D., Myers, P., Zhang, F., Silica SOS@HKUST-1 composite microspheres as easily packed stationary phases for fast separation. J. Mater. Chem. A 2013, 1, 3276–3286.

[98] Ahmed, A., Forster, M., Jin, J., Myers, P., Zhang, H., Tuning Morphology of Nanostructured ZIF-8 on Silica Microspheres and Applications in Liquid Chromatography and Dye Degradation. ACS Appl. Mater. Interfaces 2015, 7, 18054−18063.

[99] Qu, Q., Xuan, H., Zhang, K., Chen, X., Sun, S., Ding, Y., Feng, S., Xu, Q., Rods-on-sphere silica particles for high performance liquid chromatography. J. Chromatogr. A 2017, 1497, 87–91.

[100] Zhou, H.C., Long, J.R., Yaghi, O.M., Introduction to metal–organic frameworks. Chem. Rev. 2012,112, 673–674.

[101] Bradshaw, D., Claridge, J.B., Cussen, E.J., Prior, T.J., Rosseinsky, M.J., Design, chirality, and flexibility in nanoporous molecule-based materials. Acc. Chem. Res. 2005, 38, 273–282.

[102] O'Keefe, M., Peskov, M.A., Ramsden, S.J., Yaghi, O.M., The reticular chemistry structure resource (RCSR) database of, and symbols for, crystal nets. Acc. Chem. Res. 2008, 41, 1782–1789.

[103] Li, J.R., Sculley, J., Zhou, H.C., Metal–Organic Frameworks for Separations. Chem. Rev. 2012, 112, 869–932.

[104] Alaerts, L., Kirschhock, C.E.A., Maes, M., van der Veen, M.A., Finsy, V., Depla, A., Martens, J.A., Baron, G.V., Jacobs, P.A., Denayer, J.F.M., De Vos, D.E., Selective adsorption and separation of xylene isomers and ethylbenzene with the microporous vanadium(IV) terephthalate MIL-47. Angew. Chem., Int. Ed. 2007, 46, 4293–4297.

[105] Ahmad, R., Wong-Foy, A.G., Matzger, A.J., Microporous coordination polymers as selective sorbents for liquid chromatography. Langmuir 2009, 25, 11977–11979.

[106] Liu, S.S., Yang, C.X., Wang, S.W., Yan, X.P., Reverse-phase high performance liquid chromatography separation of positional isomers on a MIL-53(Fe) packed column. Analyst 2012, 137, 816–818.

[107] Ameloot, R., Liekens, A., Alaerts, L., Maes, M., Galarneau, A., Coq, B., Desmet, G., Sels, B.F., Denayer, J.F.M., DeVos, D.E., Silica–MOF Composites as a Stationary Phase in Liquid Chromatography. Eur. J. Inorg. Chem. 2010, 24, 3735–3738.

[108]. Cao, X., Dai, L., Liu, J., Wang, L., He, J., Deng, L., Lei, J., Fabrication of ZIF-8@super-macroporous poly(glycidyl methacrylate) microspheres. Inorg. Chem. Commun. 2014, 50, 65−69.

[109] Fu, Y.Y., Yang, C.X., Yan, X.P., Fabrication of ZIF-8@SiO2 Core–Shell Microspheres as the Stationary Phase for High-Performance Liquid Chromatography. Chem. Eur. J. 2013, 19, 13484−13491.

[110] Sorribas, S., Zornoza, B., Téllez, C., Coronas, Ordered mesoporous silica–(ZIF-8) core–shell spheres. Chem. Commun. 2012, 48, 9388−9390

[111] Qu, Q., Xuan, H., Zhang, K., Chen, X., Ding, Y., Feng, S., Xu, Q., Core-shell silica particles with dendritic pore channels impregnated with zeolite imidazolate framework-8 for high performance liquid chromatography separation. J. Chromatogr. A 2017, 1505, 63-68.

[112] Yan, Z., Zheng, J., Chen, J., Tong, P., Lu, M., Lin, Z., Zhang, L., Preparation and evaluation of silica-UIO-66 composite as liquid chromatographic stationary phase for fast and efficient separation. J. Chromatogr. A 2014, 1366, 45–53.

[113] Zhang, X., Han, Q., Ding, M., One-pot synthesis of UiO-66@SiO2 shell–core microspheres as stationary phase for high performance liquid chromatography. RSC Adv. 2015, 5, 1043-1050.

[114] Arrua, R.D., Peristyy, A., Nesterenko, P.N., Das, A., D’Alessandro, D.M., Hilder, E.F., UiO-66@SiO2 core–shell microparticles as stationary phases for the separation of small organic molecules. Analyst 2017, 142, 517–524

[115] Qin, W., Silvestre, M.E., Yongli Lia, Franzreb, M., High performance liquid chromatography of substituted aromatics with the metal-organic framework MIL-100(Fe): Mechanism analysis and model-based prediction. J. Chromatogr. A 2016,1432, 84–91.

[116] Fu, Y., Yang, C., Yan, X., Metal-organic framework MIL-100(Fe) as the stationary phase for both normal-phase and reverse-phase high performance liquid chromatography. J. Chromatogr. A 2013, 1274, 137–144 .

[117] Van der Perre, S., Liekens, A., Bueken, B., De Vos, D.E., Baron, G.V., Denayer , J.F.M., Separation properties of the MIL-125(Ti) Metal-Organic Framework in high-performance liquid chromatography revealing cis/trans selectivity. J. Chromatogr. A 2016, 1469, 68–76.

[118] Han, T., Li, C., Guo, X., Huang, H., Liu, D., Zhong, C., In-situ synthesis of SiO2@MOF composites for high-efficiency removal of aniline from aqueous solution. Appl. Surf. Sci. 2016, 390, 506–512.

[119] Tanaka, K., Muraoka, T., Otubo, Y., Takahashi, H., Ohnishi, A., HPLC enantioseparation on a homochiral MOF–silica composite as a novel chiral stationary phase. RSC Adv. 2016, 6, 21293-21301.

[120] Qin, W., Silvestre, M.E., Kirschhöfer, F., Brenner-Weiss, G., Franzreb, M., Insights into chromatographic separation using core–shell metal–organic frameworks: Size exclusion and polarity effects. J. Chromatogr. A 2015, 1411, 77–83.

[121] Shao, Y., Zhou, L., Bao, C., Ma, J., Liu, M., Wang, F., Magnetic responsive metal–organic frameworks nanosphere with core–shell structure for highly efficient removal of methylene blue. Chem. Eng. J. 2016, 283, 1127–1136.

[122] Qin, W., Silvestre, M.E., Brenner-Weiss, G., Wang, Z., Schmitt, S., Hübner, J., Franzreb, M., Insights into the separation performance of MOFs by high-performance liquid chromatography and in-depth modelling. Sep. Purif. Technol. 2015, 156, 249–258.

[123] Pan, Y., Lai, Z., Sharp separation of C2/C3 hydrocarbon mixtures by zeolitic imidazolate framework-8 (ZIF-8) membranes synthesized in aqueous solutions. Chem. Commun. 2011, 47, 10275−10277.

[124] Naik, P.V., Wee, L.H., Meledina, M., Turner, S., Li, Y., Tendeloo, G.V., Martensa, J.A., Vankelecom, I.F.J., PDMS membranes containing ZIF-coated mesoporous silica spheres for efficient ethanol recovery via pervaporation. J. Mater. Chem. A 2016, 4, 12790–12798.

[125] Moraes, J., Ohno, K., Maschmeyer, T., Perrier, S., Monodisperse, Charge-Stabilized, Core–Shell Particles via Silica-Supported Reversible Addition–Fragmentation Chain Transfer Polymerization for Cell Imaging. Chem. Mater. 2013, 25, 3522-3527.

[126] Yan, J.M., Zhang, X.B., Akita, T., Haruta, M., Xu, Q., One-Step Seeding Growth of Magnetically Recyclable Au@Co Core−Shell Nanoparticles: Highly Efficient Catalyst for Hydrolytic Dehydrogenation of Ammonia Borane. J. Am. Chem. Soc. 2010, 132, 5326-5327.

[127] Veneziano, R., Derrien, G., Tan, S., Brisson, A., Devoisselle, J.M., Chopineau, J., Charnay, C., One Step Synthesis of Gold-Loaded Radial Mesoporous Silica Nanospheres and Supported Lipid Bilayer Functionalization: Towards Bio-Multifunctional Sensors. Small 2012, 8, 3674-3682

[128] Han, L., Wei, H., Tu, B., Zhao, D., A facile one-pot synthesis of uniform core–shell silvernanoparticle@mesoporous silica nanospheres. Chem. Commun. 2011, 47, 8536-8538.

[129] Li, H., Wang, Y., Zhang, L., Lu, H., Zhou, Z., Wei, L., Yang, P., Facile synthesis of novel magnetic silica nanoparticles functionalized with layer-by-layer detonation nanodiamonds for secretome study. Analyst 2015, 140, 7886-7895.

[130] Wyndham, K.D., Muriithi, B.W., Superficially porous materials comprising a substantially nonporous hybrid core having narrow particle size distribution; process for the preparation thereof; and use thereof for chromatographic separations. US Patent US20130206665 A1

[131] Meincke, T., Bao, H., Pflug, L., Stingl, M., Taylor, R.N.K., Heterogeneous nucleation and surface conformal growth of silver nanocoatings on colloidal silica in a continuous flow static T-mixer. Chem. Eng. J. 2017, 308, 89-100.

[132] Hanisch, M., Mačković, M., Taccardi, N.,  Spiecker, E.,  Taylor, R.N.K., Synthesis of silver nanoparticle necklaces without explicit addition of reducing or templating agents. Chem. Commun. 2012, 48, 4287-4289

[133] Dun, H., Zhang, W., Wei, Y., Xiuqing, S., Li, Y., Chen, L., Layer-by-Layer Self-Assembly of Multilayer Zirconia Nanoparticles on Silica Spheres for HPLC Packings. Anal. Chem. 2004, 76, 5016-5023

[134] Liang, X., Chen, Q., Jiang, S., Comparison of liquid chromatographic behaviors on N-methylimidazolium functionalized ZrO2/SiO2 and N-methylimidazolium functionalized SiO2 stationary phases. J. Chromatogr. A 2008, 1182, 197-204.

[135] Li, J., Zhang, H.F., Shi, Y.P., In-situ synthesis and normal chromatographic properties of nonporous SiO2/ZrO2 core-shell composite microspheres. Anal. Sci. 2011, 27, 447–451.

[136] Ge, J., Zhao, L., Chen, L.R., Shi, Y.P., Titanium-Coated Silica Spheres Prepared by Self-Assembly Technique for Use as HPLC Packing. J. Chromatogr. Sci. 2010, 48, 29-34.

[137] Trüdinger, U., Müller, G., Unger, K.K., Porous zirconia and titania as packing materials for high-performance liquid chromatography. J. Chromatogr. 1990, 535, 111–125.

[138] Es’Haghi, Z., Esmaeili-Shahri, E., Sol–gel-derived magnetic SiO2/TiO2 nanocomposite reinforced hollow fiber-solid phase microextraction for enrichment of non-steroidal anti-inflammatory drugs from human hair prior to high performance liquid chromatography. J Chromatogr. B 2014, 973, 142 – 151.

[139] Che, H.X., Yeap, S.P., Ahmad, A.L., Lim, J., Layer-by-layer assembly of iron oxide magnetic nanoparticles decorated silica colloid for water remediation. Chem. Eng. J. 2014, 243, 68–78.

[140] Kresge, C. T., Leonowicz, M. E. , Roth, W. J. , Vartuli, J. C.,   Beck, J. S., Ordered mesoporous molecular sieves synthesized by a liquid–crystal template mechanism. Nature 1992, 359, 710-712.

[141] Zhao, D., Feng, J., Huo, Q., Melosh, N., Fredrickson, G.H., Chmelka, B.F., Stucky, G.D., Triblock copolymer syntheses of mesoporous silica with periodic 50–300 Å pore. Science 1998, 279, 548-552.

[142] Zhao, D., Sun, J., Li, Q., Stucky, G. D., Morphological control of highly ordered mesoporous silica SBA-15. Chem. Mater. 2000, 12, 275-279.

[143] Yang, H., Vovk, G., Coombs, N., Sokolov, I., Ozin, G.A.,  Synthesis of mesoporous silica spheres under quiescent aqueous acidic conditions. J. Mater. Chem. 1998, 8, 743–750.

[144] Rama Rao, G.V., López, G. P., Bravo, J., Pham, H., Datye, A. K., Xu, H.F., Ward, T. L.,  Monodisperse mesoporous silica microspheres formed by evaporation-induced self assembly of surfactant templates in aerosols. Adv. Mater. 2002, 14, 1301-1304.

[145] Yano, K., Fukushima, Y.  Synthesis of mono-dispersed mesoporous silica spheres with highly ordered hexagonal regularity using conventional alkyltrimethylammonium halide as a surfactant.  J. Mater. Chem. 2004, 14, 1579-1584.

[146] Min, Y., Yang, K. G., Liang, Z., Zhang, L. H., Zhang, Y. K., Dandelion-like core–shell silica microspheres with hierarchical pores. RSC Adv. 2015, 5, 26269−26272.

[147] Martin, T., Galarneau, A., Di Renzo, F., Fajula, F., Plee, D., Morphological control of MCM-41 by pseudomorphic synthesis. Angew. Chem. Int. Ed. 2002, 41, 2590-2592.

[148] Martin, T., Galarneau, A., Di Renzo, F., Brunel, D., Fajula, F., Heinisch, S., Crétier, G., Rocca, J.-L.,  Great improvement of chromatographic performance using MCM-41 spheres as stationary phase in HPLC. Chem. Mater. 2004, 16, 1725-1731.

[149] Lefèvre, B., Galarneau, A., Iapichella, J., Petitto, C., Di Renzo, F., Fajula, F.,  Bayram-Hahn, Z., Skudas, R., Unger, K.K., Synthesis of large-pore mesostructured micelle-templated silicas as discrete spheres. Chem. Mater. 2005, 17, 601-607.

[150] Galarneau, A., Iapichella, J., Bonhomme, K., Di Renzo, F., Kooyman, P., Terasaki, O., Fajula, F., Controlling the morphology of mesostructured silicas by pseudomorphic transformation: a route towards applications. Adv. Funct. Mater. 2006, 16, 1657-1667.

[151] Wei, T.C., Chen, W., Barber, W.E., Superficially Porous Metal Oxide Particles, Methods for Making Them, and Separation Devices Using Them. US Patent US8685283.

[152] Dong, H., Brennan, J.D., One-pot synthesis of silica core–shell particles with double shells and different pore orientations from their nonporous counterparts.  J. Mater. Chem. 2012, 22, 13197-13203.

[153] Qu, Q., Min, Y., Zhang, L., Xu, Q,, Yin, Y., Silica Microspheres with Fibrous Shells: Synthesis and Application in HPLC. Anal. Chem., 2015, 87, 9631–9638.

[154] Wei, T.C., Mack, A, Chen, W, Liu, J., Dittmann, M., Wang, X., Barber, W. E.  Synthesis, characterization, and evaluation of a superficially porous particle with unique, elongated pore channels normal to the surface. J. Chromatogr. A 2016, 1440, 55–65.

[155] Deng, T. S., Bongard, H. J., Marlow, F., A one-step method to coat polystyrene particles with an organo-silica shell and their functionalisation.  Mater. Chem. Phys. 2015, 162, 548-554.

[156] Hung, C.-H., Wiest, L.A., Singh, B., Diwan, A., Valentim, M. J. C., Christensen, J. M., Davis, R. C., Miles, A. J., Jensen, D. S., Vail, M. , Dadson, A. E., Linford, M. R., Improved efficiency of reversed-phase carbon/nanodiamond/polymer core–shell particles for HPLC using carbonized poly(divinylbenzene) microspheres as the core materials. J. Sep. Sci. 2013, 36, 3821-3829.

[157] Bobály, B., Guillarme, D., Fekete, S., Evaluation of new superficially porous particles with carbon core and nanodiamond–polymer shell for proteins characterization. J. Pharm.  Biomed. Anal. 2015, 104, 130-136.

[158] Fekete, S.; Jensen, D. S.; Zukowski, J.; Guillarme, D. Evaluation of a new wide-pore superficially porous material with carbon core and nanodiamond-polymer shell for the separation of proteins. J. Chromatogr. A 2015, 1414, 51-59.

[159] Fekete, S., Fekete, J., Ganzler, K., Shell and small particles; Evaluation of new column technology. J. Pharm. Biomed. Anal. 2009, 49, 64–71.

[160] Li, J., Jia, S., Yoon, S.J., Lee, S.J., Kwon, S.W., Lee, J., Ion-pair dispersive liquid–liquid microextraction solidification of floating organic droplets method for the rapid and sensitive detection of phenolic acids in wine samples using liquid chromatography combined with a core–shell particle column. J. Food Comp. Anal. 2016, 45, 73–79.

[161] Wu, J., Qian, Y., Mao, P., Chen, L., Lu, Y., Wang, H., Separation and identification of phenolic compounds in canned artichoke by LC/DAD/ESI-MS using core–shell C18 column: A comparative study.  J. Chromatogr. B 2013, 927, 173–180.

[162] Manns, D.C., Mansfield, A.K., A core–shell column approach to a comprehensive high-performance liquid chromatography phenolic analysis of Vitis vinifera L. and interspecific hybrid grape juices, wines, and other matrices following either solid phase extraction or direct injection. J. Chromatogr. A 2012, 1251, 111–121.

[163] Willeman, H., Hance, P., Fertin, A., Voedts, N., Duhal, N., Goossens, J.F., Hilbert, J.L., A Method for the Simultaneous Determination of Chlorogenic Acid and Sesquiterpene Lactone Content in Industrial Chicory Root Foodstuffs. Scientific World J. 2014, 1-11, Article ID 583180.

[164] Gallart-Ayala, H., Moyano, E., Galceran, M.T., Fast liquid chromatography–tandem mass spectrometry for the analysis of bisphenol A-diglycidyl ether, bisphenol F-diglycidyl ether and their derivatives in canned food and beverages. J. Chromatogr. A 2011, 1218, 1603–1610.

[165] Simonovska, B., Vovk, I., Glavnik, V., Cernelic, K., Effects of extraction and high-performance liquid chromatographic conditions on the determination of lutein in spinach. J. Chromatogr. A 2013, 1276, 95–101.

[166] Fontana, A.R., Bottini, R., Filter-vial dispersive solid-phase extraction as a simplified clean-up for determination of ethylphenols in red wines. Food Chem. 2017, 230, 405–410.

[167] Mao, J., Lei, S., Yang, X., Xiao, D., Quantification of ochratoxin A in red wines by conventional HPLC–FLD using a column packed with core–shell particles. Food Control. 2013, 32, 505–511.

[168] Tölgyesi, A., Stroka, J., Tamosiunas, V., Zwickel, T., Simultaneous analysis of Alternaria toxins and citrinin in tomato: an optimised method using liquid chromatography-tandem mass spectrometry. Food Addit. Contam. Part A. 2015, 32, 1512-1522.

[169] Hayama, T., Katoh, K., Aoki, T., Itoyama, M., Todoroki, K., Yoshida, H., Nohta, H., Liquid chromatographic determination of microcystins in water samples following pre-column excimer fluorescence derivatization with 4-(1-pyrene)butanoic acid hydrazide. Anal. Chim. Acta. 2012, 755, 93-99.

[170] Suman, M., Bergamini, E., Catellani, D., Manzitti, A., Development and validation of a liquid chromatography/linear ion trap mass spectrometry method for the quantitative determination of deoxynivalenol-3-glucoside in processed cereal-derived products. Food Chem. 2013, 136, 1568–1576.

[171] Gallart-Ayala, H., Moyano, E., Galceran, M.T., Analysis of Bisphenols in Soft Drinks by On-Line Solid Phase Extraction Fast Liquid Chromatography-Tandem Mass Spectrometry. Anal Chim. Acta. 2011, 683, 227–233.

[172] Buszewski, B., Noga, S., Hydrophilic interaction liquid chromatography (HILIC)—a powerful separation technique. Anal. Bioanal. Chem. 2012, 402, 231–247.

[173] Heaton, J.C., Mc Calley, D.V., Comparison of the kinetic performance and retentivity of sub-2μm core–shell, hybrid and conventional bare silica phases in hydrophilic interaction chromatography.  J. Chromatogr. A 2014, 1371, 106-116.

[174] McCalley, D.V., Evaluation of the properties of a superficially porous silica stationary phase in hydrophilic interaction chromatography. J. Chromatogr. A 2008, 1193, 85–91.

[175] Kirkland, J.J., Schuster, S.A., Johnson, W.L., Boyes, B.E., Fused-core particle technology in high-performance liquid chromatography: An overview. J. Pharm. Anal. 2013, 3, 303–312.

[176] Hulst, M.V., Schoenmakers, P., Influence of pore size on the separation of random and block copolymers by interactive liquid chromatography. J. Chromatogr. A 2006, 1130, 54-63.

[177] Close, E.D., Nwokeoji, A.O., Milton, D., Cook, K., Hindocha, D.M., Hook, E.C., Wood, H., Dickman, M.J., Nucleic acid separations using superficially porous silica particles. J. Chromatogr. A 2016, 1440, 135–144.

[178] Wagner, B.M., Schuster, S.A., Boyes, B.E., Shields, T.J., Miles, W.L., Haynes, M.J., Moran, R.E., Kirkland, J.J., Schure, M.R., Superficially porous particles with 1000Å pores for large biomolecule high performance liquid chromatography and polymer size exclusion chromatography. J. Chromatogr. A 2017, 1489, 75–85.

[179] Shelly, D.C., Edkins, T.J., Contribution to the packing of liquid chromatographic microcolumns. J. Chromatgr. A1987, 411, 185–199.

[180]  Tantipolphan, R., Romeijn, S., den Engelsman, J., Torosantucci, R., Rasmussen, T., Jiskoot, W., Elution behavior of insulin on high-performance size exclusion chromatography at neutral pH. J. Pharm. Biomed. Anal. 2010, 52, 195–202.

[181] Yu, C.-M., Mun, S., Wang, N.H. L., Phenomena of insulin peak fronting in size exclusion chromatography and strategies to reduce fronting. J. Chromatogr. A 2008, 1192, 121–129.

[182] Schure, M.R., Moran, R.E., Size exclusion chromatography with superficially porous particles. J. Chromatogr. A 2017, 1480, 11–19.

[183] Wu, J.-H., Li, X.-S., Zhao, Y., Zhang, W., Guo, L. and Feng, Y.-Q., Application of liquid phase deposited titania nanoparticles on silica spheres to phosphopeptide enrichment and high performance liquid chromatography packings. J. Chromatogr. A 2011, 1218, 2944-2953.

Figures and Captions

Figure 1. Kinetic plots showing the progress (vertical and horizontal arrows) made recently for a) sub 2m fully porous particles (red data) vs supra 2m particles. b) inclusion of core shell columns. Plots are for small MW compounds, k = 9.  Reprinted with permission from ref [27].

Figure 2. The schematic representation for the preparation of core-shell microspheres by the layer-by-layer deposition method. Reprinted with permission from ref. 4.

Figure 3. Comparison of colloidal silica size on the preparation of core-shell silica particles from 0.9 μm non-porous silica spheres, 0.5 wt % poly(diallydimethylammonium chloride) (Mw = 100 – 200 kDa, cationic polymer), and 10 % colloidal silica dispersion (pH = 3.5) by one coating process. (A) Nyacol Nexsil125 (125 nm); (B) Nyacol NexSil85 (85 nm); (C) Nalco 1060 (60 nm); (D) Nalco 1030 (13 nm); (E) Ludox, AS-30 (12 nm); and (F) Nyacol NexSil8 (8 nm). Reprinted with permission from ref 33.

Figure 4. Monodisperse SOS particles prepared under modified reaction conditions with polyvinylpyrrolidone and cetyltrimethylammonium chlroide. The inset image shows a close-up look of a SOS particle. Reprinted with permission from ref 93.

Figure 5. Effect of organic templates on surface morphology and pore size distribution of modified SOS particles. (A, B) cetytrimethylammonium bromide (CTAB) + TEOS; (C, D) OTMS + TEOS, both added at t = 30 min. Reprinted with permission from ref 96.

Figure 6. The scheme shows the preparation of silica-UiO-66 core-shell particles by modifying the silica sphere first. Reprinted with permission from ref 113.

Figure 7. SEM images showing the morphology (a) mesoporous silica microspheres; (b) the seeded microsphere; (c) one cycle growth of ZIF-8; (d) two cycle growth of ZIF-8. And the TEM images showing the thickness of ZIF-8 coating: (e) the core-shell sphere with one ZIF-8 coating; (f) the core-shell sphere with two ZIF-8 coatings, where the particles were embedded in epoxy resin and cut with ultramicrotomy. Reprinted with permission from ref 110.

Figure 8. The SEM images of silica microspheres coated with zirconia nanoparticles, shown at different magnifications.  Reprinted with permission from ref 135.

Figure 9. The structure of core-shell silica particles with solid core and nanofibrous shell. Reprinted with permission from ref 153.

Figure 10. High-resolution SEM comparison between (a) PMT-SPPs and (b) SPPs made from the multilayer method. Cross-section view of pore channels on (c) PMT-SPPs and (d) SPPs made from the multilayer method. The sol-aggregated pore structure made by the multilayer process shows a more tortuous diffusion pathway than the ordered elongated channel made by pseudomorphic transformation. The red line/curve illustrate the differences in pore structures and diffusion pathways. Reprinted with permission from ref 154.

Figure 11. SEM images of the carbon core (A) and the finished material (B) of carbon-based nano-diamond wide-pore particle. Reprinted with permission from ref 158.

Figure 12. Chromatograms of artichoke extract obtained with the BEH-C18 column (A) and Halo-C18 column (B) at different linear velocities. Mobile phase: MeOH/water (88:12); injection volume: 2 μL; UV detection: 320 nm. Reprinted with permission from ref 161.

Figure 13. Effect of pore size in core-shell particles on the separation of the mixture containing 7 compounds. Columns: 4.6 mm×100 mm; particles: 2.7 μm; mobile phase – A: 10% acetonitrile/aqueous 0.1% trifluoroacetic acid; B: 70% acetonitrile/aqueous 0.1% trifluoroacetic acid; gradient: 0–50% B in 15 min.; flow rate: 1.5 mL/min; temperature; 30 oC; injection: 5 μL; instrument: Agilent 1100; detection: 220 nm; peak identities: (1) Gly-Tyr – 238 g/mol, (2) Val-Tyr-Val – 380 g/mol, (3) methionine enkephalin – 574 g/mol, (4) angiotensin II – 1046 g/mol, (5) leucine enkephalin – 556 g/mol, (6) ribonuclease A – 13,700 g/mol, (7) insulin – 5800 g/mol; peak widths in minutes measured at 50% height for ribonuclease A and insulin. Reprinted with permission from ref 67.

Figure 14. Chromatographic elution data of polystyrene solutes and toluene superimposed on the time axis. (a) SPPs with pore size of 160 Å; (b) SPPs with pore size of 1000 Å; (c) Fully porous particles with pore size of 200 Å; (d) Fully porous particles with pore size of 1000 Å. All data shown here are from the flow rate of 0.25 mL/min. Reprinted with permission from ref 182.

Figure 15. Representative chromatogram of reduced ADC (brentuximab-vedotin). Columns: Prototype SOS (sphere-on-sphere) C4 (100 mm × 2.1 mm, ∼2.5 m), Halo Protein C4 (150×2.1mm, 3.4 m), BEH300C18 (150×2.1mm, 1.7 m) and Aeris Widepore C18 (150 × 2.1 mm, 3.6 m). Mobile phase A: 0.1% TFA, mobile phase B: 0.1% TFA in acetonitrile. Flow-rate of 0.4 mL/min, gradient: 27–42%B in 12 min on the SOS column and 30–45% B on the other columns, temperature: 80 ◦ C, UV detection was carried out at 280 nm. Reprinted with permission from ref 95.