## Optimisation of Synovial Fluid Collection and Processing for NMR Metabolomics and LC-MS/MS Proteomics

James R Anderson1, Marie M Phelan2,3, Luis M Rubio-Martinez1,4, Matthew M Fitzgerald4, Simon W Jones5, Peter D Clegg1 and Mandy J Peffers1*

1Institute of Ageing and Chronic Disease, University of Liverpool, Liverpool, UK

2Institute of Integrative Biology, University of Liverpool, Liverpool, UK

3HLS Technology Directorate, University of Liverpool, Liverpool, UK

4Institute of Veterinary Science, University of Liverpool, Leahurst Campus, Neston, UK

5Institute of Inflammation and Ageing, University of Birmingham, Birmingham, UK

*corresponding author

Corresponding author email address

Mandy J Peffers	peffs@liverpool.ac.uk	Tel: 07872692102

### Abstract

Synovial fluid (SF) is of great interest for the investigation of orthopaedic pathologies as it is in close proximity to various tissues which are primarily altered during these disease processes and can be collected using minimally invasive protocols. Multi ‘omic’ approaches are commonplace although little consideration is often given for multiple analysis techniques at sample collection. Nuclear magnetic resonance (NMR) metabolomics and liquid chromatography tandem mass spectrometry (LC-MS/MS) proteomics are two complementary techniques particularly suited to the study of SF. However, currently there are no agreed standard protocols which are published for SF collection and processing for use with NMR metabolomic analysis. Furthermore, the large protein concentration dynamic range present within SF can mask the detection of lower abundance proteins in proteomics. Whilst combinational ligand libraries (ProteoMinerTM columns) have been developed to reduce this dynamic range, their reproducibility when used in conjunction with SF, or on-bead protein digestion protocols, have yet to be investigated. Here we employ optimised protocols for the collection, processing and storage of SF for NMR metabolite analysis and LC-MS/MS proteome analysis, including a Lys-C endopeptidase digestion step prior to tryptic digestion which increased the number of protein identifications and improved reproducibility for on-bead ProteoMinerTM digestion.

PRIDE Archive; Username: reviewer88516@ebi.ac.uk; Password: wdQwP0cu

Keywords: Synovial Fluid, Metabolomics, Nuclear Magnetic Resonance, Proteomics, Mass Spectrometry, Lys-C Endopeptidase

### Introduction

Synovial fluid (SF) primarily acts as a biological lubricant, reducing friction between synovial joint articular cartilage surfaces, but also functions as a pool of nutrients for surrounding tissues and allows movement of regulatory cytokines 1,2. SF is of great interest for the investigation of orthopaedic pathologies, including osteoarthritis (OA), osteochondrosis, rheumatoid arthritis and synovial sepsis, as it is in close proximity to various tissues which are primarily altered during these disease processes, with minimally invasive collection protocols 3,4. Therefore, SF has the potential for improved understanding of underlying disease pathogenesis and biomarker discovery 5.

Multi ‘omic’ approaches are commonplace although little consideration is often given for multiple analysis techniques at sample collection 6. Nuclear magnetic resonance (NMR) metabolomics and liquid chromatography tandem mass spectrometry (LC-MS/MS) proteomics are two complementary techniques particularly suited to the study of SF. NMR spectroscopy involves very little sample pre-processing and is particularly useful for high-viscosity samples that would require metabolome altering extraction techniques prior to analysis by high performance liquid chromatography (HPLC) 7,8. LC-MS/MS proteomics provides complementary phenotypic information and is suited to SF analysis due to the wide coverage of proteins in typical LC-MS/MS databases 6,9. There is a growing need to establish sample collection and pre-processing techniques compatible with multi ‘omic’ analyses and as such we endeavour to employ both techniques to study the metabolome and proteome of clinical SF samples.

NMR metabolomics is a rapidly expanding field, providing comprehensive metabolite profiling of complex biological samples with high levels of technical reproducibility 10,11. Several studies have utilised NMR to investigate the SF metabolome of orthopaedic diseases in various species, including humans, dogs, pigs and horses, albeit only few with statistical rigor associated with an ‘omics’ analysis 3,12,21,13–20. Although the effect of freeze thaw cycles and long term low temperature storage have been investigated, no studies to date have investigated the impact of different freezing methods on NMR metabolite analysis 22. Currently, there are no agreed standard protocols which are published for SF collection and processing for use with NMR metabolomic analysis.

Various studies have used mass spectrometry (MS) based proteomics approaches to analyse SF, with the development of LC-MS/MS providing a fast and sensitive methodology to identify and quantify proteins within complex biological samples 23,24. However, due to the multivariate nature of sample analysis, a large number of biological replicates are required in order to achieve an adequately powered study, which for LC-MS/MS, may be cost prohibitive. Additionally, the large protein concentration dynamic range present within SF leads to various challenges associated with proteome analysis 25. A small number of highly abundant proteins, including albumin, can mask the detection of low abundant proteins, thus compromising potential biomarker discovery 26. Combinational ligand libraries have been developed to reduce this dynamic range, achieving peptide-based depletion whilst allowing preservation of the whole proteome 27,28. This methodology has recently been used in the development of ProteoMinerTM protein enrichment columns (Bio-Rad Laboratories Ltd., Hemel Hempstead, UK), depleting highly abundant proteins and enriching those less abundant 29. This technique was found to generate the largest increase in protein identifications compared to other protein depletion methods when applied to serum 30. However, the elution solution present within the kit is not compatible with LC-MS/MS analysis, due to the presence of 3-((3-cholamidopropyl) dimethylammonio)-1-propanesulfonate (CHAPS) 31. Although ‘clean-up’ and alternative elution protocols are available, these introduce a further process in sample preparation and subsequently a source of variation. Peffers et al. have previously developed an on-bead trypsin digestion protocol for analysis of ProteoMinerTM processed SF 32–35. However, although the reproducibility of ProteoMinerTM beads when used in conjunction with serum has been examined, reproducibility with SF or on-bead digestions have yet to be investigated 36.

Lys-C serine endopeptidase is the second most common enzyme used within bottom-up proteomics studies following trypsin, efficiently hydrolysing the peptide bond of lysine residues on the carboxyl side 37,38. Whilst trypsin digests peptides at Arg-C or Lys-C residues, unless followed directly by proline, cleavage at the Lys-C site is comparatively poor when compared to Lys-C endopeptidase activity 38,39. Thus, a combined digestion protocol can produce an overall improved digestion efficiency. When used within an in-solution protein digestion protocol, a Lys-C/trypsin protocol was found to produce significantly less missed cleavages and a more efficient digestion than a tryptic digestion alone 40. However, on-bead ProteoMinerTM digestion protocols to date have used trypsin alone, with the potential improved digestion of the addition of Lys-C endopeptidase into this protocol yet to be investigated.

Cartilage breakdown products are generated during orthopaedic pathology, i.e. OA, due to elevations in enzymatic activity within synovial joints 41. These products may be recognised via MS as semi-tryptic peptides. Identification and quantification of these semi-tryptic peptides within pathological groups has potential as a method for early OA biomarker discovery enabling disease stratification. However, the reproducibility of semi-tryptic peptide quantification is yet to be investigated following ProteoMinerTM processing.

We hypothesise that refining SF collection and processing protocols for NMR metabolomic and LC-MS/MS proteomic analysis will maximise the number of molecule identifications as well as optimise technical reproducibility.

### Methods

#### Study Overview

A summary of the main NMR and LC-MS/MS protocols investigated during this study for metabolite, protein and peptide identification and quantification can be found in Table S1.

#### Equine Synovial Fluid Collection

All equine SF was collected post mortem from an abattoir within 8 hrs of euthanasia in order to ensure a consistent metabolome for all post mortem samples 42. Metacarpophalangeal (MCP) joints were opened aseptically and SF collected on ice using a 10 ml syringe. For NMR metabolomics analysis, SF was pooled from four MCP joints from four separate donors and vortexed for 1 min. SF was also collected from an additional three equine MCP joints from three donors and processed separately. For proteomic analysis SF was pooled from five MCP joints from five separate donors, pooled and vortexed for 1 min. All joints used for this study were considered to be macroscopically normal and were assigned a score of 0 according to the equine OARSI histopathology initiative scoring system 43.

#### Human Synovial Fluid Collection

Following ethical approval (REC 16/SS/0172), SF was collected peri-operatively from the acetabulofemoral joint of nine patients diagnosed with end-stage hip OA undergoing elective total joint replacement surgery at The Royal Orthopaedic Hospital (Birmingham). SF was treated with hyaluronidase and stored at -80°C. Consent was obtained from all patients. No comparisons were made between living and post mortem samples to ensure all variance was due to sample processing and not post mortem degradation 42.

#### NMR Metabolomics

##### Sample Preparation - Spun vs Unspun

150 μl of pooled equine SF was aliquoted into nine eppendorfs which did not undergo centrifugation prior to freezing (unspun) and nine eppendorfs which were centrifuged (spun). In the spun group, SF was centrifuged at 2,540g and 4°C for 5 min and the supernatant transferred to a new eppendorf. All samples were subsequently snap frozen in liquid nitrogen and stored at -80°C.

##### Sample Preparation - Different Freezing Protocols

150 μl of pooled equine SF was aliquoted into 32 eppendorfs which were subsequently centrifuged at 2,540g and 4°C for 5 min and the supernatant removed. The samples were then divided into four separate groups (eight in each) and frozen either at -20°C, -80°C, placed onto dry ice or snap frozen in liquid nitrogen. Following freezing, all samples were stored at -80°C.

##### Sample Preparation - Reproducibility of Separate Synovial Fluid Donors

Following collection, equine SF was separated into three separate 150 μl aliquots for each of the three separate donors, nine aliquots in total. SF was then centrifuged at 2,540g and 4°C for 5 min, supernatant removed, snap frozen in liquid nitrogen and stored at -80°C.

##### Sample Preparation for NMR Spectrometry

150 µl of each thawed SF sample was diluted to a final volume containing 50% (v/v) SF, 40% (v/v) dd 1H2O (18.2 MΩ), 100 mM PO43- pH 7.4 buffer (Na2HPO4, VWR International Ltd., Radnor, Pennsylvania, USA and NaH2PO4, Sigma-Aldrich, Gillingham, UK) in deuterium oxide (2H2O, Sigma-Aldrich) and 0.0025% (v/v) sodium azide (NaN3, Sigma-Aldrich). Samples were vortexed for 1 min, centrifuged at 13,000g and 4˚C for 2 min and 200 µl transferred (taking care not to disturb any pelleted material) into 3 mm outer diameter NMR tubes using a glass pipette.

##### NMR Spectral Acquisition

All SF samples were individually analysed. 1D 1H NMR spectra were acquired using a 700 MHz NMR Bruker Avance III HD spectrometer with associated TCI cryoprobe and chilled Sample-Jet autosampler. A Carr-Purcell-Meiboom-Gill (CPMG) pulse sequence was used to attenuate macromolecule signals using a standard cpmgpr1d vendor pulse sequence. All CPMG spectra were acquired at 37˚C with a 15 ppm spectral width, a 4 s interscan delay and 32 transients. Spectral acquisition and processing was carried out using Topsin 3.1 (Bruker Corporation, Billerica, Massachusetts, USA) and IconNMR 4.6.7 (Bruker).

##### Spectral Quality Control and Bucketing

Following acquisition, all spectra were analysed to ensure they conformed to community recommended minimum reporting standards 44. These included flat baseline correction, water suppression and consistent line widths. Spectra which did not meet these standards were removed from all subsequent analyses. Admissible spectra were aligned to a single formate peak at 8.46 ppm. It is important to note that trimethylsilylpropanoic acid (TSP) and other silica-based reference materials are unsuitable for NMR metabolomics studies of proteinous biofluids due to the propensity to bind to proteins such as albumins and therefore change in chemical shift or attenuate completely 10. All peaks within each spectrum were then placed into ‘buckets’, excluding the peak generated by water, with each bucket intensity divided by the width in order to negate intensity variance. Spectra for different freezing protocols and spun vs unspun experiments were divided into 144 buckets and spectra for reproducibility of separate synovial fluid donors divided into 139 buckets. Buckets were subsequently normalised to the median.

##### Metabolite Annotation and Identification

Buckets were assigned metabolite identifications using Chenomx NMR Suite 8.2 (330-mammalian metabolite library). Where possible, metabolite identities were confirmed using in-house 1D 1H NMR and 2D 1H 13C Heteronuclear Single Quantum Coherence NMR standards. Metabolite assignments, including both Human Metabolome Database identifications and annotation levels, are available within the MetaboLights repository at www.ebi.ac.uk/metabolights/MTBLS1450.

#### LC-MS/MS Proteomics

##### Hyaluronidase Treatment Protocol Optimisation

750 µl aliquots of thawed equine SF were supplemented with hyaluronidase (from bovine testes, Sigma-Aldrich) at a final concentration of 0, 0.05, 0.10, 0.25, 0.50, 0.75, 1.00, 1.50 or 2.00 µg/ml and vortexed for 30 s. All samples (bar two 0 µg/ml treated samples) were then incubated at 37°C for 1 hr and rotated. All samples (bar two 0 µg/ml and one 1.00 µg/ml treated samples) were then passed through polypropylene microcentrifuge tube filters with 0.22 µm pore cellulose acetate membranes (Costar Spin-X, Corning, Tokyo, Japan) for 15 min at 5,000g. 1 µl of each sample was analysed by one dimensional sodium dodecyl sulphate polyacrylamide gel electrophoresis (1D SDS PAGE) and stained with Coomassie Blue (Bio-Rad).

##### Standard Trypsin Protein Digestion Protocol

During this study, previously developed standard trypsin digestion protocols were used for native SF protein digestion and on-bead ProteoMinerTM protein digestion, or a variation of this protocol as stated 32 (Figure S1). 160 µl of 25 mM ammonium bicarbonate (Fluka Chemicals Ltd., Gillingham, UK) containing 0.05% (w/v) RapiGest (Waters, Elstree, Hertfordshire, UK) was added to ProteoMinerTM columns. For native SF and ProteoMinerTM column flow-through, the appropriate volume containing 100 µg of protein was diluted to a final volume of 160 µl 25 mM ammonium bicarbonate (Fluka) containing 0.05% (w/v) RapiGest. Samples were heated for 10 min at 80°C, 3 mM final concentration DL-Dithiothreitol (Sigma-Aldrich) added, heated at 60°C for 10 min and 9 mM final concentration iodoacetamide (Sigma-Aldrich) added and incubated at room temperature for 30 min in the dark. Protein digestion was carried out through the addition of 2 µg of proteomics grade trypsin (Sigma-Aldrich), rotation at 37°C for 16 hrs with repeated trypsin supplementation for 2 hrs, again rotating at 37°C. Columns were centrifuged at 1,000g for 1 min, 0.5% (v/v) final concentration trifluoroacetic acid (TFA, Sigma-Aldrich) added, rotated at 37°C for 30 min, centrifuged at 13,000g and 4°C for 15 min and the supernatant removed.

##### ProteoMinerTM Bead Protein Fractions

Pooled equine SF was treated using the standard protocol of adding 1 µg/ml hyaluronidase, heating at 37°C for 1 hr, centrifuging at 1,000g for 5 min, removing the supernatant and passing through a 0.22 µm cellulose acetate filter at 5,000g for 15 min. A ProteoMiner™ Small Capacity bead column (Bio-Rad) was loaded with 3.5 mg of protein and processed according to manufacturer instructions. The sample was rotated at room temperature for 2 hr, centrifuged at 1,000g for 1 min (flow-through also collected), the beads washed in 200 µl phosphate buffered saline (PBS), rotated for 5 min and centrifuged for 1 min at 1,000g with the wash flow-through collected. The wash step was completed three further times with the final being completed using deionised water. 20 µl of elution buffer (8 M urea, 5% acetic acid and 2% CHAPS) was added to the column, vortexed several times over 15 min, centrifuged at 1,000g for 15 min and the elution collected. The elution step was repeated two further times. All fractions collected during the protocol were analysed to assess the protein profiles/abundant protein depletion and protein content via 1D SDS PAGE and stained with Coomassie Blue and a Pierce® 660 nm protein assay (Thermo Scientific, Waltham, Massachusetts, USA) respectively.

##### ProteoMinerTM Bead Protein Loading

Following the standard hyaluronidase treatment protocol, 1.0 mg, 2.5 mg and 5.0 mg of a pooled SF sample and 5.0 mg and 10.0 mg of a separate pooled SF sample were loaded onto separate ProteoMinerTM columns. Sample incubation and wash steps were completed according to manufacturer instructions. However, instead of protein elution, a standard on-bead digestion protocol was undertaken as previously stated. 100 µg of native SF protein and 100 µg of protein column flow-through were also digested using the same reduction, alkylation and digestion steps. Protein profiles were assessed using 1D SDS PAGE and stained with Coomassie Blue. Digests were individually analysed via LC-MS/MS with 120 min LC gradients.

##### Gradient Length and Blank Acquisition

SF protein digests used to assess ProteoMinerTM bead protein loading (100 µg native SF and 2.5 mg column loading) were both analysed using LC-MS/MS with 60, 90 and 120 min LC gradients and the number of proteins and peptides identified for each protocol recorded. To assess peptide carry-over between successive samples, after each sample a ‘blank’ sample (containing only sample buffer (97% (v/v) HPLC grade H20 (VWR International), 2.9% acetonitrile (Thermo Scientific) and 0.1% TFA was run on a 30 min LC gradient and the spectra acquired. Following one SF sample a series of five successive blank samples were also run and again the spectra acquired. The abundance of each peptide identified within the blank sample was calculated as a percentage of the abundance within the previous SF sample and the median of peptide percentage carry-overs recorded.

##### Synovial Fluid Protein Digestion Profiles: Coomassie Brilliant Blue vs Silver Stain

100 μg of protein of native human SF and 3 mg loaded ProteoMinerTM columns for the same nine separate human donors underwent a standard 16hr + 2hr trypsin digestion protocol. Digestion profiles were then analysed via 1D SDS PAGE and stained using both Coomassie Brilliant Blue and silver staining.

##### Protein Digestion Optimisation

Variations of the previously stated standard digestion protocols were used for 100 µg and 2.5 mg loaded ProteoMinerTM columns using the 16hr + 2hr trypsin digestion method (Table S2). Native and ProteoMinerTM processed SF was digested using 4hr, 16hr and 16hr + 2hr trypsin protocols. Additionally, for ProteoMinerTM processed SF, a 16hr + 16hr trypsin on-bead digestion protocol was also investigated as well as 16hr trypsin digests centrifuged at 1,000g for 1 min and the second stage protein digestion (2 hr or 16 hr trypsin digestion) carried out on the resulting supernatant. Each of these ProteoMinerTM protocols was also analysed using a pre-digest step of Lys-C endopeptidase (FUJIFILM Wako Pure Chemical, Osaka, Japan). Prior to trypsin digestion, 2 µg of Lys-C (10 µg/ml final digest concentration) was added to the column and incubated at 37˚C for 4 hr. A longer 16hr Lys-C pre-digest was also investigated for the standard 16hr + 2hr trypsin digestion protocol. Different ProteoMinerTM column loading methods were also investigated. After an initial 2hr on-bead sample incubation and centrifugation, a second SF load of equal protein was added to the column and a second 2 hr incubation undertaken. Additionally to this, following a 2 hr on-bead sample incubation and centrifugation, the resultant flow-through was reloaded onto the column and a second 2 hr incubation carried out. As well as on-bead digestion protocols, one column did not undergo protein digestion with the intact proteins eluted using the manufacturer’s instructions and elution buffer, as previously described, to compare the protein bound protein profile to that of the digested protein profiles. Following processing, samples, and ProteoMinerTM beads, were analysed by 1D SDS PAGE and silver staining. LC-MS/MS was undertaken with a 1 hr LC gradient.

##### Tryptic Peptide Reproducibility

Using the same pooled equine SF, following hyaluronidase treatment and CoStar processing, 100 μg of protein and 2.5 mg loaded ProteoMinerTM columns (including ProteoMinerTM flow-throughs) underwent a standard 16hr + 2hr trypsin digestion protocol with three technical replicates of each. All samples were analysed using LC-MS/MS with a 2 hr LC gradient. Additionally, for each sample type, the same vial was also analysed three times to investigate the reproducibility of LC-MS/MS alone. ProteoMinerTM columns loaded with 2.5 mg of pooled SF which underwent a 4hr Lys-C + 16hr + 2hr trypsin protocol were also analysed, although flow-through and repeated vial analysis was not undertaken.

##### Semi-Tryptic Peptide Reproducibility

100 μg protein of native SF underwent 4hr trypsin and 16hr + 2hr trypsin protocols in technical triplicates. 2.5 mg loaded ProteoMinerTM columns underwent 4hr trypsin, 16hr + 2hr trypsin, 4hr Lys-C + 4hr trypsin and 4hr Lys-C + 16hr + 2hr trypsin digestion protocols, also in technical triplicate. All digests were analysed by LC-MS/MS with using 1hr and 2hr LC gradients.

##### 1D SDS PAGE

1 μl of native SF, 5 μl of digested SF or 8 μl of ProteoMinerTM beads were used for 1D SDS PAGE for optimal optimisation of protein bands. Samples were added to Laemmli loading buffer Novex™ (Thermo Scientific) with a final concentration of 15% glycerine, 2.5% SDS, 2.5% Tris (hydroxymethyl) aminomethane, 2.5% HCL and 4% β-mercaptoethanol at pH 6.8 and heated for 5 min at 95˚C. Samples were loaded onto a 4-12% Bis-Tris polyacrylamide electrophoresis gel (NuPAGE™ Novex™, Thermo Scientific) with protein separation undertaken at 200V for 30 min at room temperature.

##### Coomassie Brilliant Blue Staining (Sensitivity = 100 ng of Protein)

Following 1D SDS PAGE, gels were washed three times in ddH2O for 5 min, stained with Coomassie Brilliant Blue stain (R-250, Bio-Rad) for 1 hr, Coomassie stain removed and de-stained with Coomassie Brilliant Blue de-staining solution (R-250, Bio-Rad) for 16 hr.

##### Silver Staining (Sensitivity = 1 ng of Protein)

Following 1D SDS PAGE, gels were silver stained according to manufacturer instructions (Thermo Scientific). Gels were washed twice in ddH2O for 5 min, fixed in 30% (v/v) ethanol (Sigma-Aldrich): 10% (v/v) acetic acid (Sigma-Aldrich): 60% (v/v) ddH20 for 15 min and the fixing step repeated. Gels were washed twice in 10% (v/v) ethanol: 90% (v/v) ddH20 for 5 min, twice in 100% ddH2O for 5 min, incubated in a sensitizer working solution for 1 min and washed twice in 100% ddH2O for 1 min. The gel was then incubated in a stain working solution for 30 min, washed twice in ddH2O for 20 s, incubated in developer working solution for 2-3 min until bands appeared and finally 5% (v/v) acetic acid: 95% (v/v) ddH2O added and incubated for 10 min.

##### LC-MS/MS Spectral Acquisition

All digests were individually analysed via LC-MS/MS on an UltiMate 3000 Nano LC System (Dionex/Thermo Scientific) coupled to a Q ExactiveTM Quadrupole-Orbitrap instrument (Thermo Scientific). Full LC-MS/MS instrument methods are described in the supporting information. Tryptic peptides (equivalent to 200 ng of protein) were loaded onto the column and run over a 30 min, 60 min, 90 min or 120 min LC gradient as stated.

##### PEAKS® Search Parameters

For peptide/protein database searches using PEAKS® Studio 8.5 (Bioinformatics Solutions Inc., Waterloo, Canada) the Equus caballus database was used with search parameters including: precursor mass error tolerance, 10.0 ppm; fragment mass error tolerance, 0.01 Da; precursor mass search type, monoisotopic; enzyme, trypsin; maximum missed cleavages, 1; non-specific cleavage, none; fixed modifications, carbamidomethylation; variable modifications, oxidation or hydroxylation and oxidation (methionine). A 1% false discovery rate (FDR) was set and a minimum of 2 unique peptides required for protein identification. No normalisation was undertaken. PEAKS® searches were used for all peptide and protein identifications except for protein digestion optimisation and semi-tryptic peptide analysis.

##### Mascot Search Parameters

For peptide/protein database searches using an in-house Mascot server Version 2.6.2 45 the Equus caballus database was used with search parameters including: peptide mass tolerance, 10.0 ppm; fragment mass tolerance, 0.01 Da; enzyme, trypsin; missed cleavages allowed, one; fixed modifications, carbamidomethylation (cysteine) and variable modifications; oxidation (methionine), oxidation (proline) and oxidation (lysine). Mascot database searches were used for protein digestion optimisation and semi-tryptic peptide analysis.

##### Semi-Tryptic Peptide Identification and Quantification

Raw spectral files underwent spectral alignment, peak picking and peptide quantification in Progenesis™ QI 2.0 (Nonlinear Dynamics, Waters). No normalisation was undertaken. Peptide identifications were carried out for the top ten spectra of each feature with Mascot, using the same Equus caballus search parameters as for tryptic peptides, except a ‘semi-tryptic’ search was conducted opposed to ‘tryptic’. Peptides, with a 1% FDR correction, were exported from Progenesis™ and technical replicates of semi-tryptic peptide abundances compared using the online neopeptide tool 46.

#### Statistical Analysis

Prior to multivariate analysis, datasets were Pareto scaled and principal component analysis (PCA) plots conducted using MetaboAnalyst 4.0 47. t-tests were conducted in the software package R (https://cran.r-project.org/), box plots constructed using SPSS 24 and histograms drawn using Excel 2013. Peptide reproducibility was analysed using the coefficient of variation (CV) statistic on raw, non-normalised abundance values.

Raw Spectra

All raw metabolomic NMR spectra are available at www.ebi.ac.uk/metabolights/MTBLS1450 48. The mass spectrometry proteomics data have been deposited to the ProteomeXchange Consortium via the PRIDE partner repository with the dataset identifier PXD017069 and 10.6019/PXD017069 49.

Username: reviewer88516@ebi.ac.uk

Password: wdQwP0cu

### Results

#### NMR Metabolomics

#### Spun vs Unspun

Four spectra did not meet recommended minimum reporting standards and were removed from subsequent analyses. Including a centrifugation step prior to freezing identified clear separation on a PCA plot (Figure 1a). Two distinct metabolomes can be discerned with separation determined by PC2. The PCA loadings for PC2 identified metabolite peaks associated with branched chain amino acid biosynthesis (leucine, valine and 2-hydroxybutyrate) as higher in concentration in unspun SF vs spun SF (Figure S2). This is likely due to contamination from intracellular material present within the unspun samples.

#### Different Freezing Protocols

Seven spectra did not meet recommended minimum reporting standards and were removed from subsequent analyses. Unlike the centrifugation protocols, PCA of different SF freezing protocols did not generate separate metabolomic profiles with no distinct groupings identified according to the freezing method used (Figure 1b). However, the SF samples frozen by snap freezing in liquid nitrogen displayed the least variance between technical replicates and this protocol was therefore the most reproducible of those studied.

#### Reproducibility of Separate Synovial Fluid Donors

The collection and processing protocol was identified as being reproducible with three technical replicates of SF from three macroscopically normal MCP joints from three horses clustering separately on a PCA plot (Figure 1c).

Figure 1. Optimisation of equine synovial fluid processing for 1D 1H NMR metabolome analysis. The reproducibility of the metabolome for different processing protocols for equine synovial fluid (SF) was assessed using principal component analysis (PCA). These protocols included (A) with (n=6) and without (n=8) a centrifugation step (2,540g and 4°C for 5 min) prior to freezing and (B) the use of different freezing methods (-20˚C (n=7), -80˚C (n=6), dry ice (n=5) and liquid nitrogen (n=7)). (C) PCA showing reproducibility of the finalised SF processing method (including centrifugation and liquid nitrogen snap freezing) using three separate equine donors with three technical replicates for each donor. PCA shaded regions depict 95% confidence regions.

#### LC-MS/MS Proteomics

#### Hyaluronidase Treatment Protocol Optimisation

SF treated with hyaluraonidase at final concentrations of 0 - 0.50 µg/ml did not fully pass through cellulose acetate membrane filters due to incomplete hyaluraonidase degradation of hyaluronic acid, producing < 200 µl of flow-through (Figure S3a). Concentrations of 0.75 - 2.00 µg/ml however all yielded the same greater volume of flow-through (> 550 µl). No differences were identified between the global proteome profiles between the different hyaluraonidase treatment protocols (Figure S3b).

#### ProteoMinerTM Bead Protein Fractions

ProteoMinerTM columns were found to be effective in equalling the protein concentration dynamic range (Figure S4a). Most of the protein was removed within the initial flow-through with 0.9% attaching to the beads for further analysis of low abundant proteins (Figure S4b).

#### ProteoMinerTM Bead Protein Loading

ProteoMinerTM columns were found to increase the number of identified proteins within equine SF compared to native SF analysis, with 1 mg, 2.5 mg and 5 mg column loadings increasing protein identifications by 112%, 161% and 201% respectively (Figure 2b). Proteomic analysis of flow-through following 5 mg protein loading identified a similar number of proteins compared to native SF. For a separate pooled equine SF sample set, increasing the protein loading from 5 mg to 10 mg only resulted in a small increase in protein identifications (21 proteins, 6%) (Figure 2c). At the level of Coomassie staining, tryptic digestion was sufficient for LC-MS/MS analysis for all protein loadings analysed (1-5 mg) (Figure 2a). Intensity of the highly abundant protein bands, 40-80 kDa, increased with increased protein load. SF was loaded at equal concentration, thus indicating a higher proportion of these proteins within the flow-through with increasing protein load.

Figure 2. ProteoMinerTM Column Loading of Synovial Fluid. (A) Protein profiles of on-bead digests and flow-through (FT) following 1 mg, 2.5 mg and 5 mg protein loading. (B) Number of proteins identified via LC-MS/MS following bead enrichment of depleted proteins and column flow-through for 1 mg, 2.5 mg and 5 mg protein loadings and (C) 5 mg and 10 mg protein loadings for another set of pooled synovial fluid. A full protein gel image can be found in Figure S5.

#### Gradient Length and Blank Acquisition

For both native and ProteoMinerTM processed SF, longer LC gradient lengths resulted in increased numbers of identified proteins, with a higher number of proteins identified following ProteoMinerTM processing (Figure S6). All of the acquired blank samples, bar one, had a low carry-over of peptides from the previous test sample, all with a median percentage carry-over of less than 1 for peptides identified within the blanks. Running a series of consecutive blanks did reduce the number of peptides identified and their peptide abundance carry-over percentage, although this effect was regarded as minimal.

#### Synovial Fluid Protein Digestion Profiles: Coomassie Brilliant Blue vs Silver Stain

At the level of protein sensitivity of Coomassie Brilliant Blue staining, the 16hr + 2hr trypsin digestion protocol indicated complete digestion of both native and ProteoMinerTM processed SF (Figure S7). However, the increased sensitivity of silver staining revealed that whilst native SF digestion was confirmed as complete, incomplete digestion was present on the ProteoMinerTM column. Additionally, the level of incomplete digestion was not uniform across different donors.

#### Protein Digestion Optimisation

Neither increased length of trypsin digestion nor an additional trypsin supplementation appeared to alter the protein profile of Native SF following digestion (Figure 3b). However, for on-bead ProteoMinerTM digestion, increased length of trypsin exposure and supplementation improved digestion efficiency, with clear protein bands present at 50-60 kDa and 260 kDa after 4hr trypsin digestion and near complete digestion following a 16hr + 2hr trypsin digestion protocol. Of the different on-bead tryptic digestion protocols investigated, protein profiles of the digested solutions of equine SF did not reveal as many undigested protein bands as identified previously for human SF (Figure 3a). However, a separate ProteoMinerTM 16hr + 2hr tryptic digestion of equine SF has also previously led to a series of undigested protein bands, detected at the sensitivity of Coomassie Blue (Figure S9). However, an undigested protein band was detected at > 260 kDa for equine SF digests, which was not present for all protocols including the 4 hr Lys-C pre-digest.

For protein profile analysis of the ProteoMinerTM beads, 4hr and 16hr trypsin digestions revealed significant levels of proteins were retained on the beads > 50 kDa, indicating significant incomplete digestion (Figure 3c). A 16hr + 2hr tryptic digestion protocol revealed significant retention of undigested proteins bound to the beads, with molecular weights in the range of 3.5-20 kDa. However, the intensity of these bands was significantly reduced with the introduction of the 4hr Lys-C pre-digestion, and to a lesser extent a 16hr Lys-C pre-digestion step. The intensity of these same bands were less for a 16hr + 16hr trypsin digestion compared to the standard protocol, and were again reduced by the 4hr Lys-C pre-digestion. Protocols in which the second trypsin digestion was completed in-solution, following an on-bead 16hr trypsin digestion, revealed significant levels of undigested proteins remaining on the beads. However, the 4hr Lys-C pre-digestion step resulted in complete digestion of these proteins.

Figure 3. Protein profiles of native and ProteoMinerTM processed equine synovial fluid following protein digestion. (A) Different ProteoMinerTM loading and digestion protocols ± Lys-C endopeptidase pre-digestion (yellow boxes indicate profiles including Lys-C pre-digestion, arrow indicates a protein band not present following Lys-C pre-digestion protocols). (B) Trypsin digestion protocols for native and ProteoMinerTM processed synovial fluid. (C) ProteoMinerTM bead protein profiles following digestion protocols (red box indicates last stages of digestion were carried out in-solution, not on the beads). Full protein gel images can be found in Figure S8.

Increased trypsin exposure time did not significantly increase the number of proteins identified for native SF (Figure 4). All ProteominerTM processed SF protocols resulted in an increased number of protein identifications compared to unprocessed native SF. Increased time of trypsin exposure increased the number of protein identifications for 4hr to 16hr + 2hr trypsin protocols, however a reduced number of proteins were identified following a 16hr + 16hr trypsin protocol. Neither repeated loading of native SF onto the column or reloading of flow-through increased the number of protein identifications, with both methods in fact leading to a reduction in the number of identifications. All trypsin digestion protocols in which Lys-C pre-digestion was included resulted in an increased number of protein identifications compared to the same protocol without a Lys-C pre-digest. Of all protocols examined, the 16hr Lys-C + 16hr + 2hr trypsin protocol resulted in the highest number of protein identifications.

Figure 4. Number of Mascot protein identifications for native and ProteoMinerTM processed equine synovial fluid following different loading and protein digestion protocols involving trypsin ± Lys-C endopeptidase pre-digestion. Pilot study, n=1/digestion protocol.

#### Tryptic Peptide Reproducibility

When the same trypsin digested sample vial was analysed via LC-MS/MS three times, reproducibility was high for all sample types, with 67-87% of identified peptides having a CV value of < 10% (Figure S10). Triplicate repeats of native SF digests provided a good level of reproducibility, with 78% of identified peptides having a CV value of < 20%. Following ProteoMinerTM processing and an on-bead digestion protocol, reproducibility was reduced to 57% of identified peptides having a CV value of < 20%. Analysis of flow-through tryptic peptides provided a reproducibility level between that of native SF and ProteoMinerTM processing and an on-bead digestion, with 61% of identified peptides having a CV value of < 20%.

A 4hr Lys-C pre-digestion prior to the standard on-bead 16hr + 2hr trypsin digestion protocol did not increase reproducibility in terms of CV values (Figure 5). However, Lys-C pre-digestion significantly reduced the average number of missed cleavages/peptide during the digestion protocol, with less variation in the number of missed cleavages per sample. Additionally, analysis using a non-supervised PCA approach, when applying a Lys-C pre-digestion step, reduced the variability between tryptic digestion protocols, providing a more consistent digestion.

Figure 5. Reproducibility of ProteoMinerTM processed synovial fluid protein digests with and without Lys-C endopeptidase pre-digestion. Tryptic peptide reproducibility of three technical replicates (A) with and (B) without a 4hr Lys-C pre-digestion prior to 16hr + 2hr on-bead trypsin digestion. (C) Average number of missed cleavages per peptide and (D) principal component analysis (PCA) of tryptic peptide profiles with (green) and without (red) Lys-C pre-digestion for a series of trypsin digestion protocols. Peptide abundances were analysed via LC-MS/MS with a 1hr LC gradient. CV = coefficient of variation. ** = p < 0.01.

#### Semi-Tryptic Peptide Reproducibility

For semi-tryptic peptide quantification, when using variations of a 4hr trypsin digestion protocol with a 1hr LC gradient, a 4hr on-bead trypsin digestion was by far the most reproducible, with 71% of peptides having a CV value of < 20% (Figure S11). A 4hr Lys-C pre-digestion substantially increased the number of identified peptides (38 to 265) although this was accompanied by a significant reduction in reproducibility, with only 29% of peptides having a CV value of < 20%. For 16hr + 2hr trypsin digestion protocols with a 2hr gradient, digestion of native SF was the most reproducible, with 74% of peptides having a CV value of < 20%. Although ProteoMinerTM column processing increased the number of identified semi-tryptic peptides, both with and without a 4hr Lys-C pre-digestion step, reproducibility dropped significantly, with 33% and 36% of peptides having a CV value of < 20% respectively.

### Discussion

In this study, protocols were optimised for collection and processing of SF for NMR metabolomic and LC-MS/MS proteomic analysis. Optimal NMR metabolome analysis required SF centrifugation followed by snap freezing in liquid nitrogen. Further investigation into time from death for SF collection is advisable as donor variation in technical triplicates is likely due to continued fluctuation of the post mortem metabolome. Optimisation of LC-MS/MS proteomic analysis entailed treatment of SF with 1 µg/ml hyaluronidase and rotational incubation at 37°C for 1 hr with Lys-C endopeptidase pre-digestion greatly improving on-bead tryptic protein digestion when used in conjunction with small-capacity ProteoMinerTM column kits. For semi-tryptic peptide identification, a 16hr + 2hr tryptic digestion of native SF and a 4hr on-bead tryptic digestion were identified as the most reproducible protocols.

SF is an important biofluid to further understand the pathogenesis of articular diseases, and identify specific biomarkers, as it is situated in close proximity to various tissues which are primarily altered by these pathologies 3,4. The use of global metabolite and protein profiling using systematic approaches, including NMR and LC-MS/MS, are becoming increasingly popular. However, to date, there are no agreed standardised published protocols available for collection and processing of SF for these platforms with reproducibility of on-bead digestions of ProteoMinerTM columns, used for peptide-based depletion, yet to be investigated.

Centrifugation of SF prior to freezing, removing cells and cellular debris, resulted in a distinct metabolome compared to SF which did not go through this processing step. It would therefore be recommended to undertake NMR metabolomic analysis on cellular-free SF, avoiding the variation and distinct changes that cell lysis and analysis of cellular contents that may incur on the SF metabolome. This current protocol is however unlikely to remove microvesicles, with a longer and faster centrifugation stage required to achieve this. Further work is required to investigate how the inclusion/exclusion of microvesicles would subsequently affect the SF metabolome. Different freezing method protocols did not result in distinct metabolic profiles, however snap freezing with liquid nitrogen was found to be the most consistent. Snap freezing with liquid nitrogen would therefore be the recommended gold standard freezing method for future studies. However, if SF has been frozen using a different method, it may be acceptable to be included within the same study, provided that cellular material was removed prior to freezing. It should though be noted that freezing methods not involving liquid nitrogen will result in greater variation which may affect study results. It has also been found that storage of SF at low temperature for prolonged periods can alter the biochemical profile 22. Therefore, to optimise study design when freezing is required, analysed SF should be stored for similar periods of time prior to analysis, with this time period kept to a minimum. Using the centrifugation and liquid nitrogen freezing protocol described in this study, we have also demonstrated this method to be reproducible in identifying consistent separate SF metabolite profiles for individual equine donors.

Hyaluronidase breaks down hyaluronic acid and chondroitin sulphate through the cleavage of β-N-acetylhexosamine-(1,4)-glycosidic bonds, causing extracellular matrix breakdown and reduced SF viscosity, resulting in an increased number of protein identifications during LC-MS/MS analysis 50,51. During this study, treatment with 0.75 µg/ml hyaluronidase resulted in sufficient digestion of hyaluronic acid, enabling efficient centrifugation through a 0.22 µm pore cellulose acetate membrane. In order to ensure complete digestion however, a treatment protocol of 1 µg/ml hyaluronidase would be recommended. However, during this study the effect on the number of proteins identified for each hyaluronidase concentration was not investigated. This therefore may be a relevant area for future study. Within this study hyaluronidase treatment was conducted following thawing of frozen SF. Therefore downstream NMR metabolomics and LC-MS/MS proteomics analysis can be conducted on the same frozen SF samples, given the collection and processing protocols are identical until freezing.

Small-capacity ProteoMinerTM column kits recommend a minimum protein loading of 10 mg. However, with a maximum loading capacity of 1 ml, as SF protein concentrations are often less than 10 mg/ml (particularly for post mortem samples) this threshold for protein loading can often not be met 52. Neither initial loading of 5 mg of protein followed by a repeated 5 mg protein load nor reloading of the resultant column flow-through led to an elevation in the number of identified proteins. However, reduced protein loads of 1 mg, 2.5 mg and 5 mg were all found to significantly increase the number of proteins identified, with a 2.5 mg load also shown to be of acceptable reproducibility when undergoing an on-bead protein digestion protocol. Thus, the small-capacity ProteoMinerTM column kit is still compatible with SF to achieve protein concentration dynamic range reductions, despite there being sub-optimal protein loading.

As expected, for both native and ProteoMinerTM processed SF, longer LC gradients resulted in an increased number of protein identifications 53. For native SF a 120 min LC gradient resulted in only a small increase in the number of proteins identified compared to a 90 min LC gradient, 166 compared to 153 proteins. As this small increase in protein identifications is likely to include less abundant proteins, which will also be identified within the ProteoMinerTM processed samples, if native and ProteoMinerTM processed SF are to be analysed within the same study, a 90 min LC gradient is sufficient for native SF analysis. For ProteoMinerTM processed SF however, a 120 min gradient identified substantially more proteins than a 90 min gradient and thus this would be a recommended gradient length for this sample type.

Quantitative proteomic study approaches have become an important methodology for biomarker discovery within complex biological samples 54. However, due to the multivariate nature of sample analysis, a large number of biological replicates are required in order to achieve an adequately powered study. Thus, when undertaking LC-MS/MS, analysing sufficient samples to achieve adequate study power can be cost prohibitive. Within this study, peptide carry-over onto the following sample run was found to be minimal and resultant sample contamination can therefore be considered insignificant. Inclusion of a ‘blank’ sample prior to the following run did result in a reduced number of peptides carried over and a reduced carry-over percentage of those identified, although these decreases were minimal. Thus, a gold standard approach would be to include a ‘blank’ sample in between acquired sample spectra. However, excluding inter-sample blanks will have a minimal impact on experimental analysis and may allow for an increased n number within experimental groups and subsequently a higher powered study and more robust statistical analysis.

For all parameters investigated during this study, pre-digestion with Lys-C prior to tryptic digestion resulted in improved on-bead digestion, irrespective of the tryptic digestion protocol involved. Lys-C digestion resulted in a reduction of undigested proteins bound to ProteoMinerTM beads, a reduction in the number of peptide missed cleavages, improved reproducibility of tryptic peptide quantification and an increased number of protein identifications. Any of the protocols investigated during this study which included a Lys-C pre-digestion step would be acceptable for SF proteome analysis. Although a 16hr Lys-C + 16hr + 2hr trypsin protocol produced the highest number of protein identifications, despite a longer Lys-C incubation time, undigested bound proteins remained bound to the beads which may introduce variability. Although the reason for increased binding of undigested proteins following a 16hr Lys-C digestion compared to 4hr is unknown. 4hr Lys-C + 16hr trypsin on-bead digestion protocols followed by 2hr trypsin digestion (on-bead and in solution) or 16hr trypsin in solution digestion all resulted in minimal levels of undigested proteins remaining bound to the beads. A second 16hr in-solution digestion did not result in an overall increase in the number of identified proteins. Therefore, our recommended on-bead digestion protocol would be a 4hr Lys-C pre-digestion + 16hr tryptic digestion followed by a 2hr trypsin supplementation, either on-bead or in-solution.

Reproducibility of quantifying tryptic peptides following protein concentration dynamic range compression of SF via ProteoMinerTM on-bead digestion has not previously been investigated. Although reproducibility decreased compared to native SF, as expected given the additional selective processing stage, reproducibility was still sufficient to retain confidence in this processing step and is certainly advantageous for biomarker discovery given the increased number of peptides identified. As LC-MS/MS analysis of SF is primarily used for discovery investigations, validation of native SF using orthologous methodologies, including Western blotting and enzyme-linked immunosorbent assays, would also provide greater confidence in the results.

Semi-tryptic peptides are of interest within SF as increased enzymatic activity and cartilage breakdown during arthropathies, such as OA, lead to peptide degradation products which have potential as a diagnostic aid and disease stratification tool 55. Of the protocols investigated, a 16hr + 2hr tryptic digestion of native SF and a 4hr on-bead tryptic digestion were found to be the most reproducible for semi-tryptic peptide quantification. Although these protocols resulted in the fewest semi-tryptic peptide identifications, increased confidence in the semi-tryptic peptides identified is more advantageous, particularly given the time, cost and technical difficulty involved in the development of monoclonal antibodies which might lead on from potential neopeptide discovery 56. Of these two protocols, a shorter, 4hr trypsin protocol would be recommended as longer trypsin incubations can lead to a greater number of non-specific cleavages which may potentially generate false positive biological semi-tryptic peptide identifications 57. Further validation of semi-tryptic peptides of interest would always be recommended, using a multiple reaction monitoring targeted MS/MS approach or carrying out digestion protocols in H218O water to separate biological semi-tryptic peptides from those generated via miscleavages during tryptic digestion 58–60.

#### Conclusion

During this study we have optimised collection and processing protocols for NMR metabolomic and LC-MS/MS proteomic analysis of SF. For optimal metabolomic NMR analysis reproducibility, SF should first be centrifuged then frozen via snap freezing in liquid nitrogen. For proteomic analysis, treatment of SF with 1 µg/ml hyaluronidase and rotational incubation at 37oC for 1 hr provided sufficient enzymatic activity to enable efficient centrifugation through a 0.22 µm pore cellulose acetate membrane. Lys-C endopeptidase pre-digestion was identified to greatly improve on-bead tryptic protein digestion when used in conjunction with small-capacity ProteoMinerTM column kits, resulting in a reduction of undigested proteins bound to ProteoMinerTM beads, a reduction in the number of peptide missed cleavages, improved reproducibility of tryptic peptide quantification and an increased number of protein identifications. To maximise protein identifications using ProteoMinerTM columns, a 4hr Lys-C pre-digestion + 16hr tryptic digestion followed by a 2hr trypsin supplementation would be recommended. For semi-tryptic peptide identification, a 16hr + 2hr tryptic digestion of native SF and a 4hr on-bead tryptic digestion were found to be the most reproducible.

### Supporting Information

Liquid Chromatography Tandem Mass Spectrometry - Detailed Methods

Figure S1. Standard trypsin digestion protocol for on-bead ProteoMinerTM protein digestion, native synovial fluid (SF) and ProteoMinerTM column flow-through protein digestion.

Figure S2. PC2 RMS (Principal component 2 root mean square) values for the 25 metabolite peak components with the highest magnitude, differentiating between spun and unspun equine synovial fluid following 1D 1H NMR metabolome analysis. High = high in spun with respect to unspun. Low = low in spun with respect to unspun.

Figure S3. Synovial fluid hyaluronidase treatment optimisation. Synovial fluid flow-through via cellulose acetate membrane filters following heating at 37°C, for 0-2 µg/ml hyaluronidase treatments and 1D SDS PAGE of protein profiles using different hyaluronidase protocols.

Figure S4. Synovial Fluid Protein Fractions during ProteoMinerTM Column Processing. 1D SDS PAGE of protein profiles at each stage of the low abundant protein enrichment process and total protein within each fraction.

Figure S5. ProteoMinerTM Column Loading of Synovial Fluid (Full Protein Gel Image). Protein profiles of on-bead digests and flow-through (FT) following 1 mg, 2.5 mg and 5 mg protein loading, in addition to native synovial fluid, hyaluronidase treated synovial fluid and the equalised protein profile following elution with the manufacturer’s elution buffer (8 M urea, 5% acetic acid and 2% CHAPS).

Figure S6. Number of peptides identified within native and ProteoMinerTM processed equine synovial fluid using LC-MS/MS for 60 min, 90 min and 120 min LC gradients. The number of peptides identified within blank samples run after synovial fluid samples were also recorded, with the median percentage carry of peptides identified within the blank compared to the previous synovial fluid sample stated above the relevant bar. Inset: Number of proteins identified for the same samples for 60 min, 90 min and 120 min LC gradients.

Figure S7. Protein profiles of native and ProteoMinerTM processed human synovial fluid following trypsin digestion and Coomassie Brilliant Blue or silver staining.

Figure S8. Full protein gel images for protein profiles of native and ProteoMinerTM processed equine synovial fluid following protein digestion.

Figure S9. Undigested proteins within twelve equine synovial fluid samples following a 16hr + 2hr on-bead tryptic digestion protocol using ProteoMinerTM beads.

Figure S10. Technical reproducibility of tryptic peptide abundances following a 16hr + 2hr trypsin digestion protocol of native equine SF with the same digested sample analysed three times and digestion triplicates, 2.5 mg protein loaded ProteoMinerTM columns with the same digested sample analysed three times and digestion triplicates and their subsequent flow-through, with the same digested sample analysed three times and digestion triplicates.

Figure S11. Reproducibility of semi-tryptic peptide abundances within equine synovial fluid analysed by technical triplicates. Native synovial fluid, 4hr trypsin digestion, Native synovial fluid, 16hr + 2hr trypsin digestion, ProteoMinerTM processed synovial fluid, 4hr trypsin digestion, ProteoMinerTM processed synovial fluid, 16hr + 2hr trypsin digestion, ProteoMinerTM processed synovial fluid, 4hr Lys-C + 4hr trypsin digestion, ProteoMinerTM processed synovial fluid, 4hr Lys-C + 16hr + 2hr trypsin digestion. Native synovial fluid digestions were undertaken on 100 µg of protein and ProteoMinerTM columns were loaded with 2.5 mg of protein. Protocols with a 4hr trypsin digestion component were analysed using a 1 hr liquid chromatography gradient whilst those containing a 16hr + 2hr trypsin digestion component were analysed via a 2 hr liquid chromatography gradient prior to tandem mass spectrometry analysis. CV = coefficient of variation.

Table S1. Nuclear magnetic resonance and liquid chromatography-tandem mass spectrometry protocols investigated during this study for metabolite, protein and peptide identification and quantification.

Table S2. Different digestion protocols of native and ProteoMinerTM processed equine synovial fluid.

### Ethics

Equine SF samples were collected as a by-product of the agricultural industry. The Animals (Scientific Procedures) Act 1986, Schedule 2, does not define collection from these sources as scientific procedures and ethical approval was therefore not required. Human SF collection was authorised by the ethics committee at the University of Birmingham via a material transfer agreement and also underwent NHS research ethics service approval (REC 16/SS/0172).

Corresponding author

Mandy J Peffers	peffs@liverpool.ac.uk	Tel: 07872692102

### Author contributions

Wrote the manuscript (J.A.), revised the manuscript (J.A., M.M.P., P.C., M.J.P., L.R.M., S.J.), sample collection (J.A., S.J.), experimental procedures (J.A., M.M.F), analysed the data (J.A., M.M.P., M.J.P., M.M.F), experimental design (J.A., M.M.P., P.C., M.J.P., L.R.M.). All authors read and approved the final manuscript.

### Funding Sources

Dr James Anderson was funded through a Horse Trust PhD studentship (G1015), Professor Mandy Peffers through a Wellcome Trust Intermediate Clinical Fellowship (107471/Z/15/Z) and Mr Matthew Fitzgerald through a Kennel Club Charitable Trust International Canine Health Award. Software licences for data analysis used in the Shared Research Facility for NMR metabolomics were funded by the MRC Clinical Research Capabilities and Technologies Initiative (MR/M009114/1).

Notes

The authors declare no competing financial interest.

### Acknowledgements

The authors would like to thank staff at F Drury and Sons abattoir, Swindon, staff and patients at The Royal Orthopaedic Hospital, Birmingham, Mr Jake Ellis, Cardiff University, for undertaking NMR file depositions, members of the Centre for Protein Research, University of Liverpool, including Professor Rob Beynon, Dr Philip Brownridge and Ms Lynn McLean and Dr Emma Wilson, University of Chester, for creating an original illustration for the abstract graphic.

Abbreviations

1D SDS PAGE, One dimensional sodium dodecyl sulphate polyacrylamide gel electrophoresis; CHAPS, 3-((3-cholamidopropyl) dimethylammonio)-1-propanesulfonate; CPMG, Carr-Purcell-Meiboom-Gill; CV, Coefficient of variation; FDR, False discovery rate; FT, Flow-through; HPLC, High performance liquid chromatography; LC-MS/MS, Liquid chromatography tandem mass spectrometry; MCP, Metacarpophalangeal; MS, Mass spectrometry; NMR, Nuclear magnetic resonance; PBS, Phosphate buffered saline; PCA, Principal component analysis; SF, Synovial fluid; TFA, Trifluoroacetic acid; TSP, Trimethylsilylpropanoic acid.

### References

(1) 	Tamer, T. M. Hyaluronan and Synovial Joint: Function, Distribution and Healing. Interdiscip. Toxicol. 2013, 6 (3), 111–125. https://doi.org/10.2478/intox-2013-0019.

(2) 	Blewis, M. E.; Nugent-Derfus, G. E.; Schmidt, T. A.; Schumacher, B. L.; Sah, R. L. A Model of Synovial Fluid Lubricant Composition in Normal and Injured Joints. Eur Cell Mater 2007, 13, 26–39.

(3) 	Anderson, J. R.; Phelan, M. M.; Clegg, P. D.; Peffers, M. J.; Rubio-Martinez, L. M. Synovial Fluid Metabolites Differentiate between Septic and Nonseptic Joint Pathologies. J. Proteome Res. 2018, 17 (8), 2735–2743. https://doi.org/10.1021/acs.jproteome.8b00190.

(4) 	Mateos, J.; Lourido, L.; Fernandez-Puente, P.; Calamia, V.; Fernandez-Lopez, C.; Oreiro, N.; Ruiz-Romero, C.; Blanco, F. J. Differential Protein Profiling of Synovial Fluid from Rheumatoid Arthritis and Osteoarthritis Patients Using LC-MALDI TOF/TOF. J Proteomics 2012, 75 (10), 2869–2878. https://doi.org/10.1016/j.jprot.2011.12.042.

(5) 	Peffers, M. J.; Smagul, A.; Anderson, J. R. Proteomic Analysis of Synovial Fluid: Current and Potential Uses to Improve Clinical Outcomes. Expert Rev. Proteomics 2019, 16 (4), 287–302. https://doi.org/10.1080/14789450.2019.1578214.

(6) 	Cavill, R.; Jennen, D.; Kleinjans, J.; Briedé, J. J. Transcriptomic and Metabolomic Data Integration. Brief. Bioinform. 2016, 17 (5), 891–901. https://doi.org/10.1093/bib/bbv090.

(7) 	Keun, H. C.; Athersuch, T. J. Nuclear Magnetic Resonance (NMR)-Based Metabolomics. Methods Mol Biol 2011, 708, 321–334. https://doi.org/10.1007/978-1-61737-985-7_19.

(8) 	Alarcon, P.; Hidalgo, A. I.; Manosalva, C.; Cristi, R.; Teuber, S.; Hidalgo, M. A.; Burgos, R. A. Metabolic Disturbances in Synovial Fluid Are Involved in the Onset of Synovitis in Heifers with Acute Ruminal Acidosis. Sci. Rep. 2019, 9 (1), 1–12. https://doi.org/10.1038/s41598-019-42007-1.

(9) 	Karpievitch, Y. V; Polpitiya, A. D.; Anderson, G. A.; Smith, R. D.; Dabney, A. R. Liquid Chromatography Mass Spectrometry-Based Proteomics: Biological and Technological Aspects. Ann. Appl. Stat. 2010, 4 (4), 1797–1823. https://doi.org/10.1214/10-AOAS341.

(10) 	Beckonert, O.; Keun, H. C.; Ebbels, T. M. D.; Bundy, J.; Holmes, E.; Lindon, J. C.; Nicholson, J. K. Metabolic Profiling, Metabolomic and Metabonomic Procedures for NMR Spectroscopy of Urine, Plasma, Serum and Tissue Extracts. Nat. Protoc. 2007, 2 (11), 2692–2703. https://doi.org/10.1038/nprot.2007.376.

(11) 	Beltran, A.; Suarez, M.; Rodríguez, M. A.; Vinaixa, M.; Samino, S.; Arola, L.; Correig, X.; Yanes, O. Assessment of Compatibility between Extraction Methods for NMR- and LC/MS-Based Metabolomics. Anal. Chem. 2012, 84 (14), 5838–5844. https://doi.org/10.1021/ac3005567.

(12) 	Mickiewicz, B.; Kelly, J. J.; Ludwig, T. E.; Weljie, A. M.; Wiley, J. P.; Schmidt, T. A.; Vogel, H. J. Metabolic Analysis of Knee Synovial Fluid as a Potential Diagnostic Approach for Osteoarthritis. J Orthop Res 2015, 33 (11), 1631–1638. https://doi.org/10.1002/jor.22949.

(13) 	Mickiewicz, B.; Heard, B. J.; Chau, J. K.; Chung, M.; Hart, D. A.; Shrive, N. G.; Frank, C. B.; Vogel, H. J. Metabolic Profiling of Synovial Fluid in a Unilateral Ovine Model of Anterior Cruciate Ligament Reconstruction of the Knee Suggests Biomarkers for Early Osteoarthritis. J. Orthop. Res. 2015, 33 (1), 71–77. https://doi.org/10.1002/jor.22743.

(14) 	Duffy, J. M.; Grimshaw, J.; Guthrie, D. J.; McNally, G. M.; Mollan, R. A.; Spedding, P. L.; Trocha-Grimshaw, J.; Walker, B.; Walsh, E. 1H-Nuclear Magnetic Resonance Studies of Human Synovial Fluid in Arthritic Disease States as an Aid to Confirming Metabolic Activity in the Synovial Cavity. Clin. Sci. (Lond). 1993, 85 (3), 343–351. https://doi.org/10.1042/CS0850343.

(15) 	Meshitsuka, S.; Yamazaki, E.; Inoue, M.; Hagino, H.; Teshima, R.; Yamamoto, K. Nuclear Magnetic Resonance Studies of Synovial Fluids from Patients with Rheumatoid Arthritis and Osteoarthritis. Clin. Chim. Acta 1999, 281 (1–2), 163–167. https://doi.org/10.1016/S0009-8981(98)00200-9.

(16) 	Lacitignola, L.; Fanizzi, F. P.; Francioso, E.; Crovace, A. 1H NMR Investigation of Normal and Osteo-Arthritic Synovial Fluid in the Horse. Vet. Comp. Orthop. Traumatol. 2008, 21 (1), 85–88. https://doi.org/10.3415/VCOT-06-12-0101.

(17) 	Hugle, T.; Kovacs, H.; Heijnen, I. A.; Daikeler, T.; Baisch, U.; Hicks, J. M.; Valderrabano, V. Synovial Fluid Metabolomics in Different Forms of Arthritis Assessed by Nuclear Magnetic Resonance Spectroscopy. Clin Exp Rheumatol 2012, 30 (2), 240–245.

(18) 	Damyanovich, A. Z.; Staples, J. R.; Chan, A. D.; Marshall, K. W. Comparative Study of Normal and Osteoarthritic Canine Synovial Fluid Using 500 MHz 1H Magnetic Resonance Spectroscopy. J Orthop Res 1999, 17 (2), 223–231. https://doi.org/10.1002/jor.1100170211.

(19) 	Anderson, J. R.; Chokesuwattanaskul, S.; Phelan, M. M.; Welting, T. J. M.; Lian, L.-Y.; Peffers, M. J.; Wright, H. L. 1 H NMR Metabolomics Identifies Underlying Inflammatory Pathology in Osteoarthritis and Rheumatoid Arthritis Synovial Joints. J. Proteome Res. 2018, 17 (11), 3780–3790. https://doi.org/10.1021/acs.jproteome.8b00455.

(20) 	Graham, R. J. T. Y.; Anderson, J. R.; Phelan, M. M.; Cillan‐Garcia, E.; Bladon, B. M.; Taylor, S. E. Metabolomic Analysis of Synovial Fluid from Thoroughbred Racehorses Diagnosed with Palmar Osteochondral Disease Using Magnetic Resonance Imaging. Equine Vet. J. 2019, evj.13199. https://doi.org/10.1111/evj.13199.

(21) 	Damyanovich, A. Z.; Staples, J. R.; Marshall, K. W. 1H NMR Investigation of Changes in the Metabolic Profile of Synovial Fluid in Bilateral Canine Osteoarthritis with Unilateral Joint Denervation. Osteoarthr. Cartil. 1999, 7 (2), 165–172. https://doi.org/10.1053/joca.1998.0205.

(22) 	Damyanovich, A. Z.; Staples, J. R.; Marshall, K. W. The Effects of Freeze/Thawing on Human Synovial Fluid Observed by 500 MHz 1H Magnetic Resonance Spectroscopy. J. Rheumatol. 2000, 27 (3), 746–752.

(23) 	Mahendran, S. M.; Oikonomopoulou, K.; Diamandis, E. P.; Chandran, V. Synovial Fluid Proteomics in the Pursuit of Arthritis Mediators: An Evolving Field of Novel Biomarker Discovery. Crit. Rev. Clin. Lab. Sci. 2017, 54 (7–8), 495–505. https://doi.org/10.1080/10408363.2017.1408561.

(24) 	Hsueh, M.-F.; Önnerfjord, P.; Kraus, V. B. Biomarkers and Proteomic Analysis of Osteoarthritis. Matrix Biol. 2014, 39, 56–66. https://doi.org/10.1016/J.MATBIO.2014.08.012.

(25) 	Puangpila, C.; Mayadunne, E.; El Rassi, Z. Liquid Phase Based Separation Systems for Depletion, Prefractionation, and Enrichment of Proteins in Biological Fluids and Matrices for in-Depth Proteomics Analysis-An Update Covering the Period 2011-2014. Electrophoresis 2015, 36 (1), 238–252. https://doi.org/10.1002/elps.201400434.

(26) 	Roche, S.; Tiers, L.; Provansal, M.; Piva, M. T.; Lehmann, S. Interest of Major Serum Protein Removal for Surface-Enhanced Laser Desorption/Ionization - Time Of Flight (SELDI-TOF) Proteomic Blood Profiling. Proteome Sci 2006, 4, 20. https://doi.org/10.1186/1477-5956-4-20.

(27) 	Furka, A.; Sebestyen, F.; Asgedom, M.; Dibo, G. General Method for Rapid Synthesis of Multicomponent Peptide Mixtures. Int J Pept Protein Res 1991, 37 (6), 487–493.

(28) 	Lam, K. S.; Salmon, S. E.; Hersh, E. M.; Hruby, V. J.; Kazmierski, W. M.; Knapp, R. J. A New Type of Synthetic Peptide Library for Identifying Ligand-Binding Activity. Nature 1991, 354 (6348), 82–84. https://doi.org/10.1038/354082a0.

(29) 	Fonslow, B. R.; Carvalho, P. C.; Academia, K.; Freeby, S.; Xu, T.; Nakorchevsky, A.; Paulus, A.; Yates, J. R. Improvements in Proteomic Metrics of Low Abundance Proteins through Proteome Equalization Using ProteoMiner Prior to MudPIT. J. Proteome Res. 2011, 10 (8), 3690–3700. https://doi.org/10.1021/pr200304u.

(30) 	Pisanu, S.; Biosa, G.; Carcangiu, L.; Uzzau, S.; Pagnozzi, D. Comparative Evaluation of Seven Commercial Products for Human Serum Enrichment/Depletion by Shotgun Proteomics. Talanta 2018, 185, 213–220. https://doi.org/10.1016/J.TALANTA.2018.03.086.

(31) 	Williams, A. Proteomic Studies of an Explant Model of Equine Articular Cartilage in Response to Proinflammatory and Anti-Inflammatory Stimuli, University of Nottingham, 2014.

(32) 	Peffers, M. J.; McDermott, B.; Clegg, P. D.; Riggs, C. M. Comprehensive Protein Profiling of Synovial Fluid in Osteoarthritis Following Protein Equalization. Osteoarthr. Cartil. 2015, 23 (7), 1204–1213. https://doi.org/10.1016/j.joca.2015.03.019.

(33) 	Davidson, R.; Gardner, S.; Jupp, O.; Bullough, A.; Butters, S.; Watts, L.; Donell, S.; Traka, M.; Saha, S.; Mithen, R.; et al. Isothiocyanates Are Detected in Human Synovial Fluid Following Broccoli Consumption and Can Affect the Tissues of the Knee Joint. Sci. Rep. 2017, 7 (1), 3398. https://doi.org/10.1038/s41598-017-03629-5.

(34) 	Hulme, C. H.; Wilson, E. L.; Peffers, M. J.; Roberts, S.; Simpson, D. M.; Richardson, J. B.; Gallacher, P.; Wright, K. T. Autologous Chondrocyte Implantation-Derived Synovial Fluids Display Distinct Responder and Non-Responder Proteomic Profiles. Arthritis Res. Ther. 2017, 19 (1), 150. https://doi.org/10.1186/s13075-017-1336-7.

(35) 	Anderson, J. R.; Smagul, A.; Simpson, D.; Clegg, P. D.; Rubio-Martinez, L. M.; Peffers, M. J. The Synovial Fluid Proteome Differentiates between Septic and Nonseptic Articular Pathologies. J. Proteomics 2019, 202, 103370. https://doi.org/10.1016/J.JPROT.2019.04.020.

(36) 	Li, L.; Sun, C.; Freeby, S.; Yee, D.; Kieffer-Jaquinod, S.; Guerrier, L.; Boschetti, E.; Lomas, L. Protein Sample Treatment with Peptide Ligand Library: Coverage and Consistency. J. Proteomics Bioinformatice 2009, 2 (12), 485–494.

(37) 	Jekel, P. A.; Weijer, W. J.; Beintema, J. J. Use of Endoproteinase Lys-C from Lysobacter Enzymogenes in Protein Sequence Analysis. Anal. Biochem. 1983, 134 (2), 347–354. https://doi.org/10.1016/0003-2697(83)90308-1.

(38) 	Wu, Z.; Huang, J.; Huang, J.; Li, Q.; Zhang, X. Lys-C/Arg-C, a More Specific and Efficient Digestion Approach for Proteomics Studies. Anal. Chem. 2018, 90 (16), 9700–9707. https://doi.org/10.1021/acs.analchem.8b02448.

(39) 	Siepen, J. A.; Keevil, E.-J.; Knight, D.; Hubbard, S. J. Prediction of Missed Cleavage Sites in Tryptic Peptides Aids Protein Identification in Proteomics. J. Proteome Res. 2007, 6 (1), 399–408. https://doi.org/10.1021/pr060507u.

(40) 	Glatter, T.; Ludwig, C.; Ahrné, E.; Aebersold, R.; Heck, A. J. R.; Schmidt, A. Large-Scale Quantitative Assessment of Different In-Solution Protein Digestion Protocols Reveals Superior Cleavage Efficiency of Tandem Lys-C/Trypsin Proteolysis over Trypsin Digestion. J. Proteome Res. 2012, 11 (11), 5145–5156. https://doi.org/10.1021/pr300273g.

(41) 	Peffers, M. J.; Thornton, D. J.; Clegg, P. D. Characterization of Neopeptides in Equine Articular Cartilage Degradation. J. Orthop. Res. 2016, 34 (1), 106–120. https://doi.org/10.1002/jor.22963.

(42) 	Donaldson, A. E.; Lamont, I. L. Metabolomics of Post-Mortem Blood: Identifying Potential Markers of Post-Mortem Interval. Metabolomics 2014, 11 (1), 237–245. https://doi.org/10.1007/s11306-014-0691-5.

(43) 	McIlwraith, C. W.; Frisbie, D. D.; Kawcak, C. E.; Fuller, C. J.; Hurtig, M.; Cruz, A. The OARSI Histopathology Initiative – Recommendations for Histological Assessments of Osteoarthritis in the Horse. Osteoarthr. Cartil. 2010, 18, S93–S105. https://doi.org/10.1016/J.JOCA.2010.05.031.

(44) 	Sumner, L. W.; Amberg, A.; Barrett, D.; Beale, M. H.; Beger, R.; Daykin, C. A.; Fan, T. W.-M.; Fiehn, O.; Goodacre, R.; Griffin, J. L.; et al. Proposed Minimum Reporting Standards for Chemical Analysis Chemical Analysis Working Group (CAWG) Metabolomics Standards Initiative (MSI). Metabolomics 2007, 3 (3), 211–221. https://doi.org/10.1007/s11306-007-0082-2.

(45) 	Perkins, D. N.; Pappin, D. J.; Creasy, D. M.; Cottrell, J. S. Probability-Based Protein Identification by Searching Sequence Databases Using Mass Spectrometry Data. Electrophoresis 1999, 20 (18), 3551–3567. https://doi.org/10.1002/(SICI)1522-2683(19991201)20:18<3551::AID-ELPS3551>3.0.CO;2-2.

(46) 	Peffers, M.; Jones, A. R.; McCabe, A.; Anderson, J. Neopeptide Analyser: A Software Tool for Neopeptide Discovery in Proteomics Data. Wellcome Open Res. 2017, 2, 24. https://doi.org/10.12688/wellcomeopenres.11275.1.

(47) 	Chong, J.; Soufan, O.; Li, C.; Caraus, I.; Li, S.; Bourque, G.; Wishart, D. S.; Xia, J. MetaboAnalyst 4.0: Towards More Transparent and Integrative Metabolomics Analysis. Nucleic Acids Res. 2018, 46 (W1), W486–W494. https://doi.org/10.1093/nar/gky310.

(48) 	Haug, K.; Cochrane, K.; Nainala, V. C.; Williams, M.; Chang, J.; Jayaseelan, K. V.; O’Donovan, C. MetaboLights: A Resource Evolving in Response to the Needs of Its Scientific Community. Nucleic Acids Res. 2019, 48. https://doi.org/10.1093/nar/gkz1019.

(49) 	Perez-Riverol, Y.; Csordas, A.; Bai, J.; Bernal-Llinares, M.; Hewapathirana, S.; Kundu, D. J.; Inuganti, A.; Griss, J.; Mayer, G.; Eisenacher, M.; et al. The PRIDE Database and Related Tools and Resources in 2019: Improving Support for Quantification Data. Nucleic Acids Res. 2019, 47 (D1), D442–D450. https://doi.org/10.1093/nar/gky1106.

(50) 	Stern, R.; Jedrzejas, M. J. Hyaluronidases: Their Genomics, Structures, and Mechanisms of Action. Chem. Rev. 2006, 106 (3), 818–839. https://doi.org/10.1021/cr050247k.

(51) 	Catterall, J. B.; Rowan, A. D.; Sarsfield, S.; Saklatvala, J.; Wait, R.; Cawston, T. E. Development of a Novel 2D Proteomics Approach for the Identification of Proteins Secreted by Primary Chondrocytes after Stimulation by IL-1 and Oncostatin M. Rheumatology 2006, 45 (9), 1101–1109. https://doi.org/10.1093/rheumatology/kel060.

(52) 	Yahia, D.; El-Hakiem, M. Biochemical Analysis of Synovial Fluid, Cerebrospinal Fluid and Vitreous Humor at Early Postmortem Intervals in Donkeys. J. Adv. Vet. Res. 2014, 4 (1), 6–11.

(53) 	Hsieh, E. J.; Bereman, M. S.; Durand, S.; Valaskovic, G. A.; Maccoss, M. J. Effects of Column and Gradient Lengths on Peak Capacity and Peptide Identification in Nanoflow LC-MS/MS of Complex Proteomic Samples. J. Am. Soc. Mass Spectrom 2013, 24, 148–153. https://doi.org/10.1007/s13361-012-0508-6.

(54) 	Li, H.; Han, J.; Pan, J.; Liu, T.; Parker, C. E.; Borchers, C. H. Current Trends in Quantitative Proteomics - an Update. J. Mass Spectrom. 2017, 52 (5), 319–341. https://doi.org/10.1002/jms.3932.

(55) 	Lotz, M.; Martel-Pelletier, J.; Christiansen, C.; Brandi, M.-L.; Bruyère, O.; Chapurlat, R.; Collette, J.; Cooper, C.; Giacovelli, G.; Kanis, J. A.; et al. Value of Biomarkers in Osteoarthritis: Current Status and Perspectives. Ann. Rheum. Dis. 2013, 72 (11), 1756–1763. https://doi.org/10.1136/annrheumdis-2013-203726.

(56) 	Caterson, B.; Baker, J. R.; Christnerg, J. E.; Leell, Y.; Lentzn, M. Monoclonal Antibodies as Probes for Determining the Microheterogeneity of the Link Proteins of Cartilage Proteoglycan. J. Biol. Chem. 1985, 260 (19).

(57) 	Loziuk, P. L.; Wang, J.; Li, Q.; Sederoff, R. R.; Chiang, V. L.; Muddiman, D. C. Understanding the Role of Proteolytic Digestion on Discovery and Targeted Proteomic Measurements Using Liquid Chromatography Tandem Mass Spectrometry and Design of Experiments. J. Proteome Res. 2013, 12 (12), 5820–5829. https://doi.org/10.1021/pr4008442.

(58) 	Mirgorodskaya, O. A.; Kozmin, Y. P.; Titov, M. I.; Körner, R.; Sönksen, C. P.; Roepstorff, P. Quantitation of Peptides and Proteins by Matrix-Assisted Laser Desorption/Ionization Mass Spectrometry Using18O-Labeled Internal Standards. Rapid Commun. Mass Spectrom. 2000, 14 (14), 1226–1232. https://doi.org/10.1002/1097-0231(20000730)14:14<1226::AID-RCM14>3.0.CO;2-V.

(59) 	Havliš, J.; Shevchenko, A. Absolute Quantification of Proteins in Solutions and in Polyacrylamide Gels by Mass Spectrometry. Anal. Chem. 2004, 76 (11), 3029–3036. https://doi.org/10.1021/ac035286f.

(60) 	Parker, C. E.; Borchers, C. H. Mass Spectrometry Based Biomarker Discovery, Verification, and Validation - Quality Assurance and Control of Protein Biomarker Assays. Mol. Oncol. 2014, 8 (4), 840–858. https://doi.org/10.1016/j.molonc.2014.03.006.

### For TOC Only