Poly-ε-Lysine or Mel4 Antimicrobial Surface Modification on a Novel Peptide Hydrogel Bandage Contact Lens

Rebecca Lace#, Kyle G. Doherty#, Debarun Dutta##, Mark D.P. Willcox, and Rachel L. Williams*

#Joint first authors

Dr. R Lace, Dr. K. G. Doherty, and Prof. R. L. Williams

Department of Eye and Vision Science, Institute of Life Course and Medical Science, University of Liverpool, Liverpool, L7 8TX, UK

Email: rlw@liverpool.ac.uk

Dr. D. Dutta## and Prof. M. Willcox

School of Optometry and Vision Science, University of New South Wales, New South Wales 2052, Australia

##Now working at Department of Optometry, School of Life & Health, Aston University, Birmingham, B4 7ET, UK

Keywords: antimicrobial, contact lens, Pseudomonas, microbial keratitis, antimicrobial peptides

Microbial keratitis (MK) is a serious issue in many countries and is often caused by contact lens wear. Antimicrobial peptides (AMPs) are a potentially useful tool for creating antimicrobial surfaces in light of increasing antibiotic resistance. Poly--lysine (pK) is an AMP that has been used extensively as a food preservative and Mel4 has recently been synthesised and studied as an antimicrobial coating for contact lenses. A hydrogel synthesised of pK cross-linked with biscarboxylic acids provides a potential lens material which has many surface free amines, that can be subsequently used to attached additional AMPs, creating an antimicrobial lens. The aim of this study was to investigate pεK hydrogels against a clinical strain of Pseudomonas aeruginosa for preventing or treating MK. Covalent attachment of AMPs was investigated and confirmed by fluorescently tagged peptides. Bound pK effectively reduced the number of adherent P. aeruginosa in vitro (>3 log). In ex vivo studies positive antimicrobial activity was observed on bare pK hydrogels and those with additionally bound pK or Mel4; lenses allowed the maintenance of the corneal epithelium. A pεK hydrogel contact lens with additional AMPs could be a therapeutic tool to reduce the incidence of MK.

Microbial keratitis (MK) is an infectious disease affecting the cornea leading to inflammation, ulcerations and eventually vision loss.  MK is a severe public health problem and equates to 1.5 – 2 million cases of vision loss annually.[1] Bacterial keratitis is the most common form of keratitis in developed countries, usually arising from contact lens wear.[1a, 2] Pseudomonas aeruginosa is one of the top three isolates in 13 out of 20 studies.[1b] The traditional treatment method, in over 90% of cases[3], for MK is a broad spectrum of fortified antibiotic eye drops.[4] However, prolonged use of antibiotics is toxic to the cornea and can have a detrimental effect on corneal reepithelialisation.[4b] There is also a lack of efficacy with the use of antibiotic eye drops with only approximately 5% being absorbed.[5] In addition, antimicrobial resistance has been identified by the World Health Organisation as a growing threat.[4a, 6] In some cases, bandage contact lenses are applied to aid wound healing and prevent further microbial insult during healing.[7] Therefore, there is potential in exploring a synthetic antimicrobial contact lens which could prevent bacterial adhesion when the epithelium is compromised, such as during corneal collagen cross-linking, or be used as a tool in the treatment for MK.

Several antimicrobial peptides (AMPs) have been found in the ocular surface, such as defensins and LL-37.[8] The typical, although not exclusive, general mode of action of cationic peptides is disruption of the microbial membrane.[8-9] The cationic peptides interact with the anionic components of microbial membranes, causing disruption and permeabilization, leading to cell death.[8, 10] The Willcox group at University of New South Wales (UNSW) are experienced in AMP modification of contact lenses. They have reported primarily on the AMP melimine and its shorter derivative, Mel4.[11] Melimine is a cationic antimicrobial peptide (AMP) which has previously been shown to have a broad spectrum of antimicrobial activity however superficial corneal staining was reported in a human trial.[11a, 11b, 11d, 11e, 11h] Mel4 is a smaller derivative of melimine, which had less corneal staining compared to melimine lenses.[11d] Contact lenses modified with Mel4 at a concentration of 3.1 mg cm−3 have been reported to be active against many bacterial strains with no toxicity or ocular irritation in an animal study.[11c, 11f, 11g]

Poly-ε-lysine (pεK) is a naturally occurring AMP that is non-toxic and used as both an emulsifier and food preservative.[7, 12]  The Williams group of the University of Liverpool (UoL) can produce a family of hydrogels synthesised from pεK peptide, cross-linked with octanedioic-acid or nonanedioic-acid to produce tailorable, transparent hydrogels that are non-toxic to corneal cells in vitro. They have demonstrated the antimicrobial properties of these hydrogels against S. aureus and they can be cast into contact lens moulds.[3, 7, 13] Free amine groups are present on the hydrogel surface allowing the covalent binding of additional AMPs. In this study we aim to combine our expertise and investigate the antimicrobial activity of two promising AMPs, pεK and Mel4, covalently bound to a hydrogel contact lens, against P. aeruginosa for the prevention and treatment of MK.

PεK was cross-linked 60% with octanedioic-acid using N-hydroxysulfosuccinimide (NHS) and 1-ethyl-3-(3-dimethylaminopropyl) carbodiimide (EDCI),  to a polymer density of either 0.1 g cm-3 or 0.13 g cm-3 (named 60%0.1 and 60%0.13 respectively hereafter) as previously described, see supporting infomation and Table S1.[7] The physical properties of the hydrogels including their contact angle, water content, tensile properties and transparency were investigated. Both hydrogels were highly hydrophilic and had an average contact angle of 15.1° ± 4° and 16.3° ± 5.6 for 60%0.1 and 60%0.13 respectively; hydrogels were not significantly different (p=0.775) (Figure 1.a), meaning water spread easily across the surface. High wettability of contact lenses has been linked to better comfort.[14] The hydrophilic nature of the pεK hydrogels is likely due to the presence of many polar amine groups on the materials surface, as well the high water content of hydrogels. Both pεK hydrogels had a high water content similar to commercially available contact lenses,[15] 71.8% ± 1.5 and 68.5% ± 5.8 for 60%0.1 and 60%0.13 respectively (p=0.38; Figure 1.b). Water in the hydrogel can facilitate oxygen permeability and transport; which may help prevent corneal edema.[14a] The elastic moduli of both hydrogels was similar; 60%1.3 was stiffer at 402.4 kPa ± 72.1 compared to 256.8 kPa ± 45.9 for 60%0.1 (p=0.078) (Figure 1.c). The ultimate tensile strength (UTS) was significantly different (p=0.021); 60%0.1 had a UTS of 45.9 kPa whereas 60%0.13 was higher at 72.1 kPa (Figure 1.c). However, 60%0.1 was easier to handle and less prone to snapping when pinched. These values are within the range of soft hydrogels, especially the Acuvue lens product family.[15] Previous work on these hydrogels indicated there was a slight increase in stiffness, but an insignificant change in UTS following covalent attachment of additional pεK.[7] Both hydrogels had excellent transparency, allowing passage of light across all the tested wavelengths of the visible spectrum; 560nm was chosen as a representative wavelength. The % light transmission was 94.4% ± 0.7 and 93.1% ± 0.2 for 60%0.1 and 60%0.13 respectively (Figure 1.d). Light transmission for other wavelengths can be found in Figure S1.  These were comparable to a control commercial contact lens (Acuvue 2) at 98.2% ± 0.8, however both hydrogels were significantly different to the control (p<0.001). These physical properties of the hydrogels demonstrate their suitability and potential to be used as a therapeutic contact lens.

To demonstrate whether additional peptides successfully bound to the hydrogels, pεK and Mel4 were fluorescently tagged with Alexa Fluor 594 NHS ester (named +pεK 594 and +Mel4 594), prior to covalently binding them to pεK hydrogels. Untagged peptides (+pεK and +Mel4) served as controls. Covalent binding of untagged peptides caused no change in fluorescence compared to bare gel (60%0.1). Hydrogels with fluorescently-tagged peptides had approximately 12-fold increases in fluorescent signals, despite copious washes with water; confirming the peptides were covalently bound to the hydrogels (Figure 1.e). Due to the strong fluorescent signal, the widely reported carbodiimide chemistry methods, and the observed antimicrobial activity, we did not repeat this experiment for statistical analysis.

Lenses were incubated with 1x106 CFU P. aeruginosa overnight and the number which had bound to the lenses were determined. The polymer density in the hydrogel had an insignificant effect on bacterial adhesion, irrespective of subsequent peptide modification. The bare pεK hydrogels had a small log reduction of 0.6 (60%0.1) and 0.7 (60%0.13) compared to inoculum (Figure 2). PεK is innately antimicrobial due to its cationic nature but nine or more free lysine residues are required for optimal antimicrobial activity.[16] This is likely the reason why bare pεK hydrogels are not inherently antimicrobial, due to their cross-linked nature they do not have many molecular chains long enough to disrupt bacterial membranes.

These hydrogels, however, have an abundance of free amine groups which can be further utilised to covalently bind cell adhesive motifs,[13a] ionically trap antimicrobial drugs or covalently bind AMPs.[7, 13b] The UoL group has previously demonstrated that we can impart antimicrobial activity by binding additional pεK peptides to the surface of the hydrogels using a similar method to the hydrogel synthesis but in the absence of a cross-linking diacid. This method was effective at producing an ~2 log reduction in attached Staphylococcus aureus compared to the bare gel. A similar reduction in planktonic S. aureus was observed when hydrogels were impregnated with penicillin G.[7]  Here we demonstrate that when additional pεK was bound to both hydrogels (60%0.1+pεK and 60%0.13+pεK) there was a >3 log reduction in CFU for P. aeruginosa compared to the inoculum (Figure 2). These were significantly different to bare lenses (p<0.05).

The addition of Mel4 resulted in a 0.2 log reduction compared to inoculum on 60%0.1+Mel4 hydrogels (p=0.0085 and p=0.011 compared to 60%0.1+pεK, and 60%0.13+pεK respectively), and less on the 60%0.13+Mel4 (p=0.0066 and p=0.0085 compared to 60%0.1+pεK, and 60%0.13+pεK, respectively). Addition of Mel4, using the same binding method to that used for pεK, on the commercial poly hydroxyethyl methacrylate (pHEMA) contact lenses (Acuvue 2, Etafilcon A) resulted in a 0.5 log reduction in CFU. Previous work by the Willcox group has demonstrated a >2 log reduction against P. aeruginosa when Mel4 bound was bound to silicone hydrogel lenses[11g] and  a 1.3 log reduction when bound to pHEMA.[11f] In these studies a different method of binding the Mel4 was used which would influence the way in which the AMP was attached to the surface. When pεK was bound to commercial pHEMA lenses a lesser effect (1.2 log reduction) was observed compared to the 60%0.1+pεK and 60%0.13+pεK hydrogel equivalents, this was not significantly different compared to any lenses (p>0.05, Figure 2).

There are two main considerations which may explain why we observe differences in this and earlier studies. The first consideration is the difference in peptide binding methods due to the different surface chemistry of pεK hydrogels and pHEMA. The pHEMA or acrylic acid-modified silicone lenses contain surface carboxyl groups whereas the pεK hydrogels contain surface amine groups. The EDCI/NHS reacts with the carboxyl groups and promotes the peptide bond formation with the amine functional groups.[17] The amine rich pεK hydrogel surface encourages the carboxyl of the peptide C-terminus to bind to the surface, whereas any amine along the pεK peptide may bind to the ‘activated’ carboxyl groups of the pHEMA, thereby shortening the AMP chain length. This could influence the antimicrobial activity of the bound AMP, resulting in the significant reduction in antimicrobial activity observed when pεK was bound to pHEMA lenses compared to pεK hydrogels (Figure 2). However, previous work by UNSW has shown that the activity of melimine is reduced when bound to a surface by its C-terminus compared to when bound by its N-terminus or at an approximate central position.[18] This may explain the reduction of antimicrobial activity of Mel4 compared to previous work. This work may indicate that aminated surfaces are beneficial for modification by some AMPs, but not others and so the optimal binding method should be considered for each AMP.

The second consideration is the difference in length of the peptides; pεK used in this study contains approximately 25-35 residues, whereas the Mel4 contains only 17 residues, which may explain the differences in antimicrobial activity between pεK and Mel4 observed in this study. Liu et al. also showed that increasing the length of AMPs improved their antimicrobial activity by synthesising repeated units of Arg(R) and Trp(W), RWn where n = 1-5,[19] and the longer peptide melimine (29 residues) has greater antimicrobial activity compared to the shorter Mel4.[11f] Researchers from UNSW ‘activated’ the surface carboxyl groups on the acrylics prior to adding AMPs[11c-h] whereas within this and previous studies from UoL researchers[7, 13a] AMPs and EDCI/NHS are added simultaneously. Adding AMP and EDCI/NHS simultaneously could cause some AMPs to bind to each other, effectively shortening the chain of free amino acids, creating an interconnected net-like structure, which may reduce the antimicrobial effect although the mechanisms are likely to be more complicated for AMPs which have a variety of amino acids compared to the simple pεK.[9a] For example work by Juba et al. demonstrated differences in efficacy and mechanism between the AMP peptide NA-CATH and its truncated isomers L- and D-ATRA-1A; NA-CATH had a greater antimicrobial activity.[20] These different binding methods could also explain the reduced efficacy of Mel4 when bound to pHEMA in this work compared to previous publications. Mel4 was added at the same concentration as the previously reported work. The binding method reported in this work is expected to behave similarly.

For the ex vivo study only 60%0.1 pεK hydrogels were used as they had favourable handling properties with no difference in antibacterial properties between the two formulations. We adapted an ex vivo culture model,[21] and damaged the cornea by ethanol treatment and mechanical scraping then pipetted the bacteria onto the cornea. This successfully removed the superficial stratified epithelium (Figure 3.b) which contains the glycocalyx and successfully allowed an inoculum of 106 P. aeruginosa 6294 to infect and disrupt the remaining epithelium.[22] Prior to wounding, the porcine corneas had 2-3 layers superficial stratified squamous epithelium, observed as densely stained areas (Figure 3.a), similar to that reported by Crespo-Morales et al.[23] Corneas incubated overnight without inoculation with P. aeruginosa had begun to regrow a squamous epithelial layer (Figure 3.b & 3.g). Removal of the superficial layers allowed P. aeruginosa to infect the corneas where no hydrogels were present, which resulted in disintegration of the epithelium. During overnight incubation the epithelium became compromised and dissociated from the stroma (Figure 3.c) and a high density of Gram-stained bacteria were observed on the exposed stroma (Figure 3.h).

The H&E and Gram staining demonstrated that if a hydrogel (60%0.1, 60%0.1+pεK or 60%0.1+Mel4) was placed on the cornea after inoculation the epithelium beneath the hydrogels was preserved and remained largely intact (Figure 3.d-f), compared to infection control samples with no hydrogel (Figure 3.c). Although some bacteria were observed on the apical surface of the epithelium, there were no bacteria observed within the epithelium or the stroma beneath these hydrogels suggesting that direct contact of the AMPs killed the bacteria before they were able to invade the stromal tissue, similar to a recently published study.[24] These lenses may be useful as a bandage contact lens following corneal collagen cross-linking to prevent microbial keratitis, as current bandage lenses have been identified as a possible risk factor.[25] Many bacteria were observed on the apical surface beneath bare 60%0.1 hydrogels (Figure 3.i), whereas only a few bacteria were observed beneath +pεK (Figure 3.k) or +Mel4 hydrogels (Figure 3.m). Gram stained bacteria were present at the outer edges of the corneas which were not beneath the hydrogels and the epithelium appeared similar to the infection control (Figure 3.j, 3.l & 3.m). This suggests that the AMPs were covalently bound to the hydrogels as antimicrobial action was only observed when in contact with the infected area. A dual action lens could be developed with pεK bound to hydrogel which was soaked in an antimicrobial agent that could elute over time to add further functionality to these lenses.[7, 13b]

We have demonstrated that a pεK-based hydrogel can impart antimicrobial activity in vitro and in a porcine ex vivo model against a clinical isolate of P. aeruginosa. A >3.0 log reduction can be achieved when additional pεK is bound to the surface of the hydrogel. Mel4 does not effectively impart antimicrobial activity when bound to the pεK surface or the pHEMA surface using this binding technique. Ex vivo analysis demonstrated that hydrogels preserved the epithelium after 18 hours of incubation with P. aeruginosa 6294 and demonstrated positive antimicrobial activity when hydrogels were bound with additional AMPs (+pεK & +Mel4) in the area underneath the gels suggesting that direct contact with the bound AMPs is necessary to kill the bacteria.

Experimental Section

See supporting information.

Supporting Information

Supporting Information is available from the Wiley Online Library or from the author.

Acknowledgements

Funded by EPSRC grant no: EP/M002209/1

Author 1 and Author 2 contributed equally to this work

SpheriTech Ltd for providing poly-ε-lysine

Received: ((will be filled in by the editorial staff))
Revised: ((will be filled in by the editorial staff))
Published online: ((will be filled in by the editorial staff))

References

[1]	a) C. Ezisi, C. Ogbonnaya, O. Okoye, E. Ezeanosike, H. Ginger-Eke, O. Arinze, Niger. J. Ophthalmol. 2018, 26, 13; b) L. Ung, P. J. M. Bispo, S. S. Shanbhag, M. S. Gilmore, J. Chodosh, Surv. Ophthalmol. 2019, 64, 255.

[2]	A. Shah, A. Sachdev, D. Coggon, P. Hossain, Br. J. Ophthalmol. 2011, 95, 762.

[3]	J. Aveyard, R. C. Deller, R. Lace, R. L. Williams, S. B. Kaye, K. N. Kolegraff, J. M. Curran, R. A. D’Sa, ACS Appl. Mater. Interfaces 2019, 11, 37491.

[4]	a) P. Garg, S. Sharma, G. N. Rao, Ophthalmol. 1999, 106, 1319; b) S. Tuft, M. Burton, The Royal College of Ophthalmologists 2013, 5.

[5]	R. L. Williams, H. J. Levis, R. Lace, K. G. Doherty, S. M. Kennedy, V. R. Kearns, in Encyclopedia of Biomedical Engineering (Ed: R. Narayan), Elsevier, Oxford 2019, pp. 289-300.

[6]	a) World Health Organisation, Global Action Plan on Antimicrobial Resistance,  2015; b) M. Cabrera-Aguas, P. Khoo, C. R. R. George, M. M. Lahra, S. L. Watson, Clin. Experiment. Ophthalmol. 2020, 48, 183.

[7]	A. G. Gallagher, J. A. Alorabi, D. A. Wellings, R. Lace, M. J. Horsburgh, R. L. Williams, Adv. Healthc. Mater. 2016, 5, 2013.

[8]	A. M. McDermott, Ocul. Surf. 2004, 2, 229.

[9]	a) J. D. F. Hale, R. E. W. Hancock, Expert Rev. Anti-infect. Ther. 2007, 5, 951; b) T. Berry, D. Dutta, R. Chen, A. Leong, H. Wang, W. A. Donald, M. Parviz, B. Cornell, M. Willcox, N. Kumar, C. G. Cranfield, Langmuir 2018, 34; c) M. Yasir, D. Dutta, M. D. P. Willcox, Scientific Reports 2019, 9.

[10]	a) Y. Shai, J. Pept. Sci. 2002, 66, 236; b) B. Bechinger, S.-U. Gorr, J. Dent. Res. 2017, 96, 254.

[11]	a) M. D. P. Willcox, E. B. H. Hume, Y. Aliwarga, N. Kumar, N. Cole, J. Appl. Microbiol. 2008, 105, 1817; b) R. Rasul, N. Cole, D. Balasubramanian, R. Chen, N. Kumar, M. D. P. Willcox, Int. J. Antimicrob. Agents 2010, 35, 566; c) D. Dutta, T. Zhao, K. B. Cheah, L. Holmlund, M. D. P. Willcox, Cont. Lens Anterior Eye 2017, 40, 175; d) D. Dutta, A. K. Vijay, N. Kumar, M. D. P. Willcox, Invest. Ophthalmol. Vis. Sci. 2016, 57, 5616; e) D. Dutta, J. Ozkan, M. Willcox, Optom. Vis. Sci. 2014, 91, 570; f) D. Dutta, N. Kumar, M. D. P. Willcox, Biofouling 2016, 32, 429; g) D. Dutta, B. Kamphuis, B. Ozcelik, H. Thissen, R. Pinarbasi, N. Kumar, M. D. P. Willcox, Optom. Vis. Sci. 2018, 95, 937; h) D. Dutta, N. Cole, N. Kumar, M. D. P. Willcox, Invest. Ophthalmol. Vis. Sci. 2013, 54, 175.

[12]	M. Hyldgaard, T. Mygind, B. S. Vad, M. Stenvang, D. E. Otzen, R. L. Meyer, Appl. Environ. Microbiol. 2014, 80, 7758.

[13]	a) S. Kennedy, R. Lace, C. Carserides, A. G. Gallagher, D. A. Wellings, R. L. Williams, H. J. Levis, J Mater Sci Mater Med 2019, 30, 102; b) A. G. Gallagher, K. McLean, R. M. K. Stewart, D. A. Wellings, H. E. Allison, R. L. Williams, Invest. Ophthalmol. Vis. Sci. 2017, 58, 4499.

[14]	a) C. S. A. Musgrave, F. Fang, Materials (Basel) 2019, 12, 261; b) M. Guillon, C. Maissa, Cont. Lens Anterior Eye 2007, 30, 5.

[15]	E. Kim, M. Saha, K. Ehrmann, Eye Contact Lens 2018, 44, S148.

[16]	a) S. Shima, H. Matsuoka, T. Iwamoto, J. Antibiot. Res. 1984, 37, 1449; b) T. Yoshida, T. Nagasawa, Appl. Microbiol. Biotechnol. 2003, 62, 21.

[17]	a) Z. Grabarek, J. Gergely, Anal. Biochem. 1990, 185, 131; b) G. L. Grobe III, P. L. Valint Jr., D. M. Ammon Jr., J. Biomed. Mater. Res. 1996, 32, 45.

[18]	R. Chen, M. D. P. Willcox, N. Cole, K. K. K. Ho, R. Rasul, J. A. Denman, N. Kumar, Acta Biomaterialia 2012, 8.

[19]	Z. Liu, A. Brady, A. Young, B. Rasimick, K. Chen, C. Zhou, N. R. Kallenbach, Antimicrob. Agents Chemother. 2007, 51, 597.

[20]	M. L. Juba, D. K. Porter, E. H. Williams, C. A. Rodriguez, S. M. Barksdale, B. M. Bishop, Biochim. Biophys. Acta, Biomembranes 2015, 1848, 1081.

[21]	a) P. Deshpande, M. Notara, N. Bullett, J. T. Daniels, D. B. Haddow, S. MacNeil, Tissue Eng. Part A 2009, 15, 2889; b) A. Pinnock, N. Shivshetty, S. Roy, S. Rimmer, I. Douglas, S. MacNeil, P. Garg, Graefe's archive for clinical and experimental ophthalmology = Albrecht von Graefes Archiv fur klinische und experimentelle Ophthalmologie 2017, 255.

[22]	Y. Uchino, Invest. Ophthalmol. Vis. Sci. 2018, 59, DES157.

[23]	M. Crespo-Moral, L. García-Posadas, A. López-García, Y. Diebold, PLoS One 2020, 15, e0227732.

[24]	S. M. Kennedy, P. Deshpande, A. G. Gallagher, M. J. Horsburgh, H. E. Allison, S. B. Kaye, D. A. Wellings, R. L. Williams, Invest. Ophthalmol. Vis. Sci. 2020, 61.

[25]	A. Tzamalis, V. Romano, R. Cheeseman, R. Vinciguerra, M. Batterbury, C. Willoughby, T. Neal, S. Ahmad, S. Kaye, BMJ Open Ophthalmology 2019, 4.

Figure 1. Physical properties of 60%0.1 and 60%0.13 pεK hydrogels demonstrated; a. Hydrogels were very hydrophilic (15.1° – 16.3°). b. Hydrogels had a high water content (63.7 – 67.8%). c. The pεK hydrogels stiffness ranged between 256.8kPa - 402.4kPa and ultimate tensile strength (UTS) ranged between 45.9 – 72.1, which was significantly different to each other, p=0.021. d. Hydrogels were extremely transparent (93.1% - 94.4%) however both hydrogels were significantly different to the control (98.2%), p<0.001. 560nm shown as representative wavelength. e. Hydrogels bound with fluorescently tagged peptides had a high relative fluorescence signal (12 fold increase) even after extensive washing, confirming covalent binding. Error bars represent ±1 standard deviation. * indicates p<0.05, *** indicates p<0.001.

Figure 2. Log reduction of bacteria compared to inoculum on novel hydrogels and commercial lenses (Acuvue2) with bound antimicrobial peptides. The addition of pendant pεK resulted in the greatest reduction across all lens types. A >3 log reduction was observed on pεK+pεK hydrogels. Both pεK+pεK hydrogels were significantly different to 60%0.13+Mel4 and Commercial Lens+Mel4 by p<0.01, and bare 60%0.1 and 60%0.13 hydrogels by p<0.05.  60%0.1+Mel4 was also significantly different to 60%0.1+pεK (p<0.01) and 60%0.13+pεK (p<0.05). * indicates p<0.05, ** indicates p<0.01.

Figure 3. (a-f) H&E and (g-n) gram staining of formalin-fixed paraffin-embedded porcine corneas. a. Non-wounded no infection control shows the intact porcine cornea; b. wounded no infection control demonstrates removal of apical stratified squamous layers by wounding; c. infection control demonstrates destruction of the cornea after 18 h incubation with P. aeruginosa; d. 60%0.1 hydrogel demonstrates preservation of the epithelium despite P. aeruginosa; e. shows epithelial preservation by 60%0.1+pεK hydrogel; f. similarly demonstrates epithelial preservation by 60%0.1+Mel4 hydrogel; g. No infection control demonstrating stratified epithelium and one layer of regrowth of the apical squamous epithelium; h. demonstrates complete removal of the epithelium and bacterial penetration into the stroma tissue 18h after inoculation with P. aeruginosa 6294; i. demonstrates the area beneath 60%0.1 hydrogel, showing many bacteria near the detached epithelial cells; j. shows the edge of the same in an area not underneath the hydrogel; k. demonstrates an intact epithelium beneath a 60%0.1+pεK hydrogel with very few bacteria present; l. represents an area of the same cornea not beneath the hydrogel; m. also demonstrates perseveration of the corneal epithelium beneath a 60%0.1+Mel4 hydrogel with only a few bacteria visible on the apical surface; n. demonstrates a compromised epithelium in an area not beneath the 60%0.1+Mel4 hydrogel. Black arrows indicate P. aeruginosa. Scale bar = 10µm

The table of contents entry should be 50−60 words long and should be written in the present tense and impersonal style (i.e., avoid we). The text should be different from the abstract text.

Keyword antimicrobial

Rebecca Lace, Kyle G. Doherty, Debarun Dutta, Mark D.P. Willcox, and Rachel L. Williams*

Poly-ε-Lysine or Mel4 Antimicrobial Surface Modification on a Novel Peptide Hydrogel Bandage Contact Lens

The antimicrobial activity of a poly-ε-lysine (pεK) based hydrogel can be enhanced by attachment of antimicrobial peptides (AMPs). The AMPs, Mel4 or additional pεK, were covalently attached to the hydrogel using carbodiimide chemistry. Hydrogel lenses demonstrate antimicrobial activity in vitro and in an ex vivo porcine corneal infection model.

Copyright WILEY-VCH Verlag GmbH & Co. KGaA, 69469 Weinheim, Germany, 2018.

Supporting Information

Poly-ε-Lysine or Mel4 Antimicrobial Surface Modification on a Novel Peptide Hydrogel Bandage Contact Lens

Rebecca Lace#, Kyle G. Doherty#, Debarun Dutta, Mark D.P. Willcox, and Rachel L. Williams*

#Joint first authors

Experimental Section

PεK was provided by Spheritech Ltd, UK having been purchased from Zhengzhou Bainafo Bioengineering Co. Ltd (Zhengzhou City, Henan Province, P.R. China) and has of 25-35 residues. Mel4 (K-N-K-R-K-R-R-R-R-R-R-G-G-R-R-R-R) was synthesized by conventional solid-phase peptide synthesis protocols and was obtained from Auspep Pty. Ltd. (Tullamarine, Victoria, Australia; ≥90% purity).

PεK Hydrogel Synthesis

PεK hydrogels were synthesised as previously described.[13a] PεK was cross-linked 60% with octanedioic-acid (Sigma-Aldrich, Dorset, UK) to a polymer density of either 0.1 g cm-3 or 0.13 g cm-3 (named 60%0.1 and 60%0.13 respectively hereafter) using carbodiimide chemistry with N-hydroxysulfosuccinimide (NHS, CarboSynth ltd, Berkshire, UK) and 1-ethyl-3-(3-dimethylaminopropyl) carbodiimide (EDCI, CarboSynth ltd, Berkshire, UK) as the activators.[17a] Specifically, to make 10 cm3 solution, pεK and octanedioic acid were weighed and dissolved in distilled H2O (dH2O) (3 cm3) in a universal with N-Methylmorpholine (NMM, Sigma-Aldrich, UK) and 100 mm3 of 5% Tween 20. For specific weights (grams) and volumes (mm3) to make 60%0.1 and 60%0.13 hydrogel please see Table S1.  This was placed on a roller until dissolved. Once the pεK solution was fully dissolved, NHS and EDCI were weighed and dissolved in dH2O in a separate universal (3 cm3). Once the NHS and EDCI solution was dissolved it was immediately added to the pεK/octanedioic acid solution before topping up the solution to a final volume (10 cm3) with dH2O.  This solution was inverted ten times and cast into a 90 mm non-tissue culture treated petri dish.  Hydrogels were left to polymerise overnight at room temperature, followed by 5 x 5 mins dH2O washes. For specific weights and volumes to make pεK hydrogels please see, Table S1.

Peptide Binding of Additional pεK and Mel4

Prior to covalent binding, precast pεK hydrogels were washed 3 times with 10% NMM in dH2O solution then washed 3 times in dH2O to remove salts from amines. Round discs were punched out of the hydrogel sheet using a 1 cm diameter punch. Additional pεK was covalently bound to cast pεK hydrogels via available amine sites as previously described.[7] Specifically, pεK (3 g) was dissolved in 20 cm3 dH2O and rolled until fully solubilised.  Once the pεK solution was fully dissolved, NHS (0.096 g) and EDCI (0.61 g) were dissolved in a separate universal in 5 cm3 dH2O. The two solutions were mixed together and inverted 10 times, enough solution to cover punched hydrogels was added and incubated for 2.5 hours at 37 °C on a rocker. The pεK solution was then removed and gels were washed in dH2O for 5 x 5 min followed by 5 x 5 min 10% NMM and a further 5 x 5 min dH2O washes. Mel4 was covalently bound to cast hydrogels at a concentration of 3 mg cm-3 in a 0.25 M concentration of NHS and EDCI in dH2O and incubated for 2.5 hours at 37 °C on a rocker. Mel4 peptide solution was then removed and gels were washed in 5 x 5 min dH2O washes.  All gels were stored in dH2O prior to washing in 70% ethanol for decontamination. When the additional peptides (pεK or Mel4) are bound to the bare pεK hydrogel (60%0.1 and 60%0.13) they are referred to as 60%0.1+pεK, 60%0.13+pεK, 60%0.1+Mel4 & 60%0.13+Mel4.

PεK Hydrogel Characteristics

To analyse the wettability, contact angle measurements (DSA100, Krüss GmbH, Germany) were performed using a 5 mm3 drop size, hydrogel sheets were blotted dry with filter paper to remove excess liquid first. 9 drops were dispensed randomly across the whole surface of the pεK hydrogel. Images were analysed using the DSA3 software (Krüss GmbH, Germany) by applying the circle method and the samples were measured in triplicate. The percentage water content of pεK hydrogels was determined by weighing 11.5 mm diameter discs in a wet state and again after drying overnight in a desiccator. Samples were measure in triplicate and % water content was determined by the equation, (dry weight / wet weight) × 100. Mechanical testing was performed until failure on dog bone punched samples with a width of 2.8 mm and gauge length of 10 mm (measured in triplicate), using the TST350 Linkam tensile tester (Linkam, UK) with a 20 N load cell at 100 µm s-1 strain rate. For transparency testing thin hydrogels were cast and hydrated, 6 mm punch discs (4 samples/hydrogel type) were punched out and placed in a 96 well plate (Costar, Corning, UK). The optical density was recorded immediately across several wavelengths of the visible spectrum (460 nm, 544 nm, 560 nm, 570 nm and 600 nm) using a FLUOstar spectrophotometer (BMG Labtech, Germany), data was blanked to tissue culture polystyrene. A commercial contact lens was used as a control (Acuvue 2, Johnson & Johnson Vision Care Inc., Jacksonville, FL). All material testing was performed three different times n=3.

Binding of Fluorescently-labelled Peptides

PεK and Mel4 solutions were made in 0.1M sodium bicarbonate buffer, pH 8.2 at 2 mg cm-3. Alexa Fluor 594 NHS ester (Succinimidyl Ester; Invitrogen, UK) was added to peptide solutions at a 5:1 mole ratio. Solutions were incubated for 1 hour at room temperature on a magnetic stirrer. Tagged pεK solution was diluted in distilled water and unbound dye was separated using an Amicon Ultra-15 centrifuge filtration tube (Millipore, UK) with a 3,000 MWCO as per manufacturer’s instructions. Labelled Mel4 was similarly diluted and separated from unbound dye using a Macrosep Advance filtration tube (Pall, UK) with a 1,000 MWCO as per manufactures instructions.

Fluorescently labelled or unlabelled peptides were then bound to 60%0.1 pεK (6 mm diameter discs) hydrogels in a 0.25 M concentration of NHS and EDCI in dH2O, as outlined above. Hydrogels were washed extensively in dH2O and placed into a 96 well plate. Fluorescence was measured on a spectrophotometer (FLUOstar, BMG Labtech, Germany) with excitation and emission filters of 590nm and 620nm respectively. PεK and Mel4 hydrogels, and their controls, were read at different gains of optimal signal detection, therefore there are two 60%0.1 controls in the results.

In Vitro Bacterial Adhesion

The bacteria adhesion to lenses was studied as previously reported.[11c, 11h] 60%0.1 and 60%0.13 lenses, with or without additional pεK or Mel4, and commercial Acuvue 2 lenses with bound peptides were inoculated with 1x106 colony forming units (CFU) of P. aeruginosa 6294 (isolated from a clinical case of microbial keratitis) in 1 cm3 of PBS in a 24-well plate and incubated at 37 °C for 18 hours on a shaker (120 rpm). The lenses were washed three times in PBS to remove loosely attached bacteria, then transferred aseptically to a fresh vial of PBS (2 cm3) containing a magnetic stirrer and vortexed for 1 min to dissociate the bacteria from the lenses. The slurry was serially diluted and 50 mm3 was pipette onto nutrient agar (Oxoid, UK) plates in triplicate.  Plates were incubated at 37 °C for 18 hours and CFU were counted.

Porcine Ex Vivo Infection Model

Porcine eyes were collected from the local abattoir. Eyes were rinsed in PBS and disinfected by washing with 3% povidone-iodine (Videne, Ecolab, Germany). The corneas were dissected and washed with PBS containing 2.5 µg cm-3 amphotericin B, 100 U cm-3 penicillin and 100 µg cm-3 streptomycin (Sigma-Aldrich, UK). Corneas were then washed in sterile PBS to remove anti-mycotic and anti-fungal agents. A 0.5% agarose (Sigma-Aldrich, UK) button in DMEM/F12 (Sigma-Aldrich, UK) with 10% foetal calf serum (FCS, Labtech, UK) was used to supply nutrients and shape to the cornea. Corneas were placed in sterile bijou lids and the agarose gel was pipetted into the back of the corneas and allowed to set. Corneas were cultured in 6-well plates, submerged up to the limbus with DMEM/F12 medium containing 10% FCS with no antibiotics, overnight in an incubator at 37 °C, 5% CO2 to check for underlaying infections. The following day the epithelium was removed by placing filter paper discs (6 mm. Whatman, UK), which had been soaked in 70% ethanol, onto the central corneal epithelium for approximately 30 s, then scraping the epithelium with the filter paper to remove any remaining epithelium, this technique was adapted from a clinical procedure for epithelium removal. Corneas were inoculated with 106 P. aeruginosa suspended in 10 mm-3, pipetted onto the centre of the cornea, and allowed to dry onto the corneas for 30 min. This incubation time is to test the efficacy of the lenses as a prophylactic strategy against infection, following surgery such as corneal crossing-linking. 60%0.1 hydrogels with or without additional pεK or Mel4 were placed central on the corneas and incubated overnight at 37°C, 5% CO2. Hydrogels were removed and corneas were fixed in 10% formalin (Sigma-Aldrich, UK) for 30 min then stored in 70% ethanol prior to wax embedding. Corneas were cut in half then processed for wax embedding. Microtome sections were cut at 5 µm for H&E staining and Gram staining using Gram staining kit (Sigma-Aldrich, UK).

Data Analysis

Statistical analyses were performed Prism 8.4.0 (Graphpad, USA). The data were analysed using either independent T-test or one-way ANOVA with Tukey’s post-hoc test. Significance was assumed at p < 0.05 (*). Error bars represent ±1 standard deviation. Icons over bars represent experimental repeats, with the exception of Figure 1.e, which represent individual data points from the experiment.

Table S1. Weights and volumes of pεK compositions to make 60%0.1 and 60%0.13 hydrogels

| Gel Type | pεK (g) | Octanedioic-acid (g) | NMM (µl) | 5% Tween (µl) | NHS (g) | EDCI (g) |
| --- | --- | --- | --- | --- | --- | --- |
| SU 60% 0.1 | 1.038 | 0.315 | 663µl | 100µl | 0.347 | 1.736 |
| SU 60% 0.13 | 1.385 | 0.421 | 884µl | 100µl | 0.463 | 2.314 |

Figure S1. Bar chart representing % light transmission for SU 60%0.1 & SU 60% 0.13 hydrogels. Hydrogels were extremely transparent (91.7% ± 0.13 - 95.1% ± 0.78) across all wavelengths tested.